{"text_format":"3","workbook":"xlsx","n_sheets":7,"sheets":["招标工程量清单扉页","工程项目清单汇总表","分部分项工程项目清单计价表","措施项目清单计价表","其他项目清单计价表","增值税计价表","主要材料设备价格表(合价)(格式一)"],"read":"whole","date_system":"1900"}

{"sheet":"招标工程量清单扉页","index":0,"n_rows":14,"n_cols":8,"rows_kept":14,"merged":[[0,1,0,2],[0,3,0,6],[1,1,1,2],[1,3,1,6],[2,1,2,2],[2,3,2,6],[3,0,3,7],[4,2,4,3],[5,2,5,3],[6,2,6,5],[7,2,7,5],[8,2,8,5],[9,2,9,5],[10,2,10,3],[11,2,11,5],[12,2,12,5],[13,2,13,5]]}
["","工程名称：",null,"惠创未来城7400kVA配电工程",{"$nulls":3},""]
["","标段名称：",null,"",{"$nulls":3},""]
["","",null,"",{"$nulls":3},""]
["招 标 工 程 量 清 单"]
["","","",null,"","","",""]
["","","",null,"","","",""]
["","编  制  人 :","",{"$nulls":3},"（造价人员签字盖专用章）",""]
["","审  核 人 :","",{"$nulls":3},"（签字及盖章）",""]
["","编 制 单 位:","",{"$nulls":3},"（盖章）",""]
["","法定代表人或\n其 授 权 人:","",{"$nulls":3},"（签字或盖章）",""]
["","","",null,"","","",""]
["","招  标  人 :","",{"$nulls":3},"（盖章）",""]
["","法定代表人或\n其 授 权 人:","",{"$nulls":3},"（签字或盖章）",""]
["","编 制 时 间:","",{"$nulls":3},"",""]

{"sheet":"工程项目清单汇总表","index":1,"n_rows":26,"n_cols":6,"rows_kept":26,"merged":[[0,0,0,5],[1,0,1,1],[1,2,1,3],[2,0,2,2],[2,3,2,4],[3,0,3,2],[3,3,3,4],[4,0,4,2],[4,3,4,4],[5,0,5,2],[5,3,5,4],[6,0,6,2],[6,3,6,4],[7,0,7,2],[7,3,7,4],[8,0,8,2],[8,3,8,4],[9,0,9,2],[9,3,9,4],[10,0,10,2],[10,3,10,4],[11,0,11,2],[11,3,11,4],[12,0,12,2],[12,3,12,4],[13,0,13,2],[13,3,13,4],[14,0,14,2],[14,3,14,4],[15,0,15,2],[15,3,15,4],[16,0,16,2],[16,3,16,4],[17,0,17,2],[17,3,17,4],[18,0,18,2],[18,3,18,4],[19,0,19,2],[19,3,19,4],[20,0,20,2],[20,3,20,4],[21,0,21,2],[21,3,21,4],[22,0,22,2],[22,3,22,4],[23,0,23,2],[23,3,23,4],[24,0,24,4],[25,1,25,5]]}
["工程项目清单汇总表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,"标段：","第1页, 共1页"]
["序号",null,null,"项目内容",null,"金额(元)"]
["1",null,null,"分部分项工程费",null,""]
["1.1",null,null,"新建电缆套管",null,""]
["1.2",null,null,"电缆及桥架敷设",null,""]
["1.3",null,null,"配电用房土建",null,""]
["1.4",null,null,"配电用房安装",null,""]
["1.5",null,null,"1#配电站高低压设备",null,""]
["1.6",null,null,"2#高低压设备（800KVA)",null,""]
["1.7",null,null,"3#高低压设备（800KVA)",null,""]
["1.8",null,null,"4#配电站高低压设备（2500KVA)",null,""]
["1.9",null,null,"防雷接地",null,""]
["1.10",null,null,"系统调试",null,""]
["2",null,null,"措施项目费",null,""]
["2.1",null,null,"其中：安全生产措施项目"]
["3",null,null,"其他项目费",null,""]
["3.1",null,null,"其中：暂列金额",null,""]
["3.2",null,null,"其中：专业工程暂估价",null,""]
["3.3",null,null,"其中：计日工",null,""]
["3.4",null,null,"其中：总承包服务费",null,""]
["3.5",null,null,"其中：工程优质费",null,""]
["3.6",null,null,"其中：合同中约定的其他项目",null,""]
["5",null,null,"增值税",null,""]
["合  计",{"$nulls":4},""]
["注：","1  专业工程暂估价为已含税价格，在计算增值税计算基础时不应包含专业工程暂估价金额；\n2  本表宜用于按合同标的为工程量清单编制对象的工程汇总计算，以单项工程、单位工程等为工程量清\n   单编对象的工程可按本表汇总计算。"]

{"sheet":"分部分项工程项目清单计价表","index":2,"n_rows":280,"n_cols":11,"rows_kept":280,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,4],[1,6,1,8],[1,9,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,10],[3,8,4,9],[3,10,4,10],[5,1,5,2],[5,4,5,5],[5,8,5,9],[6,1,6,2],[6,4,6,5],[6,8,6,9],[7,1,7,2],[7,4,7,5],[7,8,7,9],[8,1,8,2],[8,4,8,5],[8,8,8,9],[9,1,9,2],[9,4,9,5],[9,8,9,9],[10,0,10,9],[11,0,11,10],[12,0,12,1],[12,2,12,4],[12,6,12,8],[12,9,12,10],[13,0,15,0],[13,1,15,2],[13,3,15,3],[13,4,15,5],[13,6,15,6],[13,7,15,7],[13,8,13,10],[14,8,15,9],[14,10,15,10],[16,1,16,2],[16,4,16,5],[16,8,16,9],[17,1,17,2],[17,4,17,5],[17,8,17,9],[18,1,18,2],[18,4,18,5],[18,8,18,9],[19,1,19,2],[19,4,19,5],[19,8,19,9],[20,1,20,2],[20,4,20,5],[20,8,20,9],[21,1,21,2],[21,4,21,5],[21,8,21,9],[22,1,22,2],[22,4,22,5],[22,8,22,9],[23,0,23,9],[24,0,24,10],[25,0,25,1],[25,2,25,4],[25,6,25,8],[25,9,25,10],[26,0,28,0],[26,1,28,2],[26,3,28,3],[26,4,28,5],[26,6,28,6],[26,7,28,7],[26,8,26,10],[27,8,28,9],[27,10,28,10],[29,0,30,0],[29,1,30,2],[29,3,30,3],[29,4,30,5],[29,6,30,6],[29,7,30,7],[29,8,30,9],[29,10,30,10],[31,0,31,9],[32,0,32,10],[33,0,33,1],[33,2,33,4],[33,6,33,8],[33,9,33,10],[34,0,36,0],[34,1,36,2],[34,3,36,3],[34,4,36,5],[34,6,36,6],[34,7,36,7],[34,8,34,10],[35,8,36,9],[35,10,36,10],[37,1,37,2],[37,4,37,5],[37,8,37,9],[38,0,39,0],[38,1,39,2],[38,3,39,3],[38,4,39,5],[38,6,39,6],[38,7,39,7],[38,8,39,9],[38,10,39,10],[40,0,40,9],[41,0,41,10],[42,0,42,1],[42,2,42,4],[42,6,42,8],[42,9,42,10],[43,0,45,0],[43,1,45,2],[43,3,45,3],[43,4,45,5],[43,6,45,6],[43,7,45,7],[43,8,43,10],[44,8,45,9],[44,10,45,10],[46,1,46,2],[46,4,46,5],[46,8,46,9],[47,1,47,2],[47,4,47,5],[47,8,47,9],[48,1,48,2],[48,4,48,5],[48,8,48,9],[49,1,49,2],[49,4,49,5],[49,8,49,9],[50,1,50,2],[50,4,50,5],[50,8,50,9],[51,0,51,9],[52,0,52,10],[53,0,53,1],[53,2,53,4],[53,6,53,8],[53,9,53,10],[54,0,56,0],[54,1,56,2],[54,3,56,3],[54,4,56,5],[54,6,56,6],[54,7,56,7],[54,8,54,10],[55,8,56,9],[55,10,56,10],[57,1,57,2],[57,4,57,5],[57,8,57,9],[58,1,58,2],[58,4,58,5],[58,8,58,9],[59,1,59,2],[59,4,59,5],[59,8,59,9],[60,1,60,2],[60,4,60,5],[60,8,60,9],[61,1,61,2],[61,4,61,5],[61,8,61,9],[62,1,62,2],[62,4,62,5],[62,8,62,9],[63,1,63,2],[63,4,63,5],[63,8,63,9],[64,0,64,9],[65,0,65,10],[66,0,66,1],[66,2,66,4],[66,6,66,8],[66,9,66,10],[67,0,69,0],[67,1,69,2],[67,3,69,3],[67,4,69,5],[67,6,69,6],[67,7,69,7],[67,8,67,10],[68,8,69,9],[68,10,69,10],[70,1,70,2],[70,4,70,5],[70,8,70,9],[71,1,71,2],[71,4,71,5],[71,8,71,9],[72,1,72,2],[72,4,72,5],[72,8,72,9],[73,1,73,2],[73,4,73,5],[73,8,73,9],[74,1,74,2],[74,4,74,5],[74,8,74,9],[75,1,75,2],[75,4,75,5],[75,8,75,9],[76,1,76,2],[76,4,76,5],[76,8,76,9],[77,1,77,2],[77,4,77,5],[77,8,77,9],[78,0,78,9],[79,0,79,10],[80,0,80,1],[80,2,80,4],[80,6,80,8],[80,9,80,10],[81,0,83,0],[81,1,83,2],[81,3,83,3],[81,4,83,5],[81,6,83,6],[81,7,83,7],[81,8,81,10],[82,8,83,9],[82,10,83,10],[84,1,84,2],[84,4,84,5],[84,8,84,9],[85,1,85,2],[85,4,85,5],[85,8,85,9],[86,1,86,2],[86,4,86,5],[86,8,86,9],[87,1,87,2],[87,4,87,5],[87,8,87,9],[88,1,88,2],[88,4,88,5],[88,8,88,9],[89,1,89,2],[89,4,89,5],[89,8,89,9],[90,1,90,2],[90,4,90,5],[90,8,90,9],[91,1,91,2],[91,4,91,5],[91,8,91,9],[92,1,92,2],[92,4,92,5],[92,8,92,9],[93,1,93,2],[93,4,93,5],[93,8,93,9],[94,0,94,9],[95,0,95,10],[96,0,96,1],[96,2,96,4],[96,6,96,8],[96,9,96,10],[97,0,99,0],[97,1,99,2],[97,3,99,3],[97,4,99,5],[97,6,99,6],[97,7,99,7],[97,8,97,10],[98,8,99,9],[98,10,99,10],[100,1,100,2],[100,4,100,5],[100,8,100,9],[101,1,101,2],[101,4,101,5],[101,8,101,9],[102,1,102,2],[102,4,102,5],[102,8,102,9],[103,0,103,9],[104,0,104,10],[105,0,105,1],[105,2,105,4],[105,6,105,8],[105,9,105,10],[106,0,108,0],[106,1,108,2],[106,3,108,3],[106,4,108,5],[106,6,108,6],[106,7,108,7],[106,8,106,10],[107,8,108,9],[107,10,108,10],[109,1,109,2],[109,4,109,5],[109,8,109,9],[110,1,110,2],[110,4,110,5],[110,8,110,9],[111,1,111,2],[111,4,111,5],[111,8,111,9],[112,1,112,2],[112,4,112,5],[112,8,112,9],[113,1,113,2],[113,4,113,5],[113,8,113,9],[114,0,114,9],[115,0,115,10],[116,0,116,1],[116,2,116,4],[116,6,116,8],[116,9,116,10],[117,0,119,0],[117,1,119,2],[117,3,119,3],[117,4,119,5],[117,6,119,6],[117,7,119,7],[117,8,117,10],[118,8,119,9],[118,10,119,10],[120,1,120,2],[120,4,120,5],[120,8,120,9],[121,1,121,2],[121,4,121,5],[121,8,121,9],[122,1,122,2],[122,4,122,5],[122,8,122,9],[123,1,123,2],[123,4,123,5],[123,8,123,9],[124,1,124,2],[124,4,124,5],[124,8,124,9],[125,1,125,2],[125,4,125,5],[125,8,125,9],[126,0,126,9],[127,0,127,10],[128,0,128,1],[128,2,128,4],[128,6,128,8],[128,9,128,10],[129,0,131,0],[129,1,131,2],[129,3,131,3],[129,4,131,5],[129,6,131,6],[129,7,131,7],[129,8,129,10],[130,8,131,9],[130,10,131,10],[132,1,132,2],[132,4,132,5],[132,8,132,9],[133,1,133,2],[133,4,133,5],[133,8,133,9],[134,1,134,2],[134,4,134,5],[134,8,134,9],[135,1,135,2],[135,4,135,5],[135,8,135,9],[136,1,136,2],[136,4,136,5],[136,8,136,9],[137,1,137,2],[137,4,137,5],[137,8,137,9],[138,1,138,2],[138,4,138,5],[138,8,138,9],[139,1,139,2],[139,4,139,5],[139,8,139,9],[140,1,140,2],[140,4,140,5],[140,8,140,9],[141,0,141,9],[142,0,142,10],[143,0,143,1],[143,2,143,4],[143,6,143,8],[143,9,143,10],[144,0,146,0],[144,1,146,2],[144,3,146,3],[144,4,146,5],[144,6,146,6],[144,7,146,7],[144,8,144,10],[145,8,146,9],[145,10,146,10],[147,1,147,2],[147,4,147,5],[147,8,147,9],[148,1,148,2],[148,4,148,5],[148,8,148,9],[149,1,149,2],[149,4,149,5],[149,8,149,9],[150,1,150,2],[150,4,150,5],[150,8,150,9],[151,1,151,2],[151,4,151,5],[151,8,151,9],[152,1,152,2],[152,4,152,5],[152,8,152,9],[153,1,153,2],[153,4,153,5],[153,8,153,9],[154,1,154,2],[154,4,154,5],[154,8,154,9],[155,0,155,9],[156,0,156,10],[157,0,157,1],[157,2,157,4],[157,6,157,8],[157,9,157,10],[158,0,160,0],[158,1,160,2],[158,3,160,3],[158,4,160,5],[158,6,160,6],[158,7,160,7],[158,8,158,10],[159,8,160,9],[159,10,160,10],[161,1,161,2],[161,4,161,5],[161,8,161,9],[162,1,162,2],[162,4,162,5],[162,8,162,9],[163,1,163,2],[163,4,163,5],[163,8,163,9],[164,1,164,2],[164,4,164,5],[164,8,164,9],[165,1,165,2],[165,4,165,5],[165,8,165,9],[166,1,166,2],[166,4,166,5],[166,8,166,9],[167,1,167,2],[167,4,167,5],[167,8,167,9],[168,0,168,9],[169,0,169,10],[170,0,170,1],[170,2,170,4],[170,6,170,8],[170,9,170,10],[171,0,173,0],[171,1,173,2],[171,3,173,3],[171,4,173,5],[171,6,173,6],[171,7,173,7],[171,8,171,10],[172,8,173,9],[172,10,173,10],[174,1,174,2],[174,4,174,5],[174,8,174,9],[175,1,175,2],[175,4,175,5],[175,8,175,9],[176,1,176,2],[176,4,176,5],[176,8,176,9],[177,1,177,2],[177,4,177,5],[177,8,177,9],[178,1,178,2],[178,4,178,5],[178,8,178,9],[179,1,179,2],[179,4,179,5],[179,8,179,9],[180,0,180,9],[181,0,181,10],[182,0,182,1],[182,2,182,4],[182,6,182,8],[182,9,182,10],[183,0,185,0],[183,1,185,2],[183,3,185,3],[183,4,185,5],[183,6,185,6],[183,7,185,7],[183,8,183,10],[184,8,185,9],[184,10,185,10],[186,1,186,2],[186,4,186,5],[186,8,186,9],[187,1,187,2],[187,4,187,5],[187,8,187,9],[188,1,188,2],[188,4,188,5],[188,8,188,9],[189,1,189,2],[189,4,189,5],[189,8,189,9],[190,1,190,2],[190,4,190,5],[190,8,190,9],[191,1,191,2],[191,4,191,5],[191,8,191,9],[192,1,192,2],[192,4,192,5],[192,8,192,9],[193,1,193,2],[193,4,193,5],[193,8,193,9],[194,1,194,2],[194,4,194,5],[194,8,194,9],[195,0,195,9],[196,0,196,10],[197,0,197,1],[197,2,197,4],[197,6,197,8],[197,9,197,10],[198,0,200,0],[198,1,200,2],[198,3,200,3],[198,4,200,5],[198,6,200,6],[198,7,200,7],[198,8,198,10],[199,8,200,9],[199,10,200,10],[201,1,201,2],[201,4,201,5],[201,8,201,9],[202,1,202,2],[202,4,202,5],[202,8,202,9],[203,1,203,2],[203,4,203,5],[203,8,203,9],[204,1,204,2],[204,4,204,5],[204,8,204,9],[205,1,205,2],[205,4,205,5],[205,8,205,9],[206,1,206,2],[206,4,206,5],[206,8,206,9],[207,1,207,2],[207,4,207,5],[207,8,207,9],[208,0,208,9],[209,0,209,10],[210,0,210,1],[210,2,210,4],[210,6,210,8],[210,9,210,10],[211,0,213,0],[211,1,213,2],[211,3,213,3],[211,4,213,5],[211,6,213,6],[211,7,213,7],[211,8,211,10],[212,8,213,9],[212,10,213,10],[214,1,214,2],[214,4,214,5],[214,8,214,9],[215,1,215,2],[215,4,215,5],[215,8,215,9],[216,1,216,2],[216,4,216,5],[216,8,216,9],[217,1,217,2],[217,4,217,5],[217,8,217,9],[218,1,218,2],[218,4,218,5],[218,8,218,9],[219,1,219,2],[219,4,219,5],[219,8,219,9],[220,1,220,2],[220,4,220,5],[220,8,220,9],[221,0,221,9],[222,0,222,10],[223,0,223,1],[223,2,223,4],[223,6,223,8],[223,9,223,10],[224,0,226,0],[224,1,226,2],[224,3,226,3],[224,4,226,5],[224,6,226,6],[224,7,226,7],[224,8,224,10],[225,8,226,9],[225,10,226,10],[227,1,227,2],[227,4,227,5],[227,8,227,9],[228,1,228,2],[228,4,228,5],[228,8,228,9],[229,1,229,2],[229,4,229,5],[229,8,229,9],[230,1,230,2],[230,4,230,5],[230,8,230,9],[231,1,231,2],[231,4,231,5],[231,8,231,9],[232,1,232,2],[232,4,232,5],[232,8,232,9],[233,1,233,2],[233,4,233,5],[233,8,233,9],[234,1,234,2],[234,4,234,5],[234,8,234,9],[235,1,235,2],[235,4,235,5],[235,8,235,9],[236,0,236,9],[237,0,237,10],[238,0,238,1],[238,2,238,4],[238,6,238,8],[238,9,238,10],[239,0,241,0],[239,1,241,2],[239,3,241,3],[239,4,241,5],[239,6,241,6],[239,7,241,7],[239,8,239,10],[240,8,241,9],[240,10,241,10],[242,1,242,2],[242,4,242,5],[242,8,242,9],[243,1,243,2],[243,4,243,5],[243,8,243,9],[244,1,244,2],[244,4,244,5],[244,8,244,9],[245,1,245,2],[245,4,245,5],[245,8,245,9],[246,1,246,2],[246,4,246,5],[246,8,246,9],[247,1,247,2],[247,4,247,5],[247,8,247,9],[248,0,248,9],[249,0,249,10],[250,0,250,1],[250,2,250,4],[250,6,250,8],[250,9,250,10],[251,0,253,0],[251,1,253,2],[251,3,253,3],[251,4,253,5],[251,6,253,6],[251,7,253,7],[251,8,251,10],[252,8,253,9],[252,10,253,10],[254,1,254,2],[254,4,254,5],[254,8,254,9],[255,1,255,2],[255,4,255,5],[255,8,255,9],[256,1,256,2],[256,4,256,5],[256,8,256,9],[257,1,257,2],[257,4,257,5],[257,8,257,9],[258,1,258,2],[258,4,258,5],[258,8,258,9],[259,1,259,2],[259,4,259,5],[259,8,259,9],[260,1,260,2],[260,4,260,5],[260,8,260,9],[261,1,261,2],[261,4,261,5],[261,8,261,9],[262,1,262,2],[262,4,262,5],[262,8,262,9],[263,0,263,9],[264,0,264,10],[265,0,265,1],[265,2,265,4],[265,6,265,8],[265,9,265,10],[266,0,268,0],[266,1,268,2],[266,3,268,3],[266,4,268,5],[266,6,268,6],[266,7,268,7],[266,8,266,10],[267,8,268,9],[267,10,268,10],[269,1,269,2],[269,4,269,5],[269,8,269,9],[270,1,270,2],[270,4,270,5],[270,8,270,9],[271,1,271,2],[271,4,271,5],[271,8,271,9],[272,1,272,2],[272,4,272,5],[272,8,272,9],[273,1,273,2],[273,4,273,5],[273,8,273,9],[274,1,274,2],[274,4,274,5],[274,8,274,9],[275,1,275,2],[275,4,275,5],[275,8,275,9],[276,1,276,2],[276,4,276,5],[276,8,276,9],[277,1,277,2],[277,4,277,5],[277,8,277,9],[278,0,278,9],[279,0,279,9]]}
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第1页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"新建电缆套管","",null,"","","",null,""]
["1","041001002001",null,"拆除人行道砖","1.拆除人行道 普通粘土砖 平铺",null,"m2","520.000","",null,""]
["2","040204001001",null,"恢复人行道砖","1.路拌铺筑水泥石屑混合料 水泥含量 6% 厚度 5cm//扩:D2-2-1+D2-2-2*-10\n2.人行道砖 砂浆垫层(结合层) 厚度3cm//换:湿拌地面砂浆 M15 地面普通找平\n3.环保透水砖（利旧） 200*100*60",null,"m2","520.000","",null,""]
["3","040501009001",null,"牵引管（6孔管）","1.钻导向孔 \n2.扩孔 \n3.回拖布管 DN500mm以内\n4.室外塑料排水管(电熔连接) 公称外径(mm以内) 160\n5.HDPE电力牵引管 φ160*10\n6.HDPE电力牵引管电熔直接 φ160*10\n7.泥浆运输 运距3km//扩:D1-3-182+D1-3-183*2",null,"m","157.000","",null,""]
["4","041001001002",null,"路面切缝","1.旧路面机械切缝 水泥混凝土路面 10cm厚//扩:D1-4-88+D1-4-89*5",null,"m","222.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第2页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["5","041001001001",null,"拆除混凝土路面","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚20cm//扩:D1-4-7+D1-4-8*5\n2.装载机装松散石方\n3.自卸汽车运石方 运距3km//扩:D1-1-126+D1-1-127*2",null,"m2","199.800","",null,""]
["6","040203007001",null,"恢复混凝土路面","1.水泥混凝土路面 厚度 20cm//换:普通预拌混凝土 C30",null,"m2","199.800","",null,""]
["7","040101002001",null,"挖沟槽土方","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土",null,"m3","139.860","",null,""]
["8","040103003001",null,"余方弃置","1.装载机装土\n2.自卸汽车运土方 运距3km//扩:D1-1-53+D1-1-54*2",null,"m3","139.860","",null,""]
["9","040103001001",null,"管沟回填石屑","1.回填石屑",null,"m3","106.028","",null,""]
["10","040803003001",null,"电缆排管（二层三列）","1.非定型渠(管)道垫层 石屑\n2.电缆保护管埋地敷设 塑料管(公称直径mm以下) 200\n3.HDPE电力管 φ160*8\n4.HDPE直通 φ160",null,"m","222.000","",null,""]
["11","040803004001",null,"管道包封","1.满包混凝土加固//换:普通预拌混凝土 C25",null,"m3","7.064","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第3页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["12","040504002001",null,"混凝土电缆井（直线井）","1.非定型井垫层 混凝土//换:普通预拌混凝土 C20 \n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内//换:普通预拌混凝土 C25 \n3.现浇钢筋混凝土池 池壁(隔墙) 直、矩形(厚度) 20cm以内//换:普通预拌混凝土 C25 \n4.安装 井室盖板 矩形盖板(每块体积m3) 0.1以内//换:湿拌抹灰砂浆 M15 一次性抹灰厚度≥5mm\n5.预制混凝土盖板 1400*300*150\n6.箍筋制作、安装 圆钢 Φ10mm以内\n7.钢筋制作、安装 带肋钢筋 Φ10～25mm//换: 螺纹钢筋（三级） φ10\n8.钢筋制作、安装 带肋钢筋 Φ10～25mm//换: 螺纹钢筋（三级） φ12\n9.构筑物及池类 矩形池壁 木模\n10.构筑物及池类 平池底木模\n11.混凝土垫块\n12.砂滤层 厚度30cm内//换:粗砂 \n13.室外塑料排水管",null,"座","5.000","",null,""]
[]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第4页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","(粘接) 公称外径(mm以内) 200\n14.塑料集水管 φ200\n15.预埋铁件\n16.成品复合材料电缆沟支架安装\n17.复合材料电缆沟支架",null,"","","",null,""]
["13","040504002002",null,"混凝土电缆井（转角井）","1.非定型井垫层 混凝土//换:普通预拌混凝土 C20 \n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内//换:普通预拌混凝土 C25 \n3.现浇钢筋混凝土池 池壁(隔墙) 直、矩形(厚度) 20cm以内//换:普通预拌混凝土 C25 \n4.构筑物及池类 平池底木模\n5.混凝土垫块\n6.构筑物及池类 矩形池壁 木模\n7.安装 井室盖板 矩形盖板(每块体积m3) 0.1以内//换:湿拌抹灰砂浆 M15 一次性抹灰厚度≥5mm\n8.预制混凝土盖板 1400*300*150\n9.箍筋制作、安装 圆钢 Φ10mm以内\n10.钢筋制作、安装 带肋钢筋 Φ10～",null,"座","3.000","",null,""]
[]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第5页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","25mm//换: 螺纹钢筋（三级） φ10\n11.钢筋制作、安装 带肋钢筋 Φ10～25mm//换: 螺纹钢筋（三级） φ12\n12.砂滤层 厚度30cm内//换:粗砂 \n13.室外塑料排水管(粘接) 公称外径(mm以内) 200\n14.塑料集水管 φ200\n15.预埋铁件\n16.成品复合材料电缆沟支架安装\n17.复合材料电缆沟支架",null,"","","",null,""]
["","",null,"电缆及桥架敷设","",null,"","","",null,""]
["14","030412003006",null,"电缆桥架 300*150","1.钢制托盘式桥架安装(宽＋高mm以下) 600\n2.电缆桥架（含盖板及隔板） 300*150 壁厚1.5",null,"m","205.000","",null,""]
["15","030412003005",null,"电缆桥架 200*150","1.钢制托盘式桥架安装(宽＋高mm以下) 400\n2.电缆桥架（含盖板及隔板） 200*150 壁厚1.5",null,"m","220.000","",null,""]
["16","031301004001",null,"桥架支架","1.管道支架制作 单件重量(kg以内) 5\n2.镀锌角钢 L50*5\n3.管道支架安装 单件重量(kg以内) 5",null,"kg","1296.691","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第6页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["17","040803001004",null,"铜芯电缆 ZC-YJV22-8.7/15KV-3*300","1.铜芯电力电缆敷设 电缆(截面mm2以下) 400\n2.铜芯电缆 ZC-YJV22-3*300",null,"m","25.000","",null,""]
["18","040803001007",null,"铜芯电缆（利旧） ZC-YJV22-8.7/15KV-3*120","1.铜芯电力电缆敷设 电缆(截面mm2以下) 120\n2.铜芯电缆（利旧） ZC-YJV22-3*120",null,"m","580.000","",null,""]
["19","040803001006",null,"铜芯电缆（利旧）ZC-YJV22-8.7/15KV-3*70","1.铜芯电力电缆敷设 电缆(截面mm2以下) 70\n2.铜芯电缆（利旧） ZC-YJV22-3*70",null,"m","235.000","",null,""]
["20","030409003005",null,"电力电缆头 3*300","1.10kV以下户内成套型电缆终端头安装 成套型终端头(截面mm2以下) 400\n2.冷缩式电缆终端头 3*300",null,"个","2.000","",null,""]
["21","030409003006",null,"电力电缆头 3*120","1.10kV以下户内成套型电缆终端头安装 成套型终端头(截面mm2以下) 120\n2.冷缩式电缆终端头 3*120",null,"个","8.000","",null,""]
["22","030409003007",null,"电力电缆头 3*70","1.10kV以下户内成套型电缆终端头安装 成套型终端头(截面mm2以下) 70\n2.冷缩式电缆终端头 3*70",null,"个","1.000","",null,""]
["","",null,"配电用房土建","",null,"","","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第7页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["23","041001001003",null,"地面切缝","1.旧路面机械切缝 水泥混凝土路面 10cm厚//扩:D1-4-88+D1-4-89*5",null,"m","23.200","",null,""]
["24","041001001004",null,"拆除原有地面","1.小型机械拆除混凝土类路面层 无筋 厚15cm内\n2.装载机装松散石方\n3.自卸汽车运石方 运距3km//扩:D1-1-126+D1-1-127*2",null,"m2","70.620","",null,""]
["25","010101001001",null,"挖一般土方","1.挖掘机挖一般土方 一、二类土",null,"m3","42.157","",null,""]
["26","010101003001",null,"回填土方","1.回填土 夯实机夯实 平地",null,"m3","16.144","",null,""]
["27","010103002001",null,"余方弃置","1.装载机装土方\n2.自卸汽车运土方 运距3km//扩:A1-1-53+A1-1-54*2",null,"m3","26.013","",null,""]
["28","010402001001",null,"蒸压加气混凝土砌块内墙","1.蒸压加气混凝土砌块内墙 墙体厚度 20cm//换:湿拌砌筑砂浆 M7.5 砌筑灰缝≥5mm",null,"m3","17.632","",null,""]
["29","011201001001",null,"墙面抹灰","1.底层抹灰20mm 各种墙面 内墙//扩:A1-13-1+A1-13-7*5//换:湿拌抹灰砂浆 M10 一次性抹灰厚度≥5mm",null,"m2","173.620","",null,""]
["30","011403001001",null,"抹灰面油漆","1.成品腻子粉(一般型)Y型 墙面 满刮2遍//",null,"m2","173.620","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第8页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","扩:A1-15-150+补A1-15-150\n2.抹灰面乳胶漆 墙柱面 面漆2遍//扩:A1-15-158+补A1-15-158",null,"","","",null,""]
["31","010802004002",null,"开门窗洞口","1.墙体开门窗洞口 115墙//换:湿拌砌筑砂浆 M10 砌筑灰缝≥5mm",null,"m2","9.650","",null,""]
["32","010802004003",null,"门洞加固","1.钢墙架、挡风架\n2.槽钢 10#",null,"m","15.800","",null,""]
["33","010802004001",null,"钢质防火门","1.钢质防火门安装//换:湿拌抹灰砂浆 M10 一次性抹灰厚度≥5mm\n2.钢质防火门",null,"m2","6.900","",null,""]
["34","010807003001",null,"铝合金百叶窗","1.铝合金框百页窗 铝合金百页窗\n2.铝合金百叶窗（含防虫纱网）",null,"m2","0.900","",null,""]
["35","010807001001",null,"铝合金推拉窗","1.推拉窗安装\n2.铝合金推拉窗",null,"m2","1.500","",null,""]
["36","010502030001",null,"混凝土地坪","1.地坪 厚度8cm//换:普通预拌混凝土 C25",null,"m2","32.288","",null,""]
["37","011101001001",null,"水泥砂浆楼地面","1.水泥砂浆整体面层 楼地面 20mm//换:湿拌地面砂浆 M15 地面普通找平",null,"m2","32.288","",null,""]
["38","011101003001",null,"自流平楼地面","1.环氧自流平地面 厚度0.2+1+1mm 平地面",null,"m2","32.288","",null,""]
["39","011303003001",null,"防鼠挡板","1.防鼠挡板\n2.防鼠挡板",null,"块","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第9页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","1500*450",null,"","","",null,""]
["40","010401010001",null,"砖砌电缆沟 600*800","1.其他混凝土基础//换:普通预拌混凝土 C20 \n2.砌砖地沟//换:湿拌砌筑砂浆 M7.5 砌筑灰缝≥5mm\n3.现浇混凝土其他构件 压顶、扶手//换:普通预拌混凝土 C25 \n4.底层抹灰20mm 零星项目//扩:A1-13-4+A1-13-7*5//换:湿拌抹灰砂浆 M10 一次性抹灰厚度≥5mm\n5.现浇构件带肋钢筋(Ⅲ级以上) Ф25以内\n6.现浇构件箍筋 圆钢 Ф10以内\n7.预埋铁件\n8.玻璃钢电缆沟盖板\n9.玻璃钢电缆沟盖板 800*500*40",null,"m","26.150","",null,""]
["41","010401010002",null,"砖砌电缆沟 400*400","1.其他混凝土基础//换:普通预拌混凝土 C20 \n2.砌砖地沟//换:湿拌砌筑砂浆 M7.5 砌筑灰缝≥5mm\n3.现浇混凝土其他构件 压顶、扶手//换:普通预拌混凝土 C25 \n4.底层抹灰20mm 零星项目//扩:A1-13-4+A1-13-7*5//换:湿拌抹灰砂",null,"m","16.372","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第10页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","浆 M10 一次性抹灰厚度≥5mm\n5.玻璃钢树脂电缆沟盖板\n6.玻璃钢树脂电缆沟盖板 500*500*40\n7.预埋铁件\n8.现浇构件箍筋 圆钢 Ф10以内\n9.现浇构件带肋钢筋(Ⅲ级以上) Ф25以内",null,"","","",null,""]
["42","010401010003",null,"砖砌电缆沟（无盖板） 430*800","1.其他混凝土基础//换:普通预拌混凝土 C20 \n2.砌砖地沟//换:湿拌砌筑砂浆 M7.5 砌筑灰缝≥5mm\n3.现浇混凝土其他构件 压顶、扶手//换:普通预拌混凝土 C25 \n4.底层抹灰20mm 零星项目//扩:A1-13-4+A1-13-7*5//换:湿拌抹灰砂浆 M10 一次性抹灰厚度≥5mm",null,"m","16.970","",null,""]
["","",null,"配电用房安装","",null,"","","",null,""]
["43","030402011001",null,"成套配电箱","1.控制设备及低压电器安装 成套配电箱安装 悬挂式(半周长m以内) 1\n2.成套配电箱 XM",null,"台","1.000","",null,""]
["44","030108001001",null,"轴转风机","1.轴流通风机安装 设备重量(t以内) 0.2\n2.轴转风机 500*700",null,"台","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第11页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["45","030413001001",null,"LED单管日光灯","1.普通成套型荧光灯具安装 吸顶式 单管\n2.led单管日光灯 1*18W",null,"套","6.000","",null,""]
["46","030413005001",null,"双头应急灯","1.密闭灯具安装 应急灯\n2.双头应急灯 2*20w",null,"套","2.000","",null,""]
["47","030413014001",null,"二三插座","1.控制设备及低压电器安装 单相明插座安装 单相（A以下） 16\n2.二三插座\n3.配电板\n4.接线盒安装 普通接线盒 明装\n5.接线盒",null,"套","3.000","",null,""]
["48","030413014002",null,"三相插座","1.控制设备及低压电器安装 三相带接地明插座安装（A以下） 16\n2.三相插座\n3.配电板\n4.接线盒安装 普通接线盒 明装\n5.接线盒",null,"套","3.000","",null,""]
["49","030413013001",null,"二位开关","1.控制设备及低压电器安装 照明开关安装 扳式暗开关(单控) 双联\n2.二位开关\n3.接线盒安装 普通接线盒 明装\n4.接线盒",null,"套","1.000","",null,""]
["50","030412004001",null,"绝缘电线 ZR-BV-1.0","1.硬绝缘导线管内穿线 导线截面(mm2以内) 1",null,"m","28.013","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第12页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","2.绝缘电线 ZR-BV-1.0",null,"","","",null,""]
["51","030412004002",null,"绝缘电线 ZR-BV-2.5","1.硬绝缘导线管内穿线 导线截面(mm2以内) 2.5\n2.绝缘电线 ZR-BV-2.5",null,"m","73.524","",null,""]
["52","030412004003",null,"绝缘电线 ZR-BV-4.0","1.硬绝缘导线管内穿线 导线截面(mm2以内) 6\n2.绝缘电线 ZR-BV-4.0",null,"m","112.052","",null,""]
["53","030910002001",null,"安全工具箱","1.灭火器具放置箱安装 放置式 箱体半周长(mm) ＞1000\n2.安全工具箱（含安全工具） 1000*800*450",null,"个","1.000","",null,""]
["54","030910001001",null,"灭火器","1.灭火器具安装 灭火器安装 放置式\n2.手提式干粉灭火器 5kg",null,"具","2.000","",null,""]
["","",null,"1#配电站高低压设备","",null,"","","",null,""]
["55","030404001002",null,"直流屏","1.控制设备及低压电器安装 控制屏、继电、信号屏、模拟屏安装 控制屏\n2.直流屏",null,"台","1.000","",null,""]
["56","030402009022",null,"高压出线柜 G1、G3、G4","1.配电装置安装 高压成套配电柜安装 单母线柜 断路器柜\n2.高压出线柜 G1、G3、G4 KYN28-12",null,"台","3.000","",null,""]
["57","030402009043",null,"高压出线柜 G7、G8","1.配电装置安装 高压成套配电柜安装 单",null,"台","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第13页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","母线柜 断路器柜\n2.高压出线柜 G7、G8 KYN28-12",null,"","","",null,""]
["58","030402009019",null,"高压进线柜 G5","1.配电装置安装 高压成套配电柜安装 单母线柜 断路器柜\n2.高压进线柜 G5 KYN28-12",null,"台","1.000","",null,""]
["59","030402009025",null,"高压计量柜 G2、G6","1.配电装置安装 高压成套配电柜安装 单母线柜 互感器柜\n2.高压计量柜G2、G6 KYN28-12",null,"台","2.000","",null,""]
["60","031301005004",null,"高压开关柜基础","1.基础型钢制作、安装 槽钢 制作\n2.镀锌槽钢 10#\n3.基础型钢制作、安装 槽钢 安装",null,"m","30.500","",null,""]
["61","030412003007",null,"电缆桥架 300*150","1.钢制托盘式桥架安装(宽＋高mm以下) 600\n2.电缆桥架（含盖板及隔板） 300*150 壁厚1.5",null,"m","25.690","",null,""]
["62","030910002002",null,"安全工具箱","1.灭火器具放置箱安装 放置式 箱体半周长(mm) ＞1000\n2.安全工具箱（含安全工具） 1000*800*450",null,"个","1.000","",null,""]
["63","030910001002",null,"灭火器","1.灭火器具安装 灭火器安装 放置式\n2.手提式干粉灭火器 5kg",null,"具","2.000","",null,""]
["","",null,"2#高低压设备（800KVA)","",null,"","","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第14页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["64","030404001003",null,"直流屏","1.控制设备及低压电器安装 控制屏、继电、信号屏、模拟屏安装 控制屏\n2.直流屏",null,"台","1.000","",null,""]
["65","030402009029",null,"高压进线柜 2G01","1.配电装置安装 高压成套配电柜安装 单母线柜 断路器柜\n2.高压进线柜 2G01 KYN28-12",null,"台","1.000","",null,""]
["66","030402009035",null,"高压计量柜 2G02","1.配电装置安装 高压成套配电柜安装 单母线柜 互感器柜\n2.高压计量柜 2G02 KYN28-12",null,"台","1.000","",null,""]
["67","030402009032",null,"高压出线柜 2G03","1.配电装置安装 高压成套配电柜安装 单母线柜 断路器柜\n2.高压出线柜 2G03 KYN28-12",null,"台","1.000","",null,""]
["68","030401002004",null,"干式变压器","1.干式变压器安装 10KV/容量(kVA以下) 800\n2.干式变压器 SCB13-800KVA",null,"台","1.000","",null,""]
["69","030403006004",null,"低压封闭式母线槽","1.低压封闭式插接母线槽安装 每相电流(A以下) 2000\n2.低压母线槽（含软接头、过度铜排及活动接头） 1600A/4P",null,"m","3.766","",null,""]
["70","030412005003",null,"母线槽始端箱","1.低压封闭式插接母线槽始端箱安装 每相电流(A以下) 2000\n2.母线槽始端箱 1600A",null,"台","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第15页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["71","030402010018",null,"低压进线柜 2P01","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压进线柜 2P01 800*1000*2200",null,"台","1.000","",null,""]
["72","030402010022",null,"低压无功补偿柜 2P02","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压无功补偿柜 2P02 1000*1000*2200",null,"台","1.000","",null,""]
["73","030402010020",null,"低压出线柜 2P03","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压馈线柜 2P03 600*1000*2200",null,"台","1.000","",null,""]
["74","031301005007",null,"高压开关柜基础","1.基础型钢制作、安装 槽钢 制作\n2.镀锌槽钢 10#\n3.基础型钢制作、安装 槽钢 安装",null,"m","14.000","",null,""]
["75","031301005008",null,"低压开关柜基础","1.基础型钢制作、安装 槽钢 制作\n2.镀锌槽钢 10#\n3.基础型钢制作、安装 槽钢 安装",null,"m","9.200","",null,""]
["76","030412003008",null,"电缆桥架 200*150","1.钢制托盘式桥架安装(宽＋高mm以下) 400\n2.电缆桥架（含盖板",null,"m","12.094","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第16页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","及隔板） 200*150 壁厚1.5",null,"","","",null,""]
["77","010502001003",null,"变压器混凝土基础","1.其他混凝土基础//换:普通预拌混凝土 C25",null,"m3","0.770","",null,""]
["78","011508001002",null,"安全警示牌","1.挂画、挂镜 1m2以内\n2.安全警示志牌",null,"个","8.000","",null,""]
["79","030402010038",null,"拆除原低压配电柜","1.控制设备及低压电器拆除 控制、继电、模拟及配电屏拆除 配电(电源)屏、低压开关柜",null,"台","4.000","",null,""]
["80","030401002008",null,"拆除原有变压器","1.变压器拆除 干式变压器拆除 干式变压器 10kV/容量(2000kVA以下)",null,"台","2.000","",null,""]
["81","030910002003",null,"安全工具箱","1.灭火器具放置箱安装 放置式 箱体半周长(mm) ＞1000\n2.安全工具箱（含安全工具） 1000*800*450",null,"个","1.000","",null,""]
["82","030910001003",null,"灭火器","1.灭火器具安装 灭火器安装 放置式\n2.手提式干粉灭火器 5kg",null,"具","2.000","",null,""]
["","",null,"3#高低压设备（800KVA)","",null,"","","",null,""]
["83","030404001006",null,"直流屏","1.控制设备及低压电器安装 控制屏、继电、信号屏、模拟屏安装 控制屏\n2.直流屏",null,"台","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第17页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["84","030402009047",null,"高压进线柜 3G01","1.配电装置安装 高压成套配电柜安装 单母线柜 断路器柜\n2.高压进线柜 2G01 KYN28-12",null,"台","1.000","",null,""]
["85","030402009051",null,"高压计量柜 3G02","1.配电装置安装 高压成套配电柜安装 单母线柜 互感器柜\n2.高压计量柜 3G02 KYN28-12",null,"台","1.000","",null,""]
["86","030402009049",null,"高压出线柜 3G03","1.配电装置安装 高压成套配电柜安装 单母线柜 断路器柜\n2.高压出线柜 3G03 KYN28-12",null,"台","1.000","",null,""]
["87","030401002007",null,"干式变压器","1.干式变压器安装 10KV/容量(kVA以下) 800\n2.干式变压器 SCB13-800KVA",null,"台","1.000","",null,""]
["88","030403006007",null,"低压封闭式母线槽","1.低压封闭式插接母线槽安装 每相电流(A以下) 2000\n2.低压母线槽（含软接头、过度铜排及活动接头） 1600A/4P",null,"m","3.744","",null,""]
["89","030412005006",null,"母线槽始端箱","1.低压封闭式插接母线槽始端箱安装 每相电流(A以下) 2000\n2.母线槽始端箱 1600A",null,"台","2.000","",null,""]
["90","030402010033",null,"低压进线柜 3P01","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)",null,"台","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第18页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","2.低压进线柜 3P01 800*1000*2200",null,"","","",null,""]
["91","030402010037",null,"低压无功补偿柜 3P02","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压无功补偿柜 3P02 1000*1000*2200",null,"台","1.000","",null,""]
["92","030402010035",null,"低压出线柜 3P03~3P04","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压馈线柜 3P03~3P04 600*1000*2200",null,"台","2.000","",null,""]
["93","031301005016",null,"高压开关柜基础","1.基础型钢制作、安装 槽钢 制作\n2.镀锌槽钢 10#\n3.基础型钢制作、安装 槽钢 安装",null,"m","14.000","",null,""]
["94","031301005017",null,"低压开关柜基础","1.基础型钢制作、安装 槽钢 制作\n2.镀锌槽钢 10#\n3.基础型钢制作、安装 槽钢 安装",null,"m","11.000","",null,""]
["95","030412003009",null,"电缆桥架 200*150","1.钢制托盘式桥架安装(宽＋高mm以下) 400\n2.电缆桥架（含盖板及隔板） 200*150 壁厚1.5",null,"m","5.672","",null,""]
["96","010502001006",null,"变压器混凝土基础","1.其他混凝土基础//换:普通预拌混凝土",null,"m3","0.770","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第19页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","C25",null,"","","",null,""]
["97","011508001003",null,"安全警示牌","1.挂画、挂镜 1m2以内\n2.安全警示志牌",null,"个","8.000","",null,""]
["98","030910002004",null,"安全工具箱","1.灭火器具放置箱安装 放置式 箱体半周长(mm) ＞1000\n2.安全工具箱（含安全工具） 1000*800*450",null,"个","1.000","",null,""]
["99","030910001004",null,"灭火器","1.灭火器具安装 灭火器安装 放置式\n2.手提式干粉灭火器 5kg",null,"具","2.000","",null,""]
["","",null,"4#配电站高低压设备（2500KVA)","",null,"","","",null,""]
["100","030404001005",null,"直流屏","1.控制设备及低压电器安装 控制屏、继电、信号屏、模拟屏安装 控制屏\n2.直流屏",null,"台","1.000","",null,""]
["101","030402009040",null,"高压进线柜 4G01","1.配电装置安装 高压成套配电柜安装 单母线柜 断路器柜\n2.高压进线柜 4G01 KYN28-12",null,"台","1.000","",null,""]
["102","030402009041",null,"高压出线柜 4G02","1.配电装置安装 高压成套配电柜安装 单母线柜 断路器柜\n2.高压出线柜 4G02 KYN28-12",null,"台","1.000","",null,""]
["103","030401002006",null,"干式变压器","1.干式变压器安装 10KV/容量(kVA以下) 2500\n2.干式变压器",null,"台","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第20页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","SCB-13-2500KVA",null,"","","",null,""]
["104","030403006006",null,"低压封闭式母线槽","1.低压封闭式插接母线槽安装 每相电流(A以下) 5000\n2.低压母线槽（含软接头、过度铜排及活动接头） 5000A/4P",null,"m","5.410","",null,""]
["105","030402010028",null,"低压进线柜 4P01","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压进线柜（CGKK3)4P01 1200*1000*2200",null,"台","1.000","",null,""]
["106","030402010029",null,"低压无功补偿柜 4P02~P04","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压无功补偿柜（CGKK3)4P02~1P04 1000*1000*2200",null,"台","3.000","",null,""]
["107","030402010030",null,"低压馈线柜 4P05","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压馈线柜 4P05 1000*1000*2200",null,"台","1.000","",null,""]
["108","030402010031",null,"低压馈线柜 4P06~07","1.控制设备及低压电器安装 低压开关柜(屏)、弱电控制返回屏、箱式配电室 低压开关柜(屏)\n2.低压馈线柜",null,"台","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第21页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","4P06~4P07 1000*1000*2200",null,"","","",null,""]
["109","030412005005",null,"母线槽始端箱","1.低压封闭式插接母线槽始端箱安装 每相电流(A以下) 5000\n2.母线槽始端箱 5000A",null,"台","2.000","",null,""]
["110","031301005013",null,"高压开关柜基础","1.基础型钢制作、安装 槽钢 制作\n2.镀锌槽钢 10#\n3.基础型钢制作、安装 槽钢 安装",null,"m","10.700","",null,""]
["111","031301005014",null,"低压开关柜基础","1.基础型钢制作、安装 槽钢 制作\n2.镀锌槽钢 10#\n3.基础型钢制作、安装 槽钢 安装",null,"m","20.400","",null,""]
["112","010502001007",null,"变压器混凝土基础","1.其他混凝土基础//换:普通预拌混凝土 C25",null,"m3","1.200","",null,""]
["113","011508001004",null,"安全警示牌","1.挂画、挂镜 1m2以内\n2.安全警示志牌",null,"个","8.000","",null,""]
["114","030910002005",null,"安全工具箱","1.灭火器具放置箱安装 放置式 箱体半周长(mm) ＞1000\n2.安全工具箱（含安全工具） 1000*800*450",null,"个","1.000","",null,""]
["115","030910001005",null,"灭火器","1.灭火器具安装 灭火器安装 放置式\n2.手提式干粉灭火器 5kg",null,"具","2.000","",null,""]
["","",null,"防雷接地","",null,"","","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,null,"第22页, 共22页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["116","030410003002",null,"圆钢引下线 φ16","1.避雷引下线敷设 沿建筑、构筑物引下\n2.引下线 镀锌圆钢φ16",null,"条","32.000","",null,""]
["117","030410002004",null,"接地扁钢 -40*4","1.接地母线敷设 户内接地母线敷设\n2.接地母线 镀锌扁钢 -40*4",null,"m","354.028","",null,""]
["","",null,"系统调试","",null,"","","",null,""]
["118","030416028004",null,"电缆试验","1.电缆试验 10KV电缆交流耐压试验",null,"根","6.000","",null,""]
["119","030416005003",null,"电力变压器系统","1.电力变压器系统调试 10kV以下变压器容量(kV·A以下) 800//调:干式变压器系统调试",null,"系统","2.000","",null,""]
["120","030416005004",null,"电力变压器系统","1.电力变压器系统调试 10kV以下变压器容量(kV·A以下) 4000//调:干式变压器系统调试",null,"系统","1.000","",null,""]
["121","030416006001",null,"高压配电柜调试","1.送配电装置系统调试 (综合) 10kV以下交流供电",null,"系统","11.000","",null,""]
["122","030416006002",null,"电容调试","1.母线、避雷器、电容器调试 电容器(kV以下) 1",null,"系统","5.000","",null,""]
["123","030416029001",null,"防雷接地调试","1.接地装置调试 接地网",null,"系统","4.000","",null,""]
["本页小计",{"$nulls":9},""]
["合    计",{"$nulls":9},""]

{"sheet":"措施项目清单计价表","index":3,"n_rows":33,"n_cols":11,"rows_kept":33,"merged":[[0,0,0,10],[1,0,1,2],[1,3,1,5],[1,7,1,8],[1,9,1,10],[2,1,2,3],[2,5,2,7],[2,8,2,9],[3,1,3,3],[3,5,3,7],[3,8,3,9],[4,1,4,3],[4,5,4,7],[4,8,4,9],[5,1,5,3],[5,5,5,7],[5,8,5,9],[6,1,6,3],[6,5,6,7],[6,8,6,9],[7,1,7,3],[7,5,7,7],[7,8,7,9],[8,1,8,3],[8,5,8,7],[8,8,8,9],[9,1,9,3],[9,5,9,7],[9,8,9,9],[10,1,10,3],[10,5,10,7],[10,8,10,9],[11,1,11,3],[11,5,11,7],[11,8,11,9],[12,1,12,3],[12,5,12,7],[12,8,12,9],[13,1,13,3],[13,5,13,7],[13,8,13,9],[14,1,14,3],[14,5,14,7],[14,8,14,9],[15,1,15,3],[15,5,15,7],[15,8,15,9],[16,1,16,3],[16,5,16,7],[16,8,16,9],[17,1,17,3],[17,5,17,7],[17,8,17,9],[18,1,18,3],[18,5,18,7],[18,8,18,9],[19,1,19,3],[19,5,19,7],[19,8,19,9],[20,1,20,3],[20,5,20,7],[20,8,20,9],[21,1,21,3],[21,5,21,7],[21,8,21,9],[22,1,22,3],[22,5,22,7],[22,8,22,9],[23,1,23,3],[23,5,23,7],[23,8,23,9],[24,1,24,3],[24,5,24,7],[24,8,24,9],[25,0,25,7],[25,8,25,9],[26,0,26,1],[26,2,26,10],[27,0,27,10],[28,0,28,2],[28,3,28,5],[28,7,28,8],[28,9,28,10],[29,1,29,3],[29,5,29,7],[29,8,29,9],[30,0,30,7],[30,8,30,9],[31,0,31,7],[31,8,31,9],[32,0,32,1],[32,2,32,10]]}
["措施项目清单计价表"]
["工程名称:",null,null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,"第1页, 共2页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["1","031401001001",null,null,"脚手架","",null,null,"",null,""]
["2","031401002001",null,null,"大型机械设备进出场及安拆","",null,null,"",null,""]
["3","031401003001",null,null,"临时专用防护棚","",null,null,"",null,""]
["4","031401004001",null,null,"施工操作平台","",null,null,"",null,""]
["5","031401005001",null,null,"临时支撑架","",null,null,"",null,""]
["6","031401006001",null,null,"隧道内临时施工的通风、供水、供气、供电、照明及通信设施","",null,null,"",null,""]
["7","031401007001",null,null,"吊装加固","",null,null,"",null,""]
["8","031401008001",null,null,"胎(模)具","",null,null,"",null,""]
["9","031401009001",null,null,"安全生产","",null,null,"",null,""]
["10","031401010001",null,null,"文明施工","",null,null,"",null,""]
["11","031401011001",null,null,"环境保护","",null,null,"",null,""]
["12","031401012001",null,null,"临时设施","",null,null,"",null,""]
["13","031401013001",null,null,"二次搬运","",null,null,"",null,""]
["14","031401014001",null,null,"既有建(构)筑物、设施保护","",null,null,"",null,""]
["15","031401015001",null,null,"已完工程及设备保护","",null,null,"",null,""]
["16","031401016001",null,null,"顶升、提升装置","",null,null,"",null,""]
["17","031401017001",null,null,"特殊地区施工增加","",null,null,"",null,""]
["18","031401018001",null,null,"安装与生产运行同时进行施工防护","",null,null,"",null,""]
["19","031401019001",null,null,"有害身体健康环境中施工防护","",null,null,"",null,""]
["20","031401020001",null,null,"夜间施工增加费","",null,null,"",null,"按夜间施工项目人工的20%计算"]
["21","031401021001",null,null,"冬雨季施工增加","",null,null,"",null,""]
["22","031401022001",null,null,"其他措施","",null,null,"",null,""]
["本页合计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]
["措施项目清单计价表"]
["工程名称:",null,null,"惠创未来城7400kVA配电工程",null,null,"标段:","",null,"第2页, 共2页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["本页合计",{"$nulls":7},"",null,"-"]
["合    计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]

{"sheet":"其他项目清单计价表","index":4,"n_rows":9,"n_cols":9,"rows_kept":9,"merged":[[0,0,0,8],[1,0,1,1],[1,2,1,4],[1,5,1,6],[1,7,1,8],[2,1,2,2],[2,4,2,5],[2,6,2,7],[3,1,3,2],[3,4,3,5],[3,6,3,7],[4,1,4,2],[4,4,4,5],[4,6,4,7],[5,1,5,2],[5,4,5,5],[5,6,5,7],[6,1,6,2],[6,4,6,5],[6,6,6,7],[7,1,7,2],[7,4,7,5],[7,6,7,7],[8,0,8,2],[8,4,8,5],[8,6,8,7]]}
["其他项目清单计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,null,"标段：",null,"第1页, 共1页"]
["序号","项目名称",null,"暂估(暂定)\n金额(元)","结算(确定)\n金额(元)",null,"调整金额±\n(元)",null,"备注"]
["1","暂列金额",null,"","",null,"",null,""]
["2","专业工程暂估价",null,"","",null,"",null,"已含增值税。"]
["3","计日工",null,"","",null,"",null,""]
["4","总承包服务费",null,"","",null,"",null,""]
["5","合同中约定的其他项目",null,"","",null,"",null,""]
["合    计",null,null,"","",null,"",null,""]

{"sheet":"增值税计价表","index":5,"n_rows":5,"n_cols":9,"rows_kept":5,"merged":[[0,0,0,8],[1,0,1,1],[1,2,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,0,4,7]]}
["增值税计价表"]
["工程名称:",null,"惠创未来城7400kVA配电工程",null,"标段：",null,null,"第1页, 共1页"]
["序号","项目名称",null,"计算基础说明",null,"计算基础","税率(%)",null,"金额(元)"]
["1","增值税",null,"税前工程造价-专业工程暂估价",null,"","9.00",null,""]
["合  计",{"$nulls":7},""]

{"sheet":"主要材料设备价格表(合价)(格式一)","index":6,"n_rows":3,"n_cols":10,"rows_kept":3,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,6],[1,7,1,9],[2,1,2,2],[2,6,2,7],[3,1,3,2],[3,6,3,7],[4,1,4,2],[4,6,4,7],[5,1,5,2],[5,6,5,7],[6,1,6,2],[6,6,6,7],[7,1,7,2],[7,6,7,7],[8,1,8,2],[8,6,8,7],[9,1,9,2],[9,6,9,7],[10,1,10,2],[10,6,10,7],[11,1,11,2],[11,6,11,7],[12,1,12,2],[12,6,12,7],[13,1,13,2],[13,6,13,7],[14,1,14,2],[14,6,14,7],[15,1,15,2],[15,6,15,7],[16,1,16,2],[16,6,16,7],[17,1,17,2],[17,6,17,7],[18,1,18,2],[18,6,18,7],[19,1,19,2],[19,6,19,7],[20,1,20,2],[20,6,20,7],[21,1,21,2],[21,6,21,7],[22,1,22,2],[22,6,22,7],[23,1,23,2],[23,6,23,7],[24,1,24,2],[24,6,24,7],[25,1,25,2],[25,6,25,7],[26,1,26,2],[26,6,26,7]]}
["主要材料设备价格表"]
["工程名称：",null,"惠创未来城7400kVA配电工程",{"$nulls":4},"第1页, 共11页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]