{"text_format":"3","workbook":"xlsx","n_sheets":5,"sheets":["工程项目清单汇总表","分部分项工程项目清单计价表","措施项目清单计价表","计日工表","主要材料设备价格表(合价)(格式一)"],"read":"whole","date_system":"1900"}

{"sheet":"工程项目清单汇总表","index":0,"n_rows":20,"n_cols":6,"rows_kept":20,"merged":[[0,0,0,5],[1,0,1,1],[1,2,1,3],[2,0,2,2],[2,3,2,4],[3,0,3,2],[3,3,3,4],[4,0,4,2],[4,3,4,4],[5,0,5,2],[5,3,5,4],[6,0,6,2],[6,3,6,4],[7,0,7,2],[7,3,7,4],[8,0,8,2],[8,3,8,4],[9,0,9,2],[9,3,9,4],[10,0,10,2],[10,3,10,4],[11,0,11,2],[11,3,11,4],[12,0,12,2],[12,3,12,4],[13,0,13,2],[13,3,13,4],[14,0,14,2],[14,3,14,4],[15,0,15,2],[15,3,15,4],[16,0,16,2],[16,3,16,4],[17,0,17,2],[17,3,17,4],[18,0,18,4],[19,1,19,5]]}
["工程项目清单汇总表"]
["工程名称:",null,"路灯及监控工程",null,"标段：","第1页, 共1页"]
["序号",null,null,"项目内容",null,"金额(元)"]
["1",null,null,"分部分项工程费",null,""]
["1.1",null,null,"照明部分",null,""]
["1.2",null,null,"管线拆除加固部分",null,""]
["1.3",null,null,"监控部分",null,""]
["2",null,null,"措施项目费",null,""]
["2.1",null,null,"其中：安全生产措施项目",null,"13304.59"]
["3",null,null,"其他项目费",null,""]
["3.1",null,null,"其中：暂列金额",null,""]
["3.2",null,null,"其中：专业工程暂估价",null,""]
["3.3",null,null,"其中：计日工",null,""]
["3.4",null,null,"其中：总承包服务费",null,""]
["3.5",null,null,"其中：工程优质费",null,""]
["3.6",null,null,"其中：合同中约定的其他项目",null,""]
["4",null,null,"税前工程造价",null,""]
["5",null,null,"增值税",null,""]
["合  计",{"$nulls":4},""]
["注：","1  专业工程暂估价为已含税价格，在计算增值税计算基础时不应包含专业工程暂估价金额；\n2  本表宜用于按合同标的为工程量清单编制对象的工程汇总计算，以单项工程、单位工程等为工程量清\n   单编对象的工程可按本表汇总计算。"]

{"sheet":"分部分项工程项目清单计价表","index":1,"n_rows":127,"n_cols":11,"rows_kept":127,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,4],[1,6,1,8],[1,9,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,10],[3,8,4,9],[3,10,4,10],[5,1,5,2],[5,4,5,5],[5,8,5,9],[6,0,7,0],[6,1,7,2],[6,3,7,3],[6,4,7,5],[6,6,7,6],[6,7,7,7],[6,8,7,9],[6,10,7,10],[8,0,8,9],[9,0,9,10],[10,0,10,1],[10,2,10,4],[10,6,10,8],[10,9,10,10],[11,0,13,0],[11,1,13,2],[11,3,13,3],[11,4,13,5],[11,6,13,6],[11,7,13,7],[11,8,11,10],[12,8,13,9],[12,10,13,10],[14,1,14,2],[14,4,14,5],[14,8,14,9],[15,1,15,2],[15,4,15,5],[15,8,15,9],[16,1,16,2],[16,4,16,5],[16,8,16,9],[17,1,17,2],[17,4,17,5],[17,8,17,9],[18,1,18,2],[18,4,18,5],[18,8,18,9],[19,1,19,2],[19,4,19,5],[19,8,19,9],[20,0,20,9],[21,0,21,10],[22,0,22,1],[22,2,22,4],[22,6,22,8],[22,9,22,10],[23,0,25,0],[23,1,25,2],[23,3,25,3],[23,4,25,5],[23,6,25,6],[23,7,25,7],[23,8,23,10],[24,8,25,9],[24,10,25,10],[26,1,26,2],[26,4,26,5],[26,8,26,9],[27,1,27,2],[27,4,27,5],[27,8,27,9],[28,1,28,2],[28,4,28,5],[28,8,28,9],[29,1,29,2],[29,4,29,5],[29,8,29,9],[30,1,30,2],[30,4,30,5],[30,8,30,9],[31,1,31,2],[31,4,31,5],[31,8,31,9],[32,0,32,9],[33,0,33,10],[34,0,34,1],[34,2,34,4],[34,6,34,8],[34,9,34,10],[35,0,37,0],[35,1,37,2],[35,3,37,3],[35,4,37,5],[35,6,37,6],[35,7,37,7],[35,8,35,10],[36,8,37,9],[36,10,37,10],[38,1,38,2],[38,4,38,5],[38,8,38,9],[39,1,39,2],[39,4,39,5],[39,8,39,9],[40,1,40,2],[40,4,40,5],[40,8,40,9],[41,1,41,2],[41,4,41,5],[41,8,41,9],[42,1,42,2],[42,4,42,5],[42,8,42,9],[43,0,43,9],[44,0,44,10],[45,0,45,1],[45,2,45,4],[45,6,45,8],[45,9,45,10],[46,0,48,0],[46,1,48,2],[46,3,48,3],[46,4,48,5],[46,6,48,6],[46,7,48,7],[46,8,46,10],[47,8,48,9],[47,10,48,10],[49,1,49,2],[49,4,49,5],[49,8,49,9],[50,1,50,2],[50,4,50,5],[50,8,50,9],[51,0,52,0],[51,1,52,2],[51,3,52,3],[51,4,52,5],[51,6,52,6],[51,7,52,7],[51,8,52,9],[51,10,52,10],[53,0,53,9],[54,0,54,10],[55,0,55,1],[55,2,55,4],[55,6,55,8],[55,9,55,10],[56,0,58,0],[56,1,58,2],[56,3,58,3],[56,4,58,5],[56,6,58,6],[56,7,58,7],[56,8,56,10],[57,8,58,9],[57,10,58,10],[59,1,59,2],[59,4,59,5],[59,8,59,9],[60,1,60,2],[60,4,60,5],[60,8,60,9],[61,1,61,2],[61,4,61,5],[61,8,61,9],[62,1,62,2],[62,4,62,5],[62,8,62,9],[63,1,63,2],[63,4,63,5],[63,8,63,9],[64,0,64,9],[65,0,65,10],[66,0,66,1],[66,2,66,4],[66,6,66,8],[66,9,66,10],[67,0,69,0],[67,1,69,2],[67,3,69,3],[67,4,69,5],[67,6,69,6],[67,7,69,7],[67,8,67,10],[68,8,69,9],[68,10,69,10],[70,1,70,2],[70,4,70,5],[70,8,70,9],[71,1,71,2],[71,4,71,5],[71,8,71,9],[72,1,72,2],[72,4,72,5],[72,8,72,9],[73,1,73,2],[73,4,73,5],[73,8,73,9],[74,1,74,2],[74,4,74,5],[74,8,74,9],[75,1,75,2],[75,4,75,5],[75,8,75,9],[76,1,76,2],[76,4,76,5],[76,8,76,9],[77,0,77,9],[78,0,78,10],[79,0,79,1],[79,2,79,4],[79,6,79,8],[79,9,79,10],[80,0,82,0],[80,1,82,2],[80,3,82,3],[80,4,82,5],[80,6,82,6],[80,7,82,7],[80,8,80,10],[81,8,82,9],[81,10,82,10],[83,1,83,2],[83,4,83,5],[83,8,83,9],[84,1,84,2],[84,4,84,5],[84,8,84,9],[85,1,85,2],[85,4,85,5],[85,8,85,9],[86,1,86,2],[86,4,86,5],[86,8,86,9],[87,1,87,2],[87,4,87,5],[87,8,87,9],[88,1,88,2],[88,4,88,5],[88,8,88,9],[89,1,89,2],[89,4,89,5],[89,8,89,9],[90,0,90,9],[91,0,91,10],[92,0,92,1],[92,2,92,4],[92,6,92,8],[92,9,92,10],[93,0,95,0],[93,1,95,2],[93,3,95,3],[93,4,95,5],[93,6,95,6],[93,7,95,7],[93,8,93,10],[94,8,95,9],[94,10,95,10],[96,1,96,2],[96,4,96,5],[96,8,96,9],[97,0,98,0],[97,1,98,2],[97,3,98,3],[97,4,98,5],[97,6,98,6],[97,7,98,7],[97,8,98,9],[97,10,98,10],[99,0,99,9],[100,0,100,10],[101,0,101,1],[101,2,101,4],[101,6,101,8],[101,9,101,10],[102,0,104,0],[102,1,104,2],[102,3,104,3],[102,4,104,5],[102,6,104,6],[102,7,104,7],[102,8,102,10],[103,8,104,9],[103,10,104,10],[105,1,105,2],[105,4,105,5],[105,8,105,9],[106,1,106,2],[106,4,106,5],[106,8,106,9],[107,1,107,2],[107,4,107,5],[107,8,107,9],[108,1,108,2],[108,4,108,5],[108,8,108,9],[109,1,109,2],[109,4,109,5],[109,8,109,9],[110,1,110,2],[110,4,110,5],[110,8,110,9],[111,1,111,2],[111,4,111,5],[111,8,111,9],[112,1,112,2],[112,4,112,5],[112,8,112,9],[113,1,113,2],[113,4,113,5],[113,8,113,9],[114,0,114,9],[115,0,115,10],[116,0,116,1],[116,2,116,4],[116,6,116,8],[116,9,116,10],[117,0,119,0],[117,1,119,2],[117,3,119,3],[117,4,119,5],[117,6,119,6],[117,7,119,7],[117,8,117,10],[118,8,119,9],[118,10,119,10],[120,1,120,2],[120,4,120,5],[120,8,120,9],[121,1,121,2],[121,4,121,5],[121,8,121,9],[122,1,122,2],[122,4,122,5],[122,8,122,9],[123,1,123,2],[123,4,123,5],[123,8,123,9],[124,1,124,2],[124,4,124,5],[124,8,124,9],[125,0,125,9],[126,0,126,9]]}
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第1页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"照明部分","",null,"","","",null,""]
["1","040805001001",null,"单臂路灯","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土\n3.自卸汽车运土方 运距自行考虑\n4.装载机装土\n5.10kV以下架空配电线路架设 基础工程 浆铺 底坑面积(㎡) ≤6\n6.混凝土 C25\n7.10kV以下架空配电线路架设 基础工程 钢筋制作 钢筋笼\n8.钢筋（三级） φ16\n9.预埋铁件\n10.预埋件安装 地脚螺栓连接\n11.预埋件(含地脚螺栓) M24*800\n12.接地极(板)制作、安装 角钢接地极 普通土\n13.角钢接地极 L50*5*2500\n14.路灯金属杆安装 单杆式(杆长m以下) 10\n15.路灯灯杆 H=10m\n16.抱箍式单臂挑灯架安装 单抱箍(臂长m) 3以下\n17.LED路灯 90W",null,"套","2.000","",null,""]
[]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第2页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","18.接地极(板)制作、安装 角钢接地极 普通土\n19.角钢接地极 L50*5*2500",null,"","","",null,""]
["2","040803001001",null,"电力电缆","1.铜芯电力电缆敷设 电缆(截面mm2以下) 10\n2.铜芯电缆 YJV-0.6/1.0KV-5*6",null,"m","42.000","",null,""]
["3","040803002001",null,"塑料电缆保护管","1.刚性难燃线管埋地敷设 公称直径（mm以内） 50\n2.刚性难燃管 CPVCφ50",null,"m","82.000","",null,""]
["4","040803002002",null,"热镀锌管电缆保护管","1.镀锌钢管埋地敷设 公称直径（mm以内） 50\n2.镀锌钢管 SC50 3.0",null,"m","93.000","",null,""]
["5","040804002001",null,"铜芯圆芯型软电线","1.多芯软导线管内穿线(芯以内) 四芯 导线截面(mm2以内) 2.5\n2.多股铜芯聚氯乙烯绝缘导线 BV RVV-3*2.5",null,"m","25.000","",null,""]
["6","040504001001",null,"照明接线井","1.非定型井砌筑 砖砌 矩形\n2.非定型井 砖墙 抹灰 井内侧\n3.现浇混凝土其他构件 压顶、扶手\n4.压顶、扶手模板\n5.非定型井 井盖、井箅安装 检查井 铸",null,"座","4.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第3页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","铁井盖、座\n6.球墨铸铁井盖（人孔井） 920*670",null,"","","",null,""]
["7","040504006001",null,"水泥防盗块","1.小型构件预制 其他小型构件\n2.小型预制构件安装 其他小型构件及通风道、烟道、垃圾道",null,"个","10.000","",null,""]
["8","040101002001",null,"挖沟槽土方","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土",null,"m3","76.000","",null,""]
["9","040103001001",null,"弃土","1.装载机装土\n2.自卸汽车运土方 运距自行考虑",null,"m3","76.000","",null,""]
["10","040103001002",null,"回填石屑","1.回填石屑",null,"m3","48.000","",null,""]
["11","040805001002",null,"路灯迁移","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土\n3.自卸汽车运土方 运距自行考虑\n4.装载机装土\n5.10kV以下架空配电线路架设 基础工程 浆铺 底坑面积(㎡) ≤6\n6.混凝土 C25\n7.10kV以下架空配电线路架设 基础工程 钢筋制作 钢筋笼\n8.钢筋（三级） φ16\n9.预埋铁件",null,"套","3.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第4页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","10.预埋件安装 地脚螺栓连接\n11.预埋件(含地脚螺栓) M24*800\n12.接地极(板)制作、安装 角钢接地极 普通土\n13.角钢接地极 L50*5*2500\n14.路灯金属杆安装 单杆式(杆长m以下) 10\n15.路灯灯杆（利旧） H=10m",null,"","","",null,""]
["12","041001001002",null,"拆除路面","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚30cm\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m2","39.500","",null,""]
["13","041001003002",null,"拆除基层","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚15cm\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m2","39.500","",null,""]
["14","040803002003",null,"加固现状管道 φ50","1.满包混凝土加固\n2.非定型渠(管)道垫层 混凝土\n3.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"m","37.000","",null,""]
["15","040803002004",null,"加固现状管道 3φ110","1.非定型渠(管)道垫层 混凝土\n2.满包混凝土加固\n3.钢筋制作、安装 带肋钢筋 Φ10～",null,"m","41.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第5页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","25mm",null,"","","",null,""]
["","",null,"管线拆除加固部分","",null,"","","",null,""]
["16","040805001003",null,"监控杆迁移","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土\n3.自卸汽车运土方 运距自行考虑\n4.装载机装土\n5.10kV以下架空配电线路架设 基础工程 浆铺 底坑面积(㎡) ≤6\n6.混凝土 C25\n7.10kV以下架空配电线路架设 基础工程 钢筋制作 钢筋笼\n8.钢筋（三级） φ16\n9.预埋铁件\n10.接地极(板)制作、安装 角钢接地极 普通土\n11.角钢接地极 L50*5*2500\n12.路灯金属杆安装 单杆式(杆长m以下) 5\n13.监控杆（利旧） H=5m\n14.接地极(板)制作、安装 角钢接地极 普通土\n15.角钢接地极 L50*5*2500",null,"套","1.000","",null,""]
[]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第6页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["17","040504001003",null,"新建通信手孔井","1.非定型井垫层 混凝土\n2.非定型井砌筑 砖砌 矩形\n3.非定型井 砖墙 抹灰 井内侧\n4.非定型井 砖墙 抹灰 井内侧\n5.非定型井 井盖、井箅安装 检查井 铸铁井盖、座\n6.复合材料井盖（通信） 800*600",null,"座","1.000","",null,""]
["18","040504001004",null,"废除通信手孔井","1.拆除砖砌其它构筑物",null,"座","2.000","",null,""]
["19","040504001005",null,"现状手孔井降低","1.拆除砖砌其它构筑物\n2.非定型井 井盖、井箅安装 检查井 铸铁井盖、座\n3.复合材料井盖（通信） 800*600（利旧）",null,"座","1.000","",null,""]
["20","040803002005",null,"加固现状管道 φ20","1.满包混凝土加固\n2.非定型渠(管)道垫层 混凝土\n3.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"m","11.000","",null,""]
["21","040803002007",null,"加固现状管道 φ30","1.满包混凝土加固\n2.非定型渠(管)道垫层 混凝土\n3.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"m","65.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第7页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["22","040803002008",null,"加固现状管道 φ150","1.满包混凝土加固\n2.非定型渠(管)道垫层 混凝土\n3.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"m","29.000","",null,""]
["23","040803002009",null,"加固现状管道 φ110","1.满包混凝土加固\n2.非定型渠(管)道垫层 混凝土\n3.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"m","60.000","",null,""]
["24","040803002006",null,"加固现状管道 3φ110","1.非定型渠(管)道垫层 混凝土\n2.满包混凝土加固\n3.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"m","11.000","",null,""]
["25","040803002010",null,"加固现状管道 4φ110","1.非定型渠(管)道垫层 混凝土\n2.满包混凝土加固\n3.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"m","25.000","",null,""]
["26","040803002011",null,"加固现状管道 8φ110","1.非定型渠(管)道垫层 混凝土\n2.满包混凝土加固\n3.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"m","21.000","",null,""]
["","",null,"监控部分","",null,"","","",null,""]
["27","040801006001",null,"监控控制箱","1.控制设备及低压电器安装 控制箱安装 落地式\n2.控制箱",null,"套","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第8页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["28","030501015001",null,"工业以太交换机","1.工作组级交换机安装\n2.工业以太交换机 8口",null,"台","1.000","",null,""]
["29","030409001001",null,"控制机电缆 VV-3*6","1.铜芯电力电缆敷设 电缆(截面mm2以下) 10\n2.铜芯电缆 VV-3*6",null,"m","10.000","",null,""]
["30","031103008001",null,"控制机光纤","1.室外敷设管道光缆 12芯\n2.室外单模光纤 12芯",null,"m","10.000","",null,""]
["31","040803002012",null,"塑料电缆保护管","1.刚性难燃线管埋地敷设 公称直径（mm以内） 32\n2.刚性难燃管 CPVCφ32",null,"m","20.000","",null,""]
["32","040803002014",null,"高密度聚乙烯电缆保护管 2φ110","1.电缆保护管埋地敷设 塑料管(公称直径mm以下) 150\n2.HDPE高密度聚乙烯管 φ110\n3.管件 φ110",null,"m","116.000","",null,""]
["33","040803002013",null,"热镀锌管电缆保护管 2SCφ110","1.镀锌钢管埋地敷设 公称直径（mm以内） 125\n2.镀锌钢管 SC110 4.0",null,"m","237.000","",null,""]
["34","040504001006",null,"监控接线井","1.非定型井砌筑 砖砌 矩形\n2.非定型井 砖墙 抹灰 井内侧\n3.现浇混凝土其他构件 压顶、扶手\n4.压顶、扶手模板\n5.非定型井 井盖、",null,"座","3.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第9页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","井箅安装 检查井 铸铁井盖、座\n6.球墨铸铁井盖（人孔井） 920*670",null,"","","",null,""]
["35","040805001004",null,"L型高清监控杆","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土\n3.自卸汽车运土方 运距自行考虑\n4.装载机装土\n5.10kV以下架空配电线路架设 基础工程 浆铺 底坑面积(㎡) ≤6\n6.混凝土 C25\n7.10kV以下架空配电线路架设 基础工程 钢筋制作 钢筋笼\n8.钢筋（三级） φ16\n9.预埋铁件\n10.接地极(板)制作、安装 角钢接地极 普通土\n11.角钢接地极 L50*5*2500\n12.路灯金属杆安装 单杆式(杆长m以下) 5\n13.监控杆 H=5m\n14.接地极(板)制作、安装 角钢接地极 普通土\n15.角钢接地极 L50*5*2500",null,"套","3.000","",null,""]
[]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第10页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["36","030411005001",null,"防水接线箱","1.接线箱明装 接线箱半周长(mm以内) 700\n2.防水接线箱",null,"套","2.000","",null,""]
["37","030501013001",null,"收发器","1.AUI/BNC粗细缆收发器\n2.调制解调器、收发器",null,"台","2.000","",null,""]
["38","030409001002",null,"控制机电缆 VV-3*4","1.铜芯电力电缆敷设 电缆(截面mm2以下) 10\n2.铜芯电缆 VV-3*4",null,"m","173.000","",null,""]
["39","031103008004",null,"通讯光纤","1.室外敷设管道光缆 12芯\n2.室外单模光纤 2芯",null,"m","256.000","",null,""]
["40","030409001003",null,"控制机电缆 VV-3*1.5","1.铜芯电力电缆敷设 电缆(截面mm2以下) 10\n2.铜芯电缆 VV-3*1.5",null,"m","12.000","",null,""]
["41","030502003001",null,"超六类屏蔽网线","1.敷设双绞线缆或电话线 管、暗槽内穿放(对以内) 2\n2.超六类屏蔽网线",null,"m","12.000","",null,""]
["42","030501015002",null,"工业以太交换机","1.工作组级交换机安装\n2.工业以太交换机 16口",null,"台","1.000","",null,""]
["43","030506010001",null,"硬盘刻录机","1.数字硬盘录像机安装 不带环路 ≤16路\n2.硬盘录像机",null,"台","1.000","",null,""]
["44","030505016001",null,"液晶显示器 27寸","1.显示设备 监视器 ≤37\"\n2.液晶显示器 27寸",null,"台","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"路灯及监控工程",null,null,"标段:","",null,null,"第11页, 共11页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["45","040101002002",null,"挖沟槽土方","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土",null,"m3","8.000","",null,""]
["46","040103001005",null,"弃土","1.装载机装土\n2.自卸汽车运土方 运距自行考虑",null,"m3","8.000","",null,""]
["47","040103001004",null,"沟槽、基坑回填石屑","1.回填石屑",null,"m3","4.000","",null,""]
["48","041001001001",null,"拆除路面","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚30cm\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m2","7.000","",null,""]
["49","041001003001",null,"拆除基层","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚15cm\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m2","7.000","",null,""]
["本页小计",{"$nulls":9},""]
["合    计",{"$nulls":9},""]

{"sheet":"措施项目清单计价表","index":2,"n_rows":42,"n_cols":11,"rows_kept":42,"merged":[[0,0,0,10],[1,0,1,2],[1,3,1,5],[1,7,1,8],[1,9,1,10],[2,1,2,3],[2,5,2,7],[2,8,2,9],[3,1,3,3],[3,5,3,7],[3,8,3,9],[4,1,4,3],[4,5,4,7],[4,8,4,9],[5,1,5,3],[5,5,5,7],[5,8,5,9],[6,1,6,3],[6,5,6,7],[6,8,6,9],[7,1,7,3],[7,5,7,7],[7,8,7,9],[8,1,8,3],[8,5,8,7],[8,8,8,9],[9,1,9,3],[9,5,9,7],[9,8,9,9],[10,1,10,3],[10,5,10,7],[10,8,10,9],[11,1,11,3],[11,5,11,7],[11,8,11,9],[12,1,12,3],[12,5,12,7],[12,8,12,9],[13,1,13,3],[13,5,13,7],[13,8,13,9],[14,1,14,3],[14,5,14,7],[14,8,14,9],[15,1,15,3],[15,5,15,7],[15,8,15,9],[16,1,16,3],[16,5,16,7],[16,8,16,9],[17,1,17,3],[17,5,17,7],[17,8,17,9],[18,1,18,3],[18,5,18,7],[18,8,18,9],[19,1,19,3],[19,5,19,7],[19,8,19,9],[20,1,20,3],[20,5,20,7],[20,8,20,9],[21,1,21,3],[21,5,21,7],[21,8,21,9],[22,1,22,3],[22,5,22,7],[22,8,22,9],[23,1,23,3],[23,5,23,7],[23,8,23,9],[24,1,24,3],[24,5,24,7],[24,8,24,9],[25,0,25,7],[25,8,25,9],[26,0,26,1],[26,2,26,10],[27,0,27,10],[28,0,28,2],[28,3,28,5],[28,7,28,8],[28,9,28,10],[29,1,29,3],[29,5,29,7],[29,8,29,9],[30,1,30,3],[30,5,30,7],[30,8,30,9],[31,1,31,3],[31,5,31,7],[31,8,31,9],[32,1,32,3],[32,5,32,7],[32,8,32,9],[33,1,33,3],[33,5,33,7],[33,8,33,9],[34,1,34,3],[34,5,34,7],[34,8,34,9],[35,1,35,3],[35,5,35,7],[35,8,35,9],[36,1,36,3],[36,5,36,7],[36,8,36,9],[37,1,37,3],[37,5,37,7],[37,8,37,9],[38,1,38,3],[38,5,38,7],[38,8,38,9],[39,0,39,7],[39,8,39,9],[40,0,40,7],[40,8,40,9],[41,0,41,1],[41,2,41,10]]}
["措施项目清单计价表"]
["工程名称:",null,null,"路灯及监控工程",null,null,"标段:","",null,"第1页, 共2页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["1","031401001001",null,null,"脚手架","",null,null,"",null,""]
["2","031401002001",null,null,"大型机械设备进出场及安拆","",null,null,"",null,""]
["3","031401003001",null,null,"临时专用防护棚","",null,null,"",null,""]
["4","031401004001",null,null,"施工操作平台","",null,null,"",null,""]
["5","031401005001",null,null,"临时支撑架","",null,null,"",null,""]
["6","031401006001",null,null,"隧道内临时施工的通风、供水、供气、供电、照明及通信设施","",null,null,"",null,""]
["7","031401007001",null,null,"吊装加固","",null,null,"",null,""]
["8","031401008001",null,null,"胎(模)具","",null,null,"",null,""]
["9","031401009001",null,null,"安全生产","",null,null,"",null,""]
["10","031401010001",null,null,"文明施工","",null,null,"",null,""]
["11","031401011001",null,null,"环境保护","",null,null,"",null,""]
["12","031401012001",null,null,"临时设施","",null,null,"",null,""]
["13","031401013001",null,null,"二次搬运","",null,null,"",null,""]
["14","031401014001",null,null,"既有建(构)筑物、设施保护","",null,null,"",null,""]
["15","031401015001",null,null,"已完工程及设备保护","",null,null,"",null,""]
["16","031401016001",null,null,"顶升、提升装置","",null,null,"",null,""]
["17","031401017001",null,null,"特殊地区施工增加","",null,null,"",null,""]
["18","031401018001",null,null,"安装与生产运行同时进行施工防护","",null,null,"",null,""]
["19","031401019001",null,null,"有害身体健康环境中施工防护","",null,null,"",null,""]
["20","031401020001",null,null,"夜间施工措施费","",null,null,"",null,""]
["21","031401021001",null,null,"冬雨季施工增加","",null,null,"",null,""]
["22","031401022001",null,null,"其他措施","",null,null,"",null,""]
["本页合计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]
["措施项目清单计价表"]
["工程名称:",null,null,"路灯及监控工程",null,null,"标段:","",null,"第2页, 共2页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["23","BF004001",null,null,"防尘降噪绿色施工防护棚","",null,null,"",null,""]
["24","BF005001",null,null,"施工便道","",null,null,"",null,""]
["25","BC001001",null,null,"文明工地措施费","",null,null,"",null,"省级文明工地按2.00%计算；市级文明工地按1.00%计算"]
["26","BC002001",null,null,"赶工措施费","",null,null,"",null,""]
["27","BC004001",null,null,"在地下（暗）室、设备及大口径管道内等特殊施工部位进行施工增加费","",null,null,"",null,""]
["28","BC005001",null,null,"在管井内、竖井内、断面小于或等于 2 ㎡隧道或洞内、封闭吊顶天棚内施工增加费","",null,null,"",null,""]
["29","BC006001",null,null,"施工现场围挡和临时占地围挡","",null,null,"",null,""]
["30","BC007001",null,null,"施工围档照明","",null,null,"",null,""]
["31","BC009001",null,null,"样板引路","",null,null,"",null,""]
["本页合计",{"$nulls":7},"",null,"-"]
["合    计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]

{"sheet":"计日工表","index":3,"n_rows":13,"n_cols":11,"rows_kept":13,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,5],[1,6,1,8],[1,9,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,9],[2,10,3,10],[5,1,5,2],[5,5,5,6],[6,0,6,7],[7,1,7,2],[7,5,7,6],[8,0,8,7],[9,1,9,2],[9,5,9,6],[10,0,10,7],[11,0,11,7],[12,1,12,10]]}
["计日工表"]
["工程名称:",null,"路灯及监控工程",{"$nulls":3},"标段：",null,null,"第1页, 共1页"]
["编号","计日工名称",null,"单位","暂定数量","实际数量",null,"综合单价 (元)","合价",null,"调整金额±(元)"]
[{"$nulls":8},"暂定","实际"]
[{"$nulls":8},"A₁","A₂","B=A₂-A₁"]
["一","人工",null,"","","",null,"","","",""]
["人工小计",{"$nulls":7},"","",""]
["二","材料",null,"","","",null,"","","",""]
["材料小计",{"$nulls":7},"","",""]
["三","施工机具",null,"","","",null,"","","",""]
["施工机具小计",{"$nulls":7},"","",""]
["总    计",{"$nulls":7},"","",""]
["注：","1  本表计日工名称、暂定数量应由招标人填写。编制最高投标限价时，单价应由招标人按有关计价规\n   定确定；编制投标报价时，单价应由投标人自主报价，并按暂定数量计算合价计入投标总价中。\n2  工程结算时，应按发承包双方确认的实际数量计量合价。发承包双方确认的实际数量详见本标准表\n   E.8.2。"]

{"sheet":"主要材料设备价格表(合价)(格式一)","index":4,"n_rows":144,"n_cols":10,"rows_kept":144,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,6],[1,7,1,9],[2,1,2,2],[2,6,2,7],[3,1,3,2],[3,6,3,7],[4,1,4,2],[4,6,4,7],[5,1,5,2],[5,6,5,7],[6,1,6,2],[6,6,6,7],[7,1,7,2],[7,6,7,7],[8,1,8,2],[8,6,8,7],[9,1,9,2],[9,6,9,7],[10,1,10,2],[10,6,10,7],[11,1,11,2],[11,6,11,7],[12,1,12,2],[12,6,12,7],[13,1,13,2],[13,6,13,7],[14,1,14,2],[14,6,14,7],[15,1,15,2],[15,6,15,7],[16,1,16,2],[16,6,16,7],[17,1,17,2],[17,6,17,7],[18,1,18,2],[18,6,18,7],[19,1,19,2],[19,6,19,7],[20,1,20,2],[20,6,20,7],[21,1,21,2],[21,6,21,7],[22,1,22,2],[22,6,22,7],[23,1,23,2],[23,6,23,7],[24,1,24,2],[24,6,24,7],[25,1,25,2],[25,6,25,7],[26,1,26,2],[26,6,26,7],[27,1,27,2],[27,6,27,7],[28,0,28,9],[29,0,29,1],[29,2,29,6],[29,7,29,9],[30,1,30,2],[30,6,30,7],[31,1,31,2],[31,6,31,7],[32,1,32,2],[32,6,32,7],[33,1,33,2],[33,6,33,7],[34,1,34,2],[34,6,34,7],[35,1,35,2],[35,6,35,7],[36,1,36,2],[36,6,36,7],[37,1,37,2],[37,6,37,7],[38,1,38,2],[38,6,38,7],[39,1,39,2],[39,6,39,7],[40,1,40,2],[40,6,40,7],[41,1,41,2],[41,6,41,7],[42,1,42,2],[42,6,42,7],[43,1,43,2],[43,6,43,7],[44,1,44,2],[44,6,44,7],[45,1,45,2],[45,6,45,7],[46,1,46,2],[46,6,46,7],[47,1,47,2],[47,6,47,7],[48,1,48,2],[48,6,48,7],[49,1,49,2],[49,6,49,7],[50,1,50,2],[50,6,50,7],[51,1,51,2],[51,6,51,7],[52,1,52,2],[52,6,52,7],[53,1,53,2],[53,6,53,7],[54,1,54,2],[54,6,54,7],[55,1,55,2],[55,6,55,7],[56,1,56,2],[56,6,56,7],[57,0,57,9],[58,0,58,1],[58,2,58,6],[58,7,58,9],[59,1,59,2],[59,6,59,7],[60,1,60,2],[60,6,60,7],[61,1,61,2],[61,6,61,7],[62,1,62,2],[62,6,62,7],[63,1,63,2],[63,6,63,7],[64,1,64,2],[64,6,64,7],[65,1,65,2],[65,6,65,7],[66,1,66,2],[66,6,66,7],[67,1,67,2],[67,6,67,7],[68,1,68,2],[68,6,68,7],[69,1,69,2],[69,6,69,7],[70,1,70,2],[70,6,70,7],[71,1,71,2],[71,6,71,7],[72,1,72,2],[72,6,72,7],[73,1,73,2],[73,6,73,7],[74,1,74,2],[74,6,74,7],[75,1,75,2],[75,6,75,7],[76,1,76,2],[76,6,76,7],[77,1,77,2],[77,6,77,7],[78,1,78,2],[78,6,78,7],[79,1,79,2],[79,6,79,7],[80,1,80,2],[80,6,80,7],[81,0,81,9],[82,0,82,1],[82,2,82,6],[82,7,82,9],[83,1,83,2],[83,6,83,7],[84,1,84,2],[84,6,84,7],[85,1,85,2],[85,6,85,7],[86,1,86,2],[86,6,86,7],[87,1,87,2],[87,6,87,7],[88,1,88,2],[88,6,88,7],[89,1,89,2],[89,6,89,7],[90,1,90,2],[90,6,90,7],[91,1,91,2],[91,6,91,7],[92,1,92,2],[92,6,92,7],[93,1,93,2],[93,6,93,7],[94,1,94,2],[94,6,94,7],[95,1,95,2],[95,6,95,7],[96,1,96,2],[96,6,96,7],[97,1,97,2],[97,6,97,7],[98,1,98,2],[98,6,98,7],[99,1,99,2],[99,6,99,7],[100,1,100,2],[100,6,100,7],[101,1,101,2],[101,6,101,7],[102,1,102,2],[102,6,102,7],[103,1,103,2],[103,6,103,7],[104,0,104,9],[105,0,105,1],[105,2,105,6],[105,7,105,9],[106,1,106,2],[106,6,106,7],[107,1,107,2],[107,6,107,7],[108,1,108,2],[108,6,108,7],[109,1,109,2],[109,6,109,7],[110,1,110,2],[110,6,110,7],[111,1,111,2],[111,6,111,7],[112,1,112,2],[112,6,112,7],[113,1,113,2],[113,6,113,7],[114,1,114,2],[114,6,114,7],[115,1,115,2],[115,6,115,7],[116,1,116,2],[116,6,116,7],[117,1,117,2],[117,6,117,7],[118,1,118,2],[118,6,118,7],[119,1,119,2],[119,6,119,7],[120,1,120,2],[120,6,120,7],[121,1,121,2],[121,6,121,7],[122,1,122,2],[122,6,122,7],[123,1,123,2],[123,6,123,7],[124,1,124,2],[124,6,124,7],[125,1,125,2],[125,6,125,7],[126,1,126,2],[126,6,126,7],[127,1,127,2],[127,6,127,7],[128,0,128,9],[129,0,129,1],[129,2,129,6],[129,7,129,9],[130,1,130,2],[130,6,130,7],[131,1,131,2],[131,6,131,7],[132,1,132,2],[132,6,132,7],[133,1,133,2],[133,6,133,7],[134,1,134,2],[134,6,134,7],[135,1,135,2],[135,6,135,7],[136,1,136,2],[136,6,136,7],[137,1,137,2],[137,6,137,7],[138,1,138,2],[138,6,138,7],[139,1,139,2],[139,6,139,7],[140,1,140,2],[140,6,140,7],[141,1,141,2],[141,6,141,7],[142,1,142,2],[142,6,142,7],[143,1,143,2],[143,6,143,7]]}
["主要材料设备价格表"]
["工程名称：",null,"路灯及监控工程",{"$nulls":4},"第1页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["1","00010003",null,"机上人工","","工日","14.314",null,"",""]
["2","00010010",null,"人工费","","元","52334.676",null,"",""]
["3","01010005-0001",null,"钢筋（三级）","φ16","t","0.448",null,"",""]
["4","01010125",null,"螺纹钢筋 φ10～25","","t","11.588",null,"",""]
["5","01030035",null,"镀锌低碳钢丝","φ1.2～2.5","kg","28.526",null,"",""]
["6","01030055",null,"镀锌低碳钢丝","φ2.5～4.0","kg","7.371",null,"",""]
["7","01130060",null,"镀锌扁钢 综合","","kg","4.900",null,"",""]
["8","01290205",null,"镀锌钢板 综合","","kg","8.490",null,"",""]
["9","01530060",null,"封铅 含铅65% 含锡35%","","kg","1.528",null,"",""]
["10","02090050",null,"聚乙烯薄膜 0.05","","m2","9.280",null,"",""]
["11","02090090",null,"塑料薄膜","","m2","255.771",null,"",""]
["12","02270001",null,"棉纱","","kg","15.220",null,"",""]
["13","02270020",null,"白布","","kg","0.749",null,"",""]
["14","03010680",null,"六角螺栓 M16×65～80","","十套","6.528",null,"",""]
["15","03011605",null,"镀锌六角螺栓","2平1弹垫 M10×100以内","十套","0.410",null,"",""]
["16","03013031",null,"膨胀螺栓 M6","","十套","0.816",null,"",""]
["17","03014171",null,"镀锌锁紧螺母 DN50×3","","十套","0.766",null,"",""]
["18","03016141",null,"弹簧垫圈 M16～30","","十个","6.540",null,"",""]
["19","03019021",null,"圆钉 50～75","","kg","4.760",null,"",""]
["20","03135001",null,"低碳钢焊条 综合","","kg","118.844",null,"",""]
["21","03135021",null,"低碳钢焊条","结422 φ3.2","kg","8.198",null,"",""]
["22","03137041",null,"焊锡膏","","kg","0.008",null,"",""]
["23","03138001",null,"锡基钎料","","kg","0.035",null,"",""]
["24","03139001",null,"冲击钻头 φ8","","个","0.057",null,"",""]
["25","03139281",null,"钢锯条","","条","42.010",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"路灯及监控工程",{"$nulls":4},"第2页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["26","03139521",null,"合金钢钻头 φ10","","个","0.449",null,"",""]
["27","03139531",null,"合金钎头 φ150","","个","0.018",null,"",""]
["28","03213001",null,"铁件 综合","","kg","218.160",null,"",""]
["29","03214630-0001",null,"预埋件(含地脚螺栓)","M24*800","kg","57.429",null,"",""]
["30","04010015",null,"复合普通硅酸盐水泥","P.C 32.5","t","0.003",null,"",""]
["31","04030015",null,"中砂","","m3","0.001",null,"",""]
["32","04050025",null,"碎石 10","","m3","0.002",null,"",""]
["33","04070045",null,"石屑","","m3","69.680",null,"",""]
["34","04130001",null,"标准砖 240×115×53","","千块","2.275",null,"",""]
["35","05030080",null,"松杂板枋材","","m3","0.167",null,"",""]
["36","05030320",null,"垫木","","m3","",null,"",""]
["37","8005902",null,"湿拌砌筑砂浆","M7.5 砌筑灰缝≥5mm","m3","0.954",null,"",""]
["38","8005903",null,"湿拌砌筑砂浆","M10 砌筑灰缝≥5mm","m3","0.014",null,"",""]
["39","8005905",null,"湿拌砌筑砂浆","M20 砌筑灰缝≥5mm","m3","0.057",null,"",""]
["40","8005907",null,"湿拌抹灰砂浆","M10 一次性抹灰厚度≥5mm","m3","0.207",null,"",""]
["41","8005908",null,"湿拌抹灰砂浆","M15 一次性抹灰厚度≥5mm","m3","0.710",null,"",""]
["42","13010040",null,"醇酸磁漆","","kg","7.111",null,"",""]
["43","13010120",null,"酚醛磁漆","","kg","4.110",null,"",""]
["44","13010130",null,"酚醛调和漆","","kg","0.030",null,"",""]
["45","13010330",null,"沥青清漆","","kg","0.300",null,"",""]
["46","13030240",null,"厚漆","","kg","15.614",null,"",""]
["47","13050080",null,"防锈漆 C53-1","","kg","2.050",null,"",""]
["48","13050210",null,"沥青绝缘漆","","kg","0.150",null,"",""]
["49","13410010",null,"嵌缝料","","kg","0.758",null,"",""]
["50","14030040",null,"汽油 综合","","kg","1.288",null,"",""]
["51","14050050",null,"溶剂油","","kg","6.362",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"路灯及监控工程",{"$nulls":4},"第3页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["52","14330320",null,"硬脂酸","","kg","0.075",null,"",""]
["53","14350190",null,"多功能上光清洁剂","","盒","0.400",null,"",""]
["54","14350250",null,"隔离剂","","kg","0.758",null,"",""]
["55","14350360",null,"酒精","","kg","0.100",null,"",""]
["56","14410410",null,"氯丁橡胶粘接剂","","kg","0.135",null,"",""]
["57","14430215",null,"塑料粘胶带","","卷","13.832",null,"",""]
["58","17030001-0002",null,"镀锌钢管","SC110 4.0","m","488.220",null,"",""]
["59","17030001-0003",null,"镀锌钢管","SC50 3.0","m","95.790",null,"",""]
["60","17250030",null,"塑料异型管 D2.5～5","","m","5.000",null,"",""]
["61","17250040-0001",null,"HDPE高密度聚乙烯管","φ110","m","243.600",null,"",""]
["62","17250170",null,"塑料软管 D5","","m","0.500",null,"",""]
["63","17250427",null,"聚乙烯波纹管","","m","7.102",null,"",""]
["64","18000001-0001",null,"管件","φ110","个","238.960",null,"",""]
["65","18031095",null,"镀锌钢管塑料护口 DN50","","个","7.663",null,"",""]
["66","18031150",null,"镀锌钢管接头 50×3.5","","个","15.326",null,"",""]
["67","18031170",null,"镀锌钢管接头 125×4.5","","个","39.058",null,"",""]
["68","25610020-0001",null,"LED路灯","90W","套","2.020",null,"",""]
["69","25610080",null,"镀锌大灯泡抱箍连压板","","副","2.020",null,"",""]
["70","27010060",null,"飞保险(羊角熔断器) 10A","","个","2.060",null,"",""]
["71","27170001",null,"电气绝缘胶带","18mm×10m×0.13mm","卷","11.995",null,"",""]
["72","28030270-0001",null,"超六类屏蔽网线","","m","12.240",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"路灯及监控工程",{"$nulls":4},"第4页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["73","28030290",null,"双色多股铜芯聚氯乙烯绝缘软导线 BVR-4mm2","","m","129.517",null,"",""]
["74","28030410-0001",null,"多股铜芯聚氯乙烯绝缘导线 BV","RVV-3*2.5","m","27.000",null,"",""]
["75","28030510",null,"铜芯聚氯乙烯绝缘导线 BV-6mm2","","m","2.040",null,"",""]
["76","28110210-0002",null,"铜芯电缆","VV-3*6","m","10.100",null,"",""]
["77","28110210-0003",null,"铜芯电缆","VV-3*4","m","174.730",null,"",""]
["78","28110210-0004",null,"铜芯电缆","VV-3*1.5","m","12.120",null,"",""]
["79","28110210-0005",null,"铜芯电缆","YJV-0.6/1.0KV-5*6","m","42.420",null,"",""]
["80","28250010-0001",null,"室外单模光纤","12芯","m","10.200",null,"",""]
["81","28250010-0003",null,"室外单模光纤","2芯","m","261.120",null,"",""]
["82","29060115",null,"镀锌钢管塑料护口","DN15～20","个","0.485",null,"",""]
["83","29060140-0002",null,"刚性难燃管","CPVCφ32","m","22.000",null,"",""]
["84","29060140-0003",null,"刚性难燃管","CPVCφ50","m","90.200",null,"",""]
["85","29060290",null,"难燃塑料管接头 32","","个","4.120",null,"",""]
["86","29060300",null,"难燃塑料管接头 50","","个","16.892",null,"",""]
["87","29090185",null,"铜端子 6mm2","","个","2.040",null,"",""]
["88","29110400-0001",null,"防水接线箱","","个","2.000",null,"",""]
["89","29170250",null,"镀锌地线夹 50","","套","59.390",null,"",""]
["90","29170290",null,"镀锌地线夹 125","","套","78.115",null,"",""]
["91","29170340",null,"胶木线夹","","个","8.000",null,"",""]
["92","29190100-0001",null,"路灯灯杆","H=10m","根","2.000",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"路灯及监控工程",{"$nulls":4},"第5页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["93","29190100-0002",null,"路灯灯杆（利旧）","H=10m","根","3.000",null,"",""]
["94","29190100-0003",null,"监控杆（利旧）","H=5m","根","1.000",null,"",""]
["95","29190100-0004",null,"监控杆","H=5m","根","3.000",null,"",""]
["96","29230100",null,"余缆架","","套","0.537",null,"",""]
["97","30030080-0001",null,"液晶显示器","27寸","台","1.000",null,"",""]
["98","30030120",null,"控制箱","","台","1.000",null,"",""]
["99","30030170-0001",null,"硬盘录像机","","台","1.000",null,"",""]
["100","30090200",null,"调制解调器、收发器","","台","2.000",null,"",""]
["101","30210160-0001",null,"工业以太交换机","8口","台","1.000",null,"",""]
["102","30210160-0002",null,"工业以太交换机","16口","台","1.000",null,"",""]
["103","34090250",null,"脱脂棉","","kg","0.100",null,"",""]
["104","34110010",null,"水","","m3","98.595",null,"",""]
["105","34130001",null,"标志牌 塑料扁形","","个","3.224",null,"",""]
["106","35030170",null,"脚手架直角扣(含螺丝)","","套","4.120",null,"",""]
["107","36010080-0001",null,"球墨铸铁井盖（人孔井）","920*670","套","7.000",null,"",""]
["108","36010080-0002",null,"复合材料井盖（通信）","800*600","套","1.000",null,"",""]
["109","36010080-0003",null,"复合材料井盖（通信）","800*600（利旧）","套","1.000",null,"",""]
["110","37091110",null,"钢垫板 1～2","","kg","0.100",null,"",""]
["111","37091120",null,"钢垫板 2.5～5","","kg","4.500",null,"",""]
["112","37230970",null,"光缆托板","","块","12.901",null,"",""]
["113","37231000",null,"托板垫","","块","12.901",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"路灯及监控工程",{"$nulls":4},"第6页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["114","37270101-0001",null,"角钢接地极","L50*5*2500","根","15.750",null,"",""]
["115","80210200",null,"普通预拌混凝土 C20","","m3","30.428",null,"",""]
["116","80210220",null,"普通预拌混凝土 C30","","m3","89.011",null,"",""]
["117","80210660-0001",null,"混凝土 C25","","m3","7.606",null,"",""]
["118","99450630",null,"折旧费","","元","1373.225",null,"",""]
["119","99450640",null,"检修费","","元","313.638",null,"",""]
["120","99450650",null,"维护费","","元","909.377",null,"",""]
["121","99450660",null,"安拆费","","元","324.636",null,"",""]
["122","99450670",null,"汽油","(机械用)","kg","5.364",null,"",""]
["123","99450680",null,"柴油","(机械用)","kg","230.057",null,"",""]
["124","99450700",null,"电","(机械用)","kw·h","1285.335",null,"",""]
["125","99450760",null,"其他材料费","","元","1153.308",null,"",""]
["126","99451300",null,"校验费","","元","17.523",null,"",""]