{"text_format":"3","workbook":"xlsx","n_sheets":5,"sheets":["工程项目清单汇总表","分部分项工程项目清单计价表","措施项目清单计价表","计日工表","主要材料设备价格表(合价)(格式一)"],"read":"whole","date_system":"1900"}

{"sheet":"工程项目清单汇总表","index":0,"n_rows":19,"n_cols":6,"rows_kept":19,"merged":[[0,0,0,5],[1,0,1,1],[1,2,1,3],[2,0,2,2],[2,3,2,4],[3,0,3,2],[3,3,3,4],[4,0,4,2],[4,3,4,4],[5,0,5,2],[5,3,5,4],[6,0,6,2],[6,3,6,4],[7,0,7,2],[7,3,7,4],[8,0,8,2],[8,3,8,4],[9,0,9,2],[9,3,9,4],[10,0,10,2],[10,3,10,4],[11,0,11,2],[11,3,11,4],[12,0,12,2],[12,3,12,4],[13,0,13,2],[13,3,13,4],[14,0,14,2],[14,3,14,4],[15,0,15,2],[15,3,15,4],[16,0,16,2],[16,3,16,4],[17,0,17,4],[18,1,18,5]]}
["工程项目清单汇总表"]
["工程名称:",null,"给排水工程",null,"标段：","第1页, 共1页"]
["序号",null,null,"项目内容",null,"金额(元)"]
["1",null,null,"分部分项工程费",null,""]
["1.1",null,null,"给水管部分",null,""]
["1.2",null,null,"排水管部分",null,""]
["2",null,null,"措施项目费",null,""]
["2.1",null,null,"其中：安全生产措施项目",null,"43685.61"]
["3",null,null,"其他项目费",null,""]
["3.1",null,null,"其中：暂列金额",null,""]
["3.2",null,null,"其中：专业工程暂估价",null,""]
["3.3",null,null,"其中：计日工",null,""]
["3.4",null,null,"其中：总承包服务费",null,""]
["3.5",null,null,"其中：工程优质费",null,""]
["3.6",null,null,"其中：合同中约定的其他项目",null,""]
["4",null,null,"税前工程造价",null,""]
["5",null,null,"增值税",null,""]
["合  计",{"$nulls":4},""]
["注：","1  专业工程暂估价为已含税价格，在计算增值税计算基础时不应包含专业工程暂估价金额；\n2  本表宜用于按合同标的为工程量清单编制对象的工程汇总计算，以单项工程、单位工程等为工程量清\n   单编对象的工程可按本表汇总计算。"]

{"sheet":"分部分项工程项目清单计价表","index":1,"n_rows":205,"n_cols":11,"rows_kept":205,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,4],[1,6,1,8],[1,9,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,10],[3,8,4,9],[3,10,4,10],[5,1,5,2],[5,4,5,5],[5,8,5,9],[6,1,6,2],[6,4,6,5],[6,8,6,9],[7,1,7,2],[7,4,7,5],[7,8,7,9],[8,1,8,2],[8,4,8,5],[8,8,8,9],[9,1,9,2],[9,4,9,5],[9,8,9,9],[10,1,10,2],[10,4,10,5],[10,8,10,9],[11,1,11,2],[11,4,11,5],[11,8,11,9],[12,0,12,9],[13,0,13,10],[14,0,14,1],[14,2,14,4],[14,6,14,8],[14,9,14,10],[15,0,17,0],[15,1,17,2],[15,3,17,3],[15,4,17,5],[15,6,17,6],[15,7,17,7],[15,8,15,10],[16,8,17,9],[16,10,17,10],[18,1,18,2],[18,4,18,5],[18,8,18,9],[19,1,19,2],[19,4,19,5],[19,8,19,9],[20,1,20,2],[20,4,20,5],[20,8,20,9],[21,1,21,2],[21,4,21,5],[21,8,21,9],[22,1,22,2],[22,4,22,5],[22,8,22,9],[23,1,23,2],[23,4,23,5],[23,8,23,9],[24,1,24,2],[24,4,24,5],[24,8,24,9],[25,0,25,9],[26,0,26,10],[27,0,27,1],[27,2,27,4],[27,6,27,8],[27,9,27,10],[28,0,30,0],[28,1,30,2],[28,3,30,3],[28,4,30,5],[28,6,30,6],[28,7,30,7],[28,8,28,10],[29,8,30,9],[29,10,30,10],[31,1,31,2],[31,4,31,5],[31,8,31,9],[32,1,32,2],[32,4,32,5],[32,8,32,9],[33,1,33,2],[33,4,33,5],[33,8,33,9],[34,1,34,2],[34,4,34,5],[34,8,34,9],[35,1,35,2],[35,4,35,5],[35,8,35,9],[36,1,36,2],[36,4,36,5],[36,8,36,9],[37,1,37,2],[37,4,37,5],[37,8,37,9],[38,1,38,2],[38,4,38,5],[38,8,38,9],[39,1,39,2],[39,4,39,5],[39,8,39,9],[40,1,40,2],[40,4,40,5],[40,8,40,9],[41,0,41,9],[42,0,42,10],[43,0,43,1],[43,2,43,4],[43,6,43,8],[43,9,43,10],[44,0,46,0],[44,1,46,2],[44,3,46,3],[44,4,46,5],[44,6,46,6],[44,7,46,7],[44,8,44,10],[45,8,46,9],[45,10,46,10],[47,1,47,2],[47,4,47,5],[47,8,47,9],[48,1,48,2],[48,4,48,5],[48,8,48,9],[49,1,49,2],[49,4,49,5],[49,8,49,9],[50,1,50,2],[50,4,50,5],[50,8,50,9],[51,1,51,2],[51,4,51,5],[51,8,51,9],[52,0,52,9],[53,0,53,10],[54,0,54,1],[54,2,54,4],[54,6,54,8],[54,9,54,10],[55,0,57,0],[55,1,57,2],[55,3,57,3],[55,4,57,5],[55,6,57,6],[55,7,57,7],[55,8,55,10],[56,8,57,9],[56,10,57,10],[58,1,58,2],[58,4,58,5],[58,8,58,9],[59,1,59,2],[59,4,59,5],[59,8,59,9],[60,1,60,2],[60,4,60,5],[60,8,60,9],[61,1,61,2],[61,4,61,5],[61,8,61,9],[62,0,62,9],[63,0,63,10],[64,0,64,1],[64,2,64,4],[64,6,64,8],[64,9,64,10],[65,0,67,0],[65,1,67,2],[65,3,67,3],[65,4,67,5],[65,6,67,6],[65,7,67,7],[65,8,65,10],[66,8,67,9],[66,10,67,10],[68,1,68,2],[68,4,68,5],[68,8,68,9],[69,1,69,2],[69,4,69,5],[69,8,69,9],[70,1,70,2],[70,4,70,5],[70,8,70,9],[71,0,71,9],[72,0,72,10],[73,0,73,1],[73,2,73,4],[73,6,73,8],[73,9,73,10],[74,0,76,0],[74,1,76,2],[74,3,76,3],[74,4,76,5],[74,6,76,6],[74,7,76,7],[74,8,74,10],[75,8,76,9],[75,10,76,10],[77,1,77,2],[77,4,77,5],[77,8,77,9],[78,1,78,2],[78,4,78,5],[78,8,78,9],[79,0,79,9],[80,0,80,10],[81,0,81,1],[81,2,81,4],[81,6,81,8],[81,9,81,10],[82,0,84,0],[82,1,84,2],[82,3,84,3],[82,4,84,5],[82,6,84,6],[82,7,84,7],[82,8,82,10],[83,8,84,9],[83,10,84,10],[85,1,85,2],[85,4,85,5],[85,8,85,9],[86,0,87,0],[86,1,87,2],[86,3,87,3],[86,4,87,5],[86,6,87,6],[86,7,87,7],[86,8,87,9],[86,10,87,10],[88,0,88,9],[89,0,89,10],[90,0,90,1],[90,2,90,4],[90,6,90,8],[90,9,90,10],[91,0,93,0],[91,1,93,2],[91,3,93,3],[91,4,93,5],[91,6,93,6],[91,7,93,7],[91,8,91,10],[92,8,93,9],[92,10,93,10],[94,0,95,0],[94,1,95,2],[94,3,95,3],[94,4,95,5],[94,6,95,6],[94,7,95,7],[94,8,95,9],[94,10,95,10],[96,1,96,2],[96,4,96,5],[96,8,96,9],[97,0,97,9],[98,0,98,10],[99,0,99,1],[99,2,99,4],[99,6,99,8],[99,9,99,10],[100,0,102,0],[100,1,102,2],[100,3,102,3],[100,4,102,5],[100,6,102,6],[100,7,102,7],[100,8,100,10],[101,8,102,9],[101,10,102,10],[103,1,103,2],[103,4,103,5],[103,8,103,9],[104,1,104,2],[104,4,104,5],[104,8,104,9],[105,1,105,2],[105,4,105,5],[105,8,105,9],[106,0,106,9],[107,0,107,10],[108,0,108,1],[108,2,108,4],[108,6,108,8],[108,9,108,10],[109,0,111,0],[109,1,111,2],[109,3,111,3],[109,4,111,5],[109,6,111,6],[109,7,111,7],[109,8,109,10],[110,8,111,9],[110,10,111,10],[112,1,112,2],[112,4,112,5],[112,8,112,9],[113,1,113,2],[113,4,113,5],[113,8,113,9],[114,0,114,9],[115,0,115,10],[116,0,116,1],[116,2,116,4],[116,6,116,8],[116,9,116,10],[117,0,119,0],[117,1,119,2],[117,3,119,3],[117,4,119,5],[117,6,119,6],[117,7,119,7],[117,8,117,10],[118,8,119,9],[118,10,119,10],[120,1,120,2],[120,4,120,5],[120,8,120,9],[121,1,121,2],[121,4,121,5],[121,8,121,9],[122,1,122,2],[122,4,122,5],[122,8,122,9],[123,1,123,2],[123,4,123,5],[123,8,123,9],[124,1,124,2],[124,4,124,5],[124,8,124,9],[125,0,125,9],[126,0,126,10],[127,0,127,1],[127,2,127,4],[127,6,127,8],[127,9,127,10],[128,0,130,0],[128,1,130,2],[128,3,130,3],[128,4,130,5],[128,6,130,6],[128,7,130,7],[128,8,128,10],[129,8,130,9],[129,10,130,10],[131,1,131,2],[131,4,131,5],[131,8,131,9],[132,1,132,2],[132,4,132,5],[132,8,132,9],[133,1,133,2],[133,4,133,5],[133,8,133,9],[134,1,134,2],[134,4,134,5],[134,8,134,9],[135,0,135,9],[136,0,136,10],[137,0,137,1],[137,2,137,4],[137,6,137,8],[137,9,137,10],[138,0,140,0],[138,1,140,2],[138,3,140,3],[138,4,140,5],[138,6,140,6],[138,7,140,7],[138,8,138,10],[139,8,140,9],[139,10,140,10],[141,1,141,2],[141,4,141,5],[141,8,141,9],[142,1,142,2],[142,4,142,5],[142,8,142,9],[143,1,143,2],[143,4,143,5],[143,8,143,9],[144,0,144,9],[145,0,145,10],[146,0,146,1],[146,2,146,4],[146,6,146,8],[146,9,146,10],[147,0,149,0],[147,1,149,2],[147,3,149,3],[147,4,149,5],[147,6,149,6],[147,7,149,7],[147,8,147,10],[148,8,149,9],[148,10,149,10],[150,1,150,2],[150,4,150,5],[150,8,150,9],[151,0,152,0],[151,1,152,2],[151,3,152,3],[151,4,152,5],[151,6,152,6],[151,7,152,7],[151,8,152,9],[151,10,152,10],[153,0,153,9],[154,0,154,10],[155,0,155,1],[155,2,155,4],[155,6,155,8],[155,9,155,10],[156,0,158,0],[156,1,158,2],[156,3,158,3],[156,4,158,5],[156,6,158,6],[156,7,158,7],[156,8,156,10],[157,8,158,9],[157,10,158,10],[159,1,159,2],[159,4,159,5],[159,8,159,9],[160,1,160,2],[160,4,160,5],[160,8,160,9],[161,1,161,2],[161,4,161,5],[161,8,161,9],[162,1,162,2],[162,4,162,5],[162,8,162,9],[163,1,163,2],[163,4,163,5],[163,8,163,9],[164,1,164,2],[164,4,164,5],[164,8,164,9],[165,1,165,2],[165,4,165,5],[165,8,165,9],[166,1,166,2],[166,4,166,5],[166,8,166,9],[167,1,167,2],[167,4,167,5],[167,8,167,9],[168,1,168,2],[168,4,168,5],[168,8,168,9],[169,1,169,2],[169,4,169,5],[169,8,169,9],[170,1,170,2],[170,4,170,5],[170,8,170,9],[171,0,171,9],[172,0,172,10],[173,0,173,1],[173,2,173,4],[173,6,173,8],[173,9,173,10],[174,0,176,0],[174,1,176,2],[174,3,176,3],[174,4,176,5],[174,6,176,6],[174,7,176,7],[174,8,174,10],[175,8,176,9],[175,10,176,10],[177,1,177,2],[177,4,177,5],[177,8,177,9],[178,1,178,2],[178,4,178,5],[178,8,178,9],[179,1,179,2],[179,4,179,5],[179,8,179,9],[180,1,180,2],[180,4,180,5],[180,8,180,9],[181,1,181,2],[181,4,181,5],[181,8,181,9],[182,0,182,9],[183,0,183,10],[184,0,184,1],[184,2,184,4],[184,6,184,8],[184,9,184,10],[185,0,187,0],[185,1,187,2],[185,3,187,3],[185,4,187,5],[185,6,187,6],[185,7,187,7],[185,8,185,10],[186,8,187,9],[186,10,187,10],[188,1,188,2],[188,4,188,5],[188,8,188,9],[189,1,189,2],[189,4,189,5],[189,8,189,9],[190,1,190,2],[190,4,190,5],[190,8,190,9],[191,1,191,2],[191,4,191,5],[191,8,191,9],[192,1,192,2],[192,4,192,5],[192,8,192,9],[193,0,193,9],[194,0,194,10],[195,0,195,1],[195,2,195,4],[195,6,195,8],[195,9,195,10],[196,0,198,0],[196,1,198,2],[196,3,198,3],[196,4,198,5],[196,6,198,6],[196,7,198,7],[196,8,196,10],[197,8,198,9],[197,10,198,10],[199,1,199,2],[199,4,199,5],[199,8,199,9],[200,1,200,2],[200,4,200,5],[200,8,200,9],[201,1,201,2],[201,4,201,5],[201,8,201,9],[202,1,202,2],[202,4,202,5],[202,8,202,9],[203,0,203,9],[204,0,204,9]]}
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第1页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"给水管部分","",null,"","","",null,""]
["1","040101002001",null,"挖沟槽土方","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土",null,"m3","277.051","",null,""]
["2","040103001001",null,"沟槽、基坑回填土方","1.回填土 夯实机夯实 槽、坑",null,"m3","119.303","",null,""]
["3","040103001002",null,"沟槽、基坑回填石屑","1.回填石屑",null,"m3","132.768","",null,""]
["4","040103003001",null,"余方弃置","1.装载机装土\n2.自卸汽车运土方 运距自行考虑",null,"m3","119.303","",null,""]
["5","040501004002",null,"球墨铸铁管 DN200","1.非定型渠(管)道垫层 砂\n2.球墨铸铁管安装(胶圈接口)(T型接口) 公称直径200mm以内\n3.橡胶圈 DN200\n4.球墨铸铁给水管 DN200\n5.管道消毒冲洗 公称直径200mm以内",null,"m","123.000","",null,""]
["6","040501004001",null,"球墨铸铁管 DN150","1.非定型渠(管)道垫层 砂\n2.球墨铸铁管安装(胶圈接口)(T型接口) 公称直径150mm以内\n3.橡胶圈 DN150\n4.球墨铸铁给水管 DN150\n5.管道消毒冲洗 公称直径200mm以内",null,"m","2.500","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第2页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["7","040502001001",null,"盘插短管 DN200","1.铸铁管件安装(胶圈接口)T型接口 公称直径200mm以内\n2.橡胶圈 DN200\n3.盘插短管 DN200",null,"个","2.000","",null,""]
["8","040502001002",null,"盘承短管 DN200","1.铸铁管件安装(胶圈接口)T型接口 公称直径200mm以内\n2.橡胶圈 DN200\n3.盘承短管 DN200",null,"个","2.000","",null,""]
["9","040502001003",null,"双盘短管 DN80","1.铸铁管件安装(胶圈接口)T型接口 公称直径150mm以内\n2.橡胶圈 DN80\n3.双盘短管 DN80",null,"个","1.000","",null,""]
["10","040502006001",null,"法兰盘 DN80","1.平焊法兰 公称直径150mm以内\n2.钢板平焊法兰 DN200",null,"副","1.000","",null,""]
["11","040502007001",null,"盲堵板 DN80","1.盲堵板安装 公称直径100mm以内\n2.盲堵板 DN80",null,"个","3.000","",null,""]
["12","040502010001",null,"地上式消防栓 SS150/65-1.6","1.消防水泵接合器安装 地上式 公称直径(mm以内) 150\n2.钢板平焊法兰 DN150\n3.地上式消防栓 SS150/65-1.6",null,"套","1.000","",null,""]
["13","040502001004",null,"消防三通 DN200*150","1.铸铁管件安装(胶圈接口)T型接口 公称直径200mm以内\n2.橡胶圈 DN200\n3.消防三通(铸铁） DN200*150",null,"个","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第3页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["14","040504001001",null,"水平三通支墩 DN250*150","1.管道支墩(挡墩) 无筋每处(m3以内) 1",null,"座","1.000","",null,""]
["15","040502001005",null,"90°弯头  DN200","1.铸铁管件安装(胶圈接口)T型接口 公称直径200mm以内\n2.橡胶圈 DN200\n3.90°弯头（铸铁） DN200",null,"个","1.000","",null,""]
["16","040502001006",null,"45°弯头 DN200","1.铸铁管件安装(胶圈接口)T型接口 公称直径200mm以内\n2.橡胶圈 DN200\n3.45°弯头（铸铁） DN200",null,"个","2.000","",null,""]
["17","040504001002",null,"弯头支墩 DN200","1.管道支墩(挡墩) 无筋每处(m3以内) 1",null,"座","1.000","",null,""]
["18","041001006001",null,"拆除消防栓","1.水灭火系统拆除 消防水泵接合器拆除 消防水泵接合器 地上式",null,"座","1.000","",null,""]
["19","041001006002",null,"拆除铸铁管 DN80","1.拆除金属管道 机械拆除管径在(mm)以内 Φ300",null,"m","24.500","",null,""]
["20","041001006003",null,"拆除铸铁管 DN150","1.拆除金属管道 机械拆除管径在(mm)以内 Φ300",null,"m","12.500","",null,""]
["","",null,"排水管部分","",null,"","","",null,""]
["","",null,"雨水管部分","",null,"","","",null,""]
["21","040101002002",null,"挖沟槽土方","1.人工挖沟槽土方 一、二类土 深度在2m内\n2.挖掘机挖沟槽、基坑土方 一、二类土",null,"m3","2282.464","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第4页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["22","040103001003",null,"沟槽、基坑回填土方","1.回填土 夯实机夯实 槽、坑",null,"m3","1110.524","",null,""]
["23","040103001004",null,"沟槽、基坑回填石屑","1.回填石屑",null,"m3","946.921","",null,""]
["24","040103003002",null,"余方弃置","1.自卸汽车运土方 运距自行考虑\n2.装载机装土",null,"m3","1171.940","",null,""]
["25","040501001001",null,"II级钢筋混凝土管 DN800","1.钢筋混凝土管120°混凝土基础 管径1500mm以内\n2.非定型渠(管)道垫层 碎石 干铺\n3.承插口、企口 管径(mm以内) 800mm以内\n4.橡胶圈 DN800\n5.承插式(φ150-3000) 人机配合下管管径(mm以内) 800mm以内\n6.II级钢筋混凝土管 DN800",null,"m","95.000","",null,""]
["26","040501001002",null,"II级钢筋混凝土管 DN1000","1.钢筋混凝土管120°混凝土基础 管径1500mm以内\n2.非定型渠(管)道垫层 碎石 干铺\n3.承插口、企口 管径(mm以内) 1000mm以内\n4.橡胶圈 DN1000\n5.承插式(φ150-3000) 人机配合下管管径(mm以内) 1000mm以内\n6.II级钢筋混凝土管 DN1000",null,"m","50.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第5页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["27","040501001003",null,"II级钢筋混凝土管 DN1200","1.钢筋混凝土管120°混凝土基础 管径1500mm以内\n2.非定型渠(管)道垫层 碎石 干铺\n3.承插口、企口 管径(mm以内) 1200mm以内\n4.橡胶圈 DN1200\n5.承插式(φ150-3000) 人机配合下管管径(mm以内) 1200mm以内\n6.钢筋混凝土管 DN1200",null,"m","111.700","",null,""]
["28","040501004003",null,"球墨铸铁排水管 DN400","1.非定型渠(管)道垫层 砂\n2.球墨铸铁管安装(胶圈接口)(T型接口) 公称直径400mm以内\n3.橡胶圈 DN400\n4.球墨铸铁排水管 DN400",null,"m","58.500","",null,""]
["29","040501004004",null,"球墨铸铁排水管 DN300","1.非定型渠(管)道垫层 砂\n2.球墨铸铁管安装(胶圈接口)(T型接口) 公称直径300mm以内\n3.橡胶圈 DN300\n4.球墨铸铁排水管 DN300",null,"m","67.000","",null,""]
["30","040504010001",null,"预制式混凝土装配式双篦雨水口","1.非定型井垫层 混凝土\n2.预制装配式联合式雨水口 双箅 井深",null,"座","8.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第6页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","(m) 1\n3.煤焦油沥清漆 L01-17\n4.预制钢筋混凝雨水口\n5.球墨铸铁井箅 680*380\n6.截污挂篮 680*380",null,"","","",null,""]
["31","040504010002",null,"预制式混凝土装配式双篦雨水口","1.非定型井垫层 混凝土\n2.预制装配式立式、平式雨水口 双箅 井深(m) 1\n3.煤焦油沥清漆 L01-17\n4.预制钢筋混凝土雨水口\n5.球墨铸铁井箅 680*380\n6.截污挂篮 680*380",null,"座","3.000","",null,""]
["32","040504002001",null,"矩形混凝土雨水检查井 2100*2100","1.非定型井垫层 混凝土\n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n3.现浇钢筋混凝土池 池壁(隔墙) 直、矩形(厚度) 20cm以内\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm\n5.检查井筒砌筑(φ700) 筒高1.46m\n6.球墨铸铁井圈、井盖 φ800\n7.预制 矩形盖板(板厚cm) 20以内",null,"座","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第7页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","8.安装 井室盖板 矩形盖板(每块体积m3) 0.7以内\n9.预制混凝土盖板\n10.非定型井砌筑 井底流槽 现浇混凝土\n11.构筑物及池类 平池底木模\n12.混凝土垫块\n13.构筑物及池类 矩形池壁 木模\n14.构筑物及池类 无梁池盖 木模",null,"","","",null,""]
["33","040504002002",null,"矩形混凝土雨水检查井 1700*1100","1.非定型井垫层 混凝土\n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n3.现浇钢筋混凝土池 池壁(隔墙) 直、矩形(厚度) 20cm以内\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm\n5.检查井筒砌筑(φ700) 筒高1.61m\n6.球墨铸铁井圈、井盖 φ800\n7.预制 矩形盖板(板厚cm) 20以内\n8.安装 井室盖板 矩形盖板(每块体积m3) 0.7以内\n9.预制混凝土盖板\n10.非定型井砌筑 井底流槽 现浇混凝土\n11.构筑物及池类 平池底木模",null,"座","3.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第8页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","12.混凝土垫块\n13.构筑物及池类 矩形池壁 木模\n14.构筑物及池类 无梁池盖 木模",null,"","","",null,""]
["34","040504002004",null,"现浇混凝雨水井 φ1250","1.非定型井垫层 混凝土\n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n3.现浇钢筋混凝土池 池壁(隔墙) 圆、弧形(厚度) 20cm以内\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm\n5.检查井筒砌筑(φ700) 筒高1.29m\n6.球磨铸铁井圈、井盖（含防坠网） φ800\n7.预制 矩形盖板(板厚cm) 20以内\n8.安装 井室盖板 矩形盖板(每块体积m3) 0.3以内\n9.预制混凝土盖板\n10.非定型井砌筑 井底流槽 现浇混凝土\n11.构筑物及池类 平池底木模\n12.混凝土垫块\n13.构筑物及池类 圆形池壁 木模\n14.构筑物及池类 无梁池盖 木模",null,"座","4.000","",null,""]
[]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第9页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["35","040504002012",null,"现浇混凝雨水井 φ1500","1.非定型井垫层 混凝土\n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n3.现浇钢筋混凝土池 池壁(隔墙) 圆、弧形(厚度) 20cm以内\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm\n5.检查井筒砌筑(φ700) 筒高1.29m\n6.球磨铸铁井圈、井盖（含防坠网） φ800\n7.预制 矩形盖板(板厚cm) 20以内\n8.安装 井室盖板 矩形盖板(每块体积m3) 0.3以内\n9.预制混凝土盖板\n10.非定型井砌筑 井底流槽 现浇混凝土\n11.构筑物及池类 平池底木模\n12.混凝土垫块\n13.构筑物及池类 圆形池壁 木模\n14.构筑物及池类 无梁池盖 木模",null,"座","1.000","",null,""]
[]
["36","040504002005",null,"现浇混凝雨水井 φ1000","1.非定型井垫层 混凝土\n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n3.现浇钢筋混凝土池 池壁(隔墙) 圆、弧",null,"座","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第10页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","形(厚度) 20cm以内\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm\n5.非定型井 井盖、井箅安装 检查井 铸铁井盖、座\n6.球磨铸铁井盖、井圈(含房防坠网） φ800\n7.预制 矩形盖板(板厚cm) 20以内\n8.安装 井室盖板 矩形盖板(每块体积m3) 0.3以内\n9.预制混凝土盖板\n10.构筑物及池类 平池底木模\n11.混凝土垫块\n12.构筑物及池类 圆形池壁 木模\n13.构筑物及池类 无梁池盖 木模\n14.非定型井砌筑 井底流槽 现浇混凝土",null,"","","",null,""]
["37","010401010001",null,"新建散水沟 300深","1.砌砖地沟\n2.底层抹灰20mm 各种墙面 外墙\n3.混凝土垫层\n4.明沟铸铁盖板安装 32cm宽",null,"m","88.000","",null,""]
["38","040504002007",null,"矩形混凝土雨水检测井 2100*1800","1.非定型井垫层 混凝土\n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n3.现浇钢筋混凝土池 池壁(隔墙) 直、矩",null,"座","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第11页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","形(厚度) 20cm以内\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm\n5.检查井筒砌筑(φ700) 筒高1.1m\n6.球磨铸铁井圈、井盖（含防坠网） φ800\n7.预制 矩形盖板(板厚cm) 20以内\n8.安装 井室盖板 矩形盖板(每块体积m3) 0.7以内\n9.预制混凝土盖板\n10.不锈钢格栅\n11.不锈钢格栅 2100*1900\n12.构筑物及池类 平池底木模\n13.混凝土垫块\n14.构筑物及池类 矩形池壁 木模\n15.构筑物及池类 无梁池盖 木模",null,"","","",null,""]
["39","040504002011",null,"顶拉管工作井 φ2250","1.非定型井垫层 混凝土\n2.人工挖孔桩挖土 桩外径200cm以内 孔深(15m以内)\n3.人工挖孔桩护壁 桩外径200cm以内 孔深(15m以内)\n4.含量：桩芯混凝土\n5.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n6.现浇钢筋混凝土池",null,"座","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第12页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","池壁(隔墙) 圆、弧形(厚度) 20cm以内\n7.钢筋制作、安装 带肋钢筋 Φ10～25mm\n8.箍筋制作、安装 圆钢 Φ10mm以内\n9.现浇混凝土池 肋形盖\n10.构筑物及池类 圆形池壁 木模\n11.构筑物及池类 肋形池盖 木模\n12.非定型井 井盖、井箅安装 检查井 铸铁井盖、座\n13.球磨铸铁井盖、井圈(含房防坠网） φ800",null,"","","",null,""]
["40","040203007001",null,"混凝土路面 24cm","1.水泥混凝土路面 厚度 24cm\n2.水泥混凝土路面养生 水养生",null,"m2","240.500","",null,""]
["41","041001001001",null,"拆除路面","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚30cm\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m2","406.500","",null,""]
["42","041001003001",null,"拆除基层","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚15cm\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m2","406.500","",null,""]
["43","041001001002",null,"路面切缝","1.旧路面机械切缝 水泥混凝土路面 5cm",null,"m","384.500","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第13页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","厚",null,"","","",null,""]
["","",null,"污水管部分","",null,"","","",null,""]
["44","040501004005",null,"球墨铸铁排水管 DN400","1.非定型渠(管)道垫层 砂\n2.球墨铸铁管安装(胶圈接口)(T型接口) 公称直径400mm以内\n3.橡胶圈 DN400\n4.球墨铸铁排水管 DN400",null,"m","94.000","",null,""]
["45","040504002008",null,"现浇混凝污水井 φ1000","1.非定型井垫层 混凝土\n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n3.现浇钢筋混凝土池 池壁(隔墙) 圆、弧形(厚度) 20cm以内\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm\n5.非定型井 井盖、井箅安装 检查井 铸铁井盖、座\n6.球磨铸铁井盖、井圈(含房防坠网） φ800\n7.预制 矩形盖板(板厚cm) 20以内\n8.安装 井室盖板 矩形盖板(每块体积m3) 0.3以内\n9.预制混凝土盖板\n10.非定型井砌筑 井底流槽 现浇混凝土\n11.构筑物及池类 无",null,"座","4.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第14页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","梁池盖 木模\n12.构筑物及池类 圆形池壁 木模\n13.构筑物及池类 平池底木模\n14.混凝土垫块",null,"","","",null,""]
["46","040501009001",null,"水平定向钻进管道","1.钻导向孔 DN≤600mm\n2.扩孔 DN500mm以内\n3.回拖布管 DN500mm以内\n4.聚乙烯缠绕实壁排水管 DN400 SN12.5",null,"m","20.200","",null,""]
["47","040504002009",null,"矩形混凝土污水检测井 1100*1500","1.非定型井垫层 混凝土\n2.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n3.现浇钢筋混凝土池 池壁(隔墙) 直、矩形(厚度) 20cm以内\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm\n5.检查井筒砌筑(φ700) 筒高0.345m\n6.球磨铸铁井盖、井圈(含房防坠网） φ800\n7.预制 矩形盖板(板厚cm) 20以内\n8.安装 井室盖板 矩形盖板(每块体积m3) 0.7以内\n9.预制混凝土盖板\n10.钢筋制作、安装 带肋钢筋 Φ10～",null,"座","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第15页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","25mm\n11.不锈钢格栅\n12.不锈钢格栅 2100*1800\n13.构筑物及池类 无梁池盖 木模\n14.构筑物及池类 矩形池壁 木模\n15.构筑物及池类 平池底木模\n16.混凝土垫块",null,"","","",null,""]
["48","040504002010",null,"顶拉管工作井 φ1500","1.非定型井垫层 混凝土\n2.人工挖孔桩挖土 桩外径200cm以内 孔深(15m以内)\n3.人工挖孔桩护壁 桩外径200cm以内 孔深(15m以内)\n4.含量：桩芯混凝土\n5.现浇钢筋混凝土池 半地下室池底 平池底(厚度) 50cm以内\n6.钢筋制作、安装 带肋钢筋 Φ10～25mm\n7.箍筋制作、安装 圆钢 Φ10mm以内\n8.现浇钢筋混凝土池 池壁(隔墙) 圆、弧形(厚度) 20cm以内\n9.现浇混凝土池 肋形盖\n10.构筑物及池类 圆形池壁 木模\n11.构筑物及池类 肋形池盖 木模\n12.非定型井 井盖、",null,"座","2.000","",null,""]
[]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第16页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","井箅安装 检查井 铸铁井盖、座\n13.球磨铸铁井盖、井圈(含房防坠网） φ800",null,"","","",null,""]
["","",null,"其他部分","`",null,"","","",null,""]
["49","041001006004",null,"拆除塑料管 DN200","1.拆除塑料管道 管径(mm以内) Φ300",null,"m","26.000","",null,""]
["50","041001006005",null,"拆除塑料管 DN300","1.拆除塑料管道 管径(mm以内) Φ300",null,"m","30.500","",null,""]
["51","041001006006",null,"拆除混凝土管 DN400","1.拆除混凝土管道 管径在(mm)以内 Φ450",null,"m","4.000","",null,""]
["52","041001006007",null,"拆除混凝土管 DN1200","1.拆除混凝土管道 管径在(mm)以内 Φ1500",null,"m","11.000","",null,""]
["53","041001007001",null,"拆除砖砌边沟 350*300","1.拆除砖砌其它构筑物",null,"m","24.500","",null,""]
["54","010401010002",null,"恢复砖砌边沟350*250","1.砌砖地沟\n2.底层抹灰20mm 各种墙面 外墙\n3.混凝土垫层\n4.明沟铸铁盖板安装 32cm宽",null,"m","4.000","",null,""]
["55","041001009001",null,"拆除现状井 φ700","1.机械拆除混凝土构筑物 有筋",null,"座","1.000","",null,""]
["56","041001009002",null,"拆除现状井 φ1000","1.机械拆除混凝土构筑物 有筋",null,"座","3.000","",null,""]
["57","041001009003",null,"拆除雨水口","1.机械拆除混凝土构筑物 无筋",null,"座","1.000","",null,""]
["58","040504010003",null,"恢复雨水口","1.非定型井垫层 混凝土\n2.预制装配式立式、平式雨水口 双箅 井",null,"座","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第17页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","深(m) 1\n3.煤焦油沥清漆 L01-17\n4.预制钢筋混凝土雨水口\n5.球墨铸铁井箅 680*380\n6.截污挂篮 680*380",null,"","","",null,""]
["59","041001009004",null,"现状检查井井筒提升","1.拆除砖砌其它构筑物\n2.检查井筒砌筑(φ700) 筒高0.8m\n3.球磨铸铁井盖（利旧） φ800",null,"座","3.000","",null,""]
["60","041001009005",null,"现状雨水口提升","1.拆除砖砌其它构筑物\n2.非定型井砌筑 砖砌 矩形\n3.非定型井 砖墙 抹灰 井内侧\n4.非定型井 井盖、井箅安装 雨水井 铸铁平篦\n5.球墨铸铁井盖 680*380",null,"座","1.000","",null,""]
["61","040403006001",null,"封堵现状管 DN200","1.砖砌体 挡墙\n2.沉井制作 沉井井壁、隔墙\n3.钢筋植筋增加费 直径14mm\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"处","5.000","",null,""]
["62","040403006002",null,"封堵现状管 DN300","1.砖砌体 挡墙\n2.沉井制作 沉井井壁、隔墙\n3.钢筋植筋增加费",null,"处","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第18页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","直径14mm\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"","","",null,""]
["63","040403006003",null,"封堵现状管 DN400","1.砖砌体 挡墙\n2.沉井制作 沉井井壁、隔墙\n3.钢筋植筋增加费 直径14mm\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"处","1.000","",null,""]
["64","040403006004",null,"封堵现状管 DN500","1.砖砌体 挡墙\n2.沉井制作 沉井井壁、隔墙\n3.钢筋植筋增加费 直径14mm\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"处","1.000","",null,""]
["65","040403006005",null,"封堵现状管 DN800","1.砖砌体 挡墙\n2.沉井制作 沉井井壁、隔墙\n3.钢筋植筋增加费 直径14mm\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"处","2.000","",null,""]
["66","040403006006",null,"封堵现状管 DN1200","1.砖砌体 挡墙\n2.沉井制作 沉井井壁、隔墙\n3.钢筋植筋增加费 直径14mm\n4.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"处","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"给排水工程",null,null,"标段:","",null,null,"第19页, 共19页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["67","040103001005",null,"埋填现状检查井","1.竖井回填 土",null,"座","8.000","",null,""]
["68","040101004001",null,"木板支护","1.支密板挡土板 双面",null,"m2","206.405","",null,""]
["69","040302010001",null,"槽钢支护 6m","1.打拔槽型钢板桩 打桩\n2.打拔槽型钢板桩 拔桩",null,"t","24.750","",null,""]
["70","040302010002",null,"拉森钢板桩支护 9m","1.陆上打拉森钢板桩 9m内\n2.拔拉森钢板桩\n3.钢板桩支撑安、拆 宽度4m内",null,"t","529.200","",null,""]
["本页小计",{"$nulls":9},""]
["合    计",{"$nulls":9},""]

{"sheet":"措施项目清单计价表","index":2,"n_rows":49,"n_cols":11,"rows_kept":49,"merged":[[0,0,0,10],[1,0,1,2],[1,3,1,5],[1,7,1,8],[1,9,1,10],[2,1,2,3],[2,5,2,7],[2,8,2,9],[3,1,3,3],[3,5,3,7],[3,8,3,9],[4,1,4,3],[4,5,4,7],[4,8,4,9],[5,1,5,3],[5,5,5,7],[5,8,5,9],[6,1,6,3],[6,5,6,7],[6,8,6,9],[7,1,7,3],[7,5,7,7],[7,8,7,9],[8,1,8,3],[8,5,8,7],[8,8,8,9],[9,1,9,3],[9,5,9,7],[9,8,9,9],[10,1,10,3],[10,5,10,7],[10,8,10,9],[11,1,11,3],[11,5,11,7],[11,8,11,9],[12,1,12,3],[12,5,12,7],[12,8,12,9],[13,1,13,3],[13,5,13,7],[13,8,13,9],[14,1,14,3],[14,5,14,7],[14,8,14,9],[15,1,15,3],[15,5,15,7],[15,8,15,9],[16,1,16,3],[16,5,16,7],[16,8,16,9],[17,1,17,3],[17,5,17,7],[17,8,17,9],[18,1,18,3],[18,5,18,7],[18,8,18,9],[19,1,19,3],[19,5,19,7],[19,8,19,9],[20,0,20,7],[20,8,20,9],[21,0,21,1],[21,2,21,10],[22,0,22,10],[23,0,23,2],[23,3,23,5],[23,7,23,8],[23,9,23,10],[24,1,24,3],[24,5,24,7],[24,8,24,9],[25,1,25,3],[25,5,25,7],[25,8,25,9],[26,1,26,3],[26,5,26,7],[26,8,26,9],[27,1,27,3],[27,5,27,7],[27,8,27,9],[28,1,28,3],[28,5,28,7],[28,8,28,9],[29,1,29,3],[29,5,29,7],[29,8,29,9],[30,1,30,3],[30,5,30,7],[30,8,30,9],[31,1,31,3],[31,5,31,7],[31,8,31,9],[32,1,32,3],[32,5,32,7],[32,8,32,9],[33,1,33,3],[33,5,33,7],[33,8,33,9],[34,1,34,3],[34,5,34,7],[34,8,34,9],[35,1,35,3],[35,5,35,7],[35,8,35,9],[36,1,36,3],[36,5,36,7],[36,8,36,9],[37,1,37,3],[37,5,37,7],[37,8,37,9],[38,1,38,3],[38,5,38,7],[38,8,38,9],[39,0,39,7],[39,8,39,9],[40,0,40,1],[40,2,40,10],[41,0,41,10],[42,0,42,2],[42,3,42,5],[42,7,42,8],[42,9,42,10],[43,1,43,3],[43,5,43,7],[43,8,43,9],[44,1,44,3],[44,5,44,7],[44,8,44,9],[45,1,45,3],[45,5,45,7],[45,8,45,9],[46,0,46,7],[46,8,46,9],[47,0,47,7],[47,8,47,9],[48,0,48,1],[48,2,48,10]]}
["措施项目清单计价表"]
["工程名称:",null,null,"给排水工程",null,null,"标段:","",null,"第1页, 共3页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["1","041201001001",null,null,"脚手架","",null,null,"",null,""]
["2","041201002001",null,null,"水上桩基础支架、平台","",null,null,"",null,""]
["3","041201003001",null,null,"桥涵支架","",null,null,"",null,""]
["4","041201004001",null,null,"施工排水","",null,null,"",null,""]
["5","041201005001",null,null,"施工降水","",null,null,"",null,""]
["6","041201006001",null,null,"围堰","",null,null,"",null,""]
["7","041201007001",null,null,"筑岛","",null,null,"",null,""]
["8","041201008001",null,null,"便道","",null,null,"",null,""]
["9","041201009001",null,null,"便桥","",null,null,"",null,""]
["10","041201010001",null,null,"洞内施工通风、供水、供电照明、通信设施","",null,null,"",null,""]
["11","041201011001",null,null,"洞内外轨道铺设","",null,null,"",null,""]
["12","041201012001",null,null,"大型机械设备进出场及安拆","",null,null,"",null,""]
["13","041201013001",null,null,"立交箱涵顶进被交线路加固及防护","",null,null,"",null,""]
["14","041201014001",null,null,"地下管线交叉处理","",null,null,"",null,""]
["15","041201015001",null,null,"施工监测、监控","",null,null,"",null,""]
["16","041201016001",null,null,"临时设施","",null,null,"",null,"单独场地平整工程费率按1.13%计算，道路、管网工程费率按4.29%计算，桥涵、隧道、水处理构筑物工程费率按3.77%计算"]
["17","041201017001",null,null,"文明施工","",null,null,"",null,"单独场地平整工程费率按0.96%计算，道路、管网工程费率按3.63%计算，桥涵、隧道、水处理构筑物工程"]
["本页合计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]
["措施项目清单计价表"]
["工程名称:",null,null,"给排水工程",null,null,"标段:","",null,"第2页, 共3页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["","",null,null,"","",null,null,"",null,"费率按3.19%计算"]
["18","041201018001",null,null,"环境保护","",null,null,"",null,"单独场地平整工程费率按0.87%计算，道路、管网工程费率按3.3%计算，桥涵、隧道、水处理构筑物工程费率按2.9%计算"]
["19","041201019001",null,null,"安全生产","",null,null,"",null,"单独场地平整工程费率按1.83%计算，道路、管网工程费率按6.93%计算，桥涵、隧道、水处理构筑物工程费率按6.09%计算"]
["20","041201020001",null,null,"冬雨季施工增加","",null,null,"",null,""]
["21","041201021001",null,null,"夜间施工措施费","",null,null,"",null,""]
["22","041201022001",null,null,"特殊地区施工增加","",null,null,"",null,""]
["23","041201023001",null,null,"二次搬运","",null,null,"",null,""]
["24","041201024001",null,null,"已完工程及设备保护","",null,null,"",null,""]
["25","041201025001",null,null,"既有建(构)筑物、设施保护","",null,null,"",null,""]
["26","041106001001001",null,null,"大型机械设备安拆费","",null,null,"",null,""]
["27","BC001001",null,null,"文明工地措施费","",null,null,"",null,"省级文明工地按1.20%计算；市级文明工地按0.60%计算"]
["28","BC002001",null,null,"赶工措施费","",null,null,"",null,""]
["29","BF006001",null,null,"独立安全防护挡板","",null,null,"",null,""]
["30","BC006001",null,null,"施工现场围挡和临时占地围挡","",null,null,"",null,""]
["本页合计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]
["措施项目清单计价表"]
["工程名称:",null,null,"给排水工程",null,null,"标段:","",null,"第3页, 共3页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["31","BC007001",null,null,"施工围档照明","",null,null,"",null,""]
["32","BC014001",null,null,"吊装设备基础","",null,null,"",null,""]
["本页合计",{"$nulls":7},"",null,"-"]
["合    计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]

{"sheet":"计日工表","index":3,"n_rows":13,"n_cols":11,"rows_kept":13,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,5],[1,6,1,8],[1,9,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,9],[2,10,3,10],[5,1,5,2],[5,5,5,6],[6,0,6,7],[7,1,7,2],[7,5,7,6],[8,0,8,7],[9,1,9,2],[9,5,9,6],[10,0,10,7],[11,0,11,7],[12,1,12,10]]}
["计日工表"]
["工程名称:",null,"给排水工程",{"$nulls":3},"标段：",null,null,"第1页, 共1页"]
["编号","计日工名称",null,"单位","暂定数量","实际数量",null,"综合单价 (元)","合价",null,"调整金额±(元)"]
[{"$nulls":8},"暂定","实际"]
[{"$nulls":8},"A₁","A₂","B=A₂-A₁"]
["一","人工",null,"","","",null,"","","",""]
["人工小计",{"$nulls":7},"","",""]
["二","材料",null,"","","",null,"","","",""]
["材料小计",{"$nulls":7},"","",""]
["三","施工机具",null,"","","",null,"","","",""]
["施工机具小计",{"$nulls":7},"","",""]
["总    计",{"$nulls":7},"","",""]
["注：","1  本表计日工名称、暂定数量应由招标人填写。编制最高投标限价时，单价应由招标人按有关计价规\n   定确定；编制投标报价时，单价应由投标人自主报价，并按暂定数量计算合价计入投标总价中。\n2  工程结算时，应按发承包双方确认的实际数量计量合价。发承包双方确认的实际数量详见本标准表\n   E.8.2。"]

{"sheet":"主要材料设备价格表(合价)(格式一)","index":4,"n_rows":157,"n_cols":10,"rows_kept":157,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,6],[1,7,1,9],[2,1,2,2],[2,6,2,7],[3,1,3,2],[3,6,3,7],[4,1,4,2],[4,6,4,7],[5,1,5,2],[5,6,5,7],[6,1,6,2],[6,6,6,7],[7,1,7,2],[7,6,7,7],[8,1,8,2],[8,6,8,7],[9,1,9,2],[9,6,9,7],[10,1,10,2],[10,6,10,7],[11,1,11,2],[11,6,11,7],[12,1,12,2],[12,6,12,7],[13,1,13,2],[13,6,13,7],[14,1,14,2],[14,6,14,7],[15,1,15,2],[15,6,15,7],[16,1,16,2],[16,6,16,7],[17,1,17,2],[17,6,17,7],[18,1,18,2],[18,6,18,7],[19,1,19,2],[19,6,19,7],[20,1,20,2],[20,6,20,7],[21,1,21,2],[21,6,21,7],[22,1,22,2],[22,6,22,7],[23,1,23,2],[23,6,23,7],[24,1,24,2],[24,6,24,7],[25,0,25,9],[26,0,26,1],[26,2,26,6],[26,7,26,9],[27,1,27,2],[27,6,27,7],[28,1,28,2],[28,6,28,7],[29,1,29,2],[29,6,29,7],[30,1,30,2],[30,6,30,7],[31,1,31,2],[31,6,31,7],[32,1,32,2],[32,6,32,7],[33,1,33,2],[33,6,33,7],[34,1,34,2],[34,6,34,7],[35,1,35,2],[35,6,35,7],[36,1,36,2],[36,6,36,7],[37,1,37,2],[37,6,37,7],[38,1,38,2],[38,6,38,7],[39,1,39,2],[39,6,39,7],[40,1,40,2],[40,6,40,7],[41,1,41,2],[41,6,41,7],[42,1,42,2],[42,6,42,7],[43,1,43,2],[43,6,43,7],[44,1,44,2],[44,6,44,7],[45,1,45,2],[45,6,45,7],[46,1,46,2],[46,6,46,7],[47,1,47,2],[47,6,47,7],[48,1,48,2],[48,6,48,7],[49,1,49,2],[49,6,49,7],[50,1,50,2],[50,6,50,7],[51,1,51,2],[51,6,51,7],[52,1,52,2],[52,6,52,7],[53,1,53,2],[53,6,53,7],[54,0,54,9],[55,0,55,1],[55,2,55,6],[55,7,55,9],[56,1,56,2],[56,6,56,7],[57,1,57,2],[57,6,57,7],[58,1,58,2],[58,6,58,7],[59,1,59,2],[59,6,59,7],[60,1,60,2],[60,6,60,7],[61,1,61,2],[61,6,61,7],[62,1,62,2],[62,6,62,7],[63,1,63,2],[63,6,63,7],[64,1,64,2],[64,6,64,7],[65,1,65,2],[65,6,65,7],[66,1,66,2],[66,6,66,7],[67,1,67,2],[67,6,67,7],[68,1,68,2],[68,6,68,7],[69,1,69,2],[69,6,69,7],[70,1,70,2],[70,6,70,7],[71,1,71,2],[71,6,71,7],[72,1,72,2],[72,6,72,7],[73,1,73,2],[73,6,73,7],[74,1,74,2],[74,6,74,7],[75,1,75,2],[75,6,75,7],[76,1,76,2],[76,6,76,7],[77,1,77,2],[77,6,77,7],[78,1,78,2],[78,6,78,7],[79,1,79,2],[79,6,79,7],[80,1,80,2],[80,6,80,7],[81,1,81,2],[81,6,81,7],[82,1,82,2],[82,6,82,7],[83,0,83,9],[84,0,84,1],[84,2,84,6],[84,7,84,9],[85,1,85,2],[85,6,85,7],[86,1,86,2],[86,6,86,7],[87,1,87,2],[87,6,87,7],[88,1,88,2],[88,6,88,7],[89,1,89,2],[89,6,89,7],[90,1,90,2],[90,6,90,7],[91,1,91,2],[91,6,91,7],[92,1,92,2],[92,6,92,7],[93,1,93,2],[93,6,93,7],[94,1,94,2],[94,6,94,7],[95,1,95,2],[95,6,95,7],[96,1,96,2],[96,6,96,7],[97,1,97,2],[97,6,97,7],[98,1,98,2],[98,6,98,7],[99,1,99,2],[99,6,99,7],[100,1,100,2],[100,6,100,7],[101,1,101,2],[101,6,101,7],[102,1,102,2],[102,6,102,7],[103,1,103,2],[103,6,103,7],[104,1,104,2],[104,6,104,7],[105,0,105,9],[106,0,106,1],[106,2,106,6],[106,7,106,9],[107,1,107,2],[107,6,107,7],[108,1,108,2],[108,6,108,7],[109,1,109,2],[109,6,109,7],[110,1,110,2],[110,6,110,7],[111,1,111,2],[111,6,111,7],[112,1,112,2],[112,6,112,7],[113,1,113,2],[113,6,113,7],[114,1,114,2],[114,6,114,7],[115,1,115,2],[115,6,115,7],[116,1,116,2],[116,6,116,7],[117,1,117,2],[117,6,117,7],[118,1,118,2],[118,6,118,7],[119,1,119,2],[119,6,119,7],[120,1,120,2],[120,6,120,7],[121,1,121,2],[121,6,121,7],[122,1,122,2],[122,6,122,7],[123,1,123,2],[123,6,123,7],[124,1,124,2],[124,6,124,7],[125,1,125,2],[125,6,125,7],[126,1,126,2],[126,6,126,7],[127,1,127,2],[127,6,127,7],[128,1,128,2],[128,6,128,7],[129,1,129,2],[129,6,129,7],[130,1,130,2],[130,6,130,7],[131,0,131,9],[132,0,132,1],[132,2,132,6],[132,7,132,9],[133,1,133,2],[133,6,133,7],[134,1,134,2],[134,6,134,7],[135,1,135,2],[135,6,135,7],[136,1,136,2],[136,6,136,7],[137,1,137,2],[137,6,137,7],[138,1,138,2],[138,6,138,7],[139,1,139,2],[139,6,139,7],[140,1,140,2],[140,6,140,7],[141,1,141,2],[141,6,141,7],[142,1,142,2],[142,6,142,7],[143,1,143,2],[143,6,143,7],[144,1,144,2],[144,6,144,7],[145,1,145,2],[145,6,145,7],[146,1,146,2],[146,6,146,7],[147,1,147,2],[147,6,147,7],[148,1,148,2],[148,6,148,7],[149,1,149,2],[149,6,149,7],[150,1,150,2],[150,6,150,7],[151,1,151,2],[151,6,151,7],[152,1,152,2],[152,6,152,7],[153,1,153,2],[153,6,153,7],[154,1,154,2],[154,6,154,7],[155,1,155,2],[155,6,155,7],[156,1,156,2],[156,6,156,7]]}
["主要材料设备价格表"]
["工程名称：",null,"给排水工程",{"$nulls":4},"第1页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["1","0001001",null,"综合工日","","工日","0.859",null,"",""]
["2","00010003",null,"机上人工","","工日","243.981",null,"",""]
["3","00010010",null,"人工费","","元","382223.616",null,"",""]
["4","01000001",null,"型钢 综合","","kg","242.706",null,"",""]
["5","01010030",null,"热轧圆盘条 φ10以内","","t","0.024",null,"",""]
["6","01010125-0001",null,"螺纹钢筋（三级）","φ12","t","5.358",null,"",""]
["7","01010125-0002",null,"螺纹钢筋（三级）","φ14","t","0.822",null,"",""]
["8","01010125-0003",null,"螺纹钢筋（三级）","φ12～25","t","4.130",null,"",""]
["9","01030005",null,"镀锌低碳钢丝 综合","","kg","18.043",null,"",""]
["10","01030031",null,"镀锌低碳钢丝","φ0.7～1.2","kg","0.065",null,"",""]
["11","01030035",null,"镀锌低碳钢丝","φ1.2～2.5","kg","23.000",null,"",""]
["12","01030055",null,"镀锌低碳钢丝","φ2.5～4.0","kg","33.456",null,"",""]
["13","01190001",null,"槽钢 综合","","kg","24.750",null,"",""]
["14","02010070",null,"耐油橡胶板 3～6","","kg","1.100",null,"",""]
["15","02010100",null,"石棉橡胶板 3～6","","kg","0.280",null,"",""]
["16","02050001-0001",null,"橡胶圈","DN150","个","0.430",null,"",""]
["17","02050001-0002",null,"橡胶圈","DN200","个","37.636",null,"",""]
["18","02050001-0003",null,"橡胶圈","DN80","个","2.060",null,"",""]
["19","02050001-0004",null,"橡胶圈","DN1000","个","10.300",null,"",""]
["20","02050001-0005",null,"橡胶圈","DN800","个","48.925",null,"",""]
["21","02050001-0006",null,"橡胶圈","DN400","个","26.230",null,"",""]
["22","02050001-0007",null,"橡胶圈","DN300","个","11.524",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"给排水工程",{"$nulls":4},"第2页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["23","02050001-0008",null,"橡胶圈","DN1200","个","57.526",null,"",""]
["24","02090090",null,"塑料薄膜","","m2","937.560",null,"",""]
["25","02270001",null,"棉纱","","kg","0.037",null,"",""]
["26","02270020",null,"白布","","kg","0.060",null,"",""]
["27","02330010",null,"草袋","","个","3.437",null,"",""]
["28","03011570",null,"镀锌六角螺栓","2个垫圈 M20×85～100","十套","2.472",null,"",""]
["29","03019001",null,"圆钉 综合","","kg","81.570",null,"",""]
["30","03019021",null,"圆钉 50～75","","kg","13.969",null,"",""]
["31","03019081",null,"码钉 综合","","kg","43.655",null,"",""]
["32","03019091",null,"扒钉","","kg","3.193",null,"",""]
["33","03131061",null,"尼龙砂轮片 φ100","","片","0.097",null,"",""]
["34","03131071",null,"尼龙砂轮片","φ100×16×3","片","0.086",null,"",""]
["35","03131101",null,"尼龙砂轮片 φ400","","片","0.071",null,"",""]
["36","03135001",null,"低碳钢焊条 综合","","kg","208.328",null,"",""]
["37","03135021",null,"低碳钢焊条","结422 φ3.2","kg","0.290",null,"",""]
["38","03139291",null,"钢锯片 φ300","","片","1.692",null,"",""]
["39","03139531",null,"合金钎头 φ150","","个","0.159",null,"",""]
["40","03210263",null,"钻杆","","根","0.131",null,"",""]
["41","03213001",null,"铁件 综合","","kg","50.479",null,"",""]
["42","03214046",null,"零星卡具","","kg","189.372",null,"",""]
["43","03214101",null,"铸铁盖板 320×500×18","","十块","18.952",null,"",""]
["44","03214357",null,"导向钻刀片","","只","0.248",null,"",""]
["45","04010015",null,"复合普通硅酸盐水泥","P.C 32.5","t","1.477",null,"",""]
["46","04030015",null,"中砂","","m3","3.298",null,"",""]
["47","04030015-0001",null,"回填砂","","m3","81.400",null,"",""]
["48","04050040",null,"碎石 40","","m3","61.978",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"给排水工程",{"$nulls":4},"第3页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["49","04070045",null,"石屑","","m3","1446.783",null,"",""]
["50","04090035",null,"素土","","m3","14.100",null,"",""]
["51","04090040",null,"膨润土","","kg","1001.920",null,"",""]
["52","04130001",null,"标准砖 240×115×53","","千块","13.307",null,"",""]
["53","04270160",null,"混凝土垫块","","m3","0.032",null,"",""]
["54","04290080",null,"预制混凝土盖板","","m3","5.046",null,"",""]
["55","05010020",null,"松杂原木 综合","","m3","1.489",null,"",""]
["56","05030060",null,"板枋材 综合","","m3","3.401",null,"",""]
["57","05030180",null,"松木板","","m3","1.420",null,"",""]
["58","8005902",null,"湿拌砌筑砂浆","M7.5 砌筑灰缝≥5mm","m3","7.304",null,"",""]
["59","8005906",null,"湿拌抹灰砂浆","M5 一次性抹灰厚度≥5mm","m3","0.175",null,"",""]
["60","9946131",null,"其他材料费","","元","1.220",null,"",""]
["61","13010050",null,"醇酸清漆","","kg","0.120",null,"",""]
["62","13030240",null,"厚漆","","kg","0.700",null,"",""]
["63","13030410",null,"煤焦油沥清漆 L01-17","","kg","10.332",null,"",""]
["64","13050500",null,"油性防锈漆","","kg","31.004",null,"",""]
["65","13410010",null,"嵌缝料","","kg","45.238",null,"",""]
["66","14010010",null,"清油","","kg","0.030",null,"",""]
["67","14010030",null,"松节油","","kg","4.416",null,"",""]
["68","14090040",null,"润滑脂","","kg","5.775",null,"",""]
["69","14310450",null,"碳酸氢钠","","kg","11.134",null,"",""]
["70","14350490",null,"漂白粉 综合","","kg","0.665",null,"",""]
["71","14350540",null,"润滑剂","","kg","24.330",null,"",""]
["72","14350630",null,"脱模剂","","kg","48.538",null,"",""]
["73","14390070",null,"氧气","","m3","11.626",null,"",""]
["74","14390100",null,"乙炔气","","kg","3.868",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"给排水工程",{"$nulls":4},"第4页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["75","14410480",null,"强力植筋胶","","L","10.734",null,"",""]
["76","17000060-0001",null,"聚乙烯缠绕实壁排水管","DN400 SN12.5","m","20.402",null,"",""]
["77","17010050",null,"焊接钢管 综合","","t","0.138",null,"",""]
["78","17030030",null,"镀锌钢管 DN25","","m","0.200",null,"",""]
["79","17110060-0001",null,"球墨铸铁给水管","DN150","m","2.500",null,"",""]
["80","17110060-0002",null,"球墨铸铁给水管","DN200","m","123.000",null,"",""]
["81","17110060-0003",null,"球墨铸铁排水管","DN400","m","152.500",null,"",""]
["82","17110060-0004",null,"球墨铸铁排水管","DN300","m","67.000",null,"",""]
["83","17290070-0001",null,"II级钢筋混凝土管","DN800","m","95.950",null,"",""]
["84","17290070-0002",null,"II级钢筋混凝土管","DN1000","m","50.500",null,"",""]
["85","17290070-0003",null,"钢筋混凝土管","DN1200","m","112.817",null,"",""]
["86","18000001-0001",null,"盘插短管","DN200","个","2.000",null,"",""]
["87","18000001-0002",null,"盘承短管","DN200","个","2.000",null,"",""]
["88","18000001-0003",null,"双盘短管","DN80","个","1.000",null,"",""]
["89","18000001-0004",null,"消防三通(铸铁）","DN200*150","个","1.000",null,"",""]
["90","18000001-0005",null,"90°弯头（铸铁）","DN200","个","1.000",null,"",""]
["91","18000001-0006",null,"45°弯头（铸铁）","DN200","个","2.000",null,"",""]
["92","20010360-0001",null,"钢板平焊法兰","DN200","副","1.000",null,"",""]
["93","20010360-0002",null,"钢板平焊法兰","DN150","副","0.500",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"给排水工程",{"$nulls":4},"第5页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["94","20210050-0001",null,"盲堵板","DN80","个","3.000",null,"",""]
["95","23050001-0001",null,"地上式消防栓","SS150/65-1.6","套","1.000",null,"",""]
["96","29060150",null,"钢套管 综合","","kg","5.470",null,"",""]
["97","33010285",null,"塑钢踏步","","kg","52.752",null,"",""]
["98","34110010",null,"水","","m3","406.010",null,"",""]
["99","35010001",null,"复合木模板面板","","m2","0.197",null,"",""]
["100","35010010",null,"钢模板","","kg","64.310",null,"",""]
["101","35030080",null,"木支撑","","m3","2.764",null,"",""]
["102","35090060",null,"铁撑脚","","kg","6.757",null,"",""]
["103","35090210",null,"拉森钢板桩","","t","14.077",null,"",""]
["104","35090260",null,"槽型钢板桩","","t","0.527",null,"",""]
["105","36010080-0003",null,"球磨铸铁井盖（利旧）","φ800","套","3.000",null,"",""]
["106","36010080-0004",null,"球墨铸铁井圈、井盖","φ800","套","4.000",null,"",""]
["107","36010080-0005",null,"球磨铸铁井圈、井盖（含防坠网）","φ800","套","6.000",null,"",""]
["108","36010080-0006",null,"球磨铸铁井盖、井圈(含房防坠网）","φ800","套","10.000",null,"",""]
["109","36010280-0001",null,"球墨铸铁井盖","680*380","套","1.000",null,"",""]
["110","51350070",null,"回扩器 DN350","","只","0.188",null,"",""]
["111","51350080",null,"回扩器 DN450","","只","0.147",null,"",""]
["112","51350090",null,"回扩器 DN600","","只","0.127",null,"",""]
["113","51350100",null,"回扩器 DN700","","只","0.147",null,"",""]
["114","80010630",null,"预拌水泥砂浆 1:2","","m3","0.686",null,"",""]
["115","80010680",null,"预拌水泥砂浆 M7.5","","m3","-0.414",null,"",""]
["116","80010750",null,"预拌水泥防水砂浆 1:2","","m3","-0.018",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"给排水工程",{"$nulls":4},"第6页, 共6页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["117","80110300",null,"化学泥浆","","kg","15.144",null,"",""]
["118","80210190",null,"普通预拌混凝土 C15","","m3","11.848",null,"",""]
["119","80210200",null,"普通预拌混凝土 C20","","m3","22.683",null,"",""]
["120","80210210",null,"普通预拌混凝土 C25","","m3","200.573",null,"",""]
["121","80210220",null,"普通预拌混凝土 C30","","m3","67.233",null,"",""]
["122","80210230",null,"普通预拌混凝土 C35","","m3","4.994",null,"",""]
["123","80210300",null,"普通预拌混凝土 C30","抗渗P6","m3","67.318",null,"",""]
["124","80210645",null,"含量：桩芯混凝土","","m3","27.278",null,"",""]
["125","99450630",null,"折旧费","","元","46237.662",null,"",""]
["126","99450640",null,"检修费","","元","17925.613",null,"",""]
["127","99450650",null,"维护费","","元","42244.844",null,"",""]
["128","99450660",null,"安拆费","","元","2005.750",null,"",""]
["129","99450670",null,"汽油","(机械用)","kg","14.684",null,"",""]
["130","99450680",null,"柴油","(机械用)","kg","11361.696",null,"",""]
["131","99450700",null,"电","(机械用)","kw·h","7299.971",null,"",""]
["132","99450710",null,"水","(机械用)","m3","0.873",null,"",""]
["133","99450760",null,"其他材料费","","元","5456.637",null,"",""]
["134","SZB04020-0001",null,"预制钢筋混凝雨水口","","块","16.160",null,"",""]
["135","SZB04020-0002",null,"预制钢筋混凝土雨水口","","块","8.080",null,"",""]
["136","SZB04021-0001",null,"球墨铸铁井箅","680*380","块","24.240",null,"",""]
["137","SZB04022-0001",null,"截污挂篮","680*380","块","24.240",null,"",""]
["138","ZC-0002",null,"不锈钢格栅","2100*1800","m2","1.000",null,"",""]
["139","ZC-0003",null,"不锈钢格栅","2100*1900","m2","1.000",null,"",""]