{"text_format":"3","workbook":"xlsx","n_sheets":5,"sheets":["工程项目清单汇总表","分部分项工程项目清单计价表","措施项目清单计价表","计日工表","主要材料设备价格表(合价)(格式一)"],"read":"whole","date_system":"1900"}

{"sheet":"工程项目清单汇总表","index":0,"n_rows":19,"n_cols":6,"rows_kept":19,"merged":[[0,0,0,5],[1,0,1,1],[1,2,1,3],[2,0,2,2],[2,3,2,4],[3,0,3,2],[3,3,3,4],[4,0,4,2],[4,3,4,4],[5,0,5,2],[5,3,5,4],[6,0,6,2],[6,3,6,4],[7,0,7,2],[7,3,7,4],[8,0,8,2],[8,3,8,4],[9,0,9,2],[9,3,9,4],[10,0,10,2],[10,3,10,4],[11,0,11,2],[11,3,11,4],[12,0,12,2],[12,3,12,4],[13,0,13,2],[13,3,13,4],[14,0,14,2],[14,3,14,4],[15,0,15,2],[15,3,15,4],[16,0,16,2],[16,3,16,4],[17,0,17,4],[18,1,18,5]]}
["工程项目清单汇总表"]
["工程名称:",null,"道路工程",null,"标段：","第1页, 共1页"]
["序号",null,null,"项目内容",null,"金额(元)"]
["1",null,null,"分部分项工程费",null,""]
["1.1",null,null,"道路工程",null,""]
["1.2",null,null,"交通工程",null,""]
["2",null,null,"措施项目费",null,""]
["2.1",null,null,"其中：安全生产措施项目",null,"31150.14"]
["3",null,null,"其他项目费",null,""]
["3.1",null,null,"其中：暂列金额",null,""]
["3.2",null,null,"其中：专业工程暂估价",null,""]
["3.3",null,null,"其中：计日工",null,""]
["3.4",null,null,"其中：总承包服务费",null,""]
["3.5",null,null,"其中：工程优质费",null,""]
["3.6",null,null,"其中：合同中约定的其他项目",null,""]
["4",null,null,"税前工程造价",null,""]
["5",null,null,"增值税",null,""]
["合  计",{"$nulls":4},""]
["注：","1  专业工程暂估价为已含税价格，在计算增值税计算基础时不应包含专业工程暂估价金额；\n2  本表宜用于按合同标的为工程量清单编制对象的工程汇总计算，以单项工程、单位工程等为工程量清\n   单编对象的工程可按本表汇总计算。"]

{"sheet":"分部分项工程项目清单计价表","index":1,"n_rows":142,"n_cols":11,"rows_kept":142,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,4],[1,6,1,8],[1,9,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,10],[3,8,4,9],[3,10,4,10],[5,1,5,2],[5,4,5,5],[5,8,5,9],[6,1,6,2],[6,4,6,5],[6,8,6,9],[7,1,7,2],[7,4,7,5],[7,8,7,9],[8,1,8,2],[8,4,8,5],[8,8,8,9],[9,1,9,2],[9,4,9,5],[9,8,9,9],[10,1,10,2],[10,4,10,5],[10,8,10,9],[11,1,11,2],[11,4,11,5],[11,8,11,9],[12,1,12,2],[12,4,12,5],[12,8,12,9],[13,1,13,2],[13,4,13,5],[13,8,13,9],[14,1,14,2],[14,4,14,5],[14,8,14,9],[15,0,15,9],[16,0,16,10],[17,0,17,1],[17,2,17,4],[17,6,17,8],[17,9,17,10],[18,0,20,0],[18,1,20,2],[18,3,20,3],[18,4,20,5],[18,6,20,6],[18,7,20,7],[18,8,18,10],[19,8,20,9],[19,10,20,10],[21,1,21,2],[21,4,21,5],[21,8,21,9],[22,1,22,2],[22,4,22,5],[22,8,22,9],[23,1,23,2],[23,4,23,5],[23,8,23,9],[24,1,24,2],[24,4,24,5],[24,8,24,9],[25,1,25,2],[25,4,25,5],[25,8,25,9],[26,1,26,2],[26,4,26,5],[26,8,26,9],[27,1,27,2],[27,4,27,5],[27,8,27,9],[28,1,28,2],[28,4,28,5],[28,8,28,9],[29,1,29,2],[29,4,29,5],[29,8,29,9],[30,1,30,2],[30,4,30,5],[30,8,30,9],[31,0,31,9],[32,0,32,10],[33,0,33,1],[33,2,33,4],[33,6,33,8],[33,9,33,10],[34,0,36,0],[34,1,36,2],[34,3,36,3],[34,4,36,5],[34,6,36,6],[34,7,36,7],[34,8,34,10],[35,8,36,9],[35,10,36,10],[37,1,37,2],[37,4,37,5],[37,8,37,9],[38,1,38,2],[38,4,38,5],[38,8,38,9],[39,1,39,2],[39,4,39,5],[39,8,39,9],[40,1,40,2],[40,4,40,5],[40,8,40,9],[41,1,41,2],[41,4,41,5],[41,8,41,9],[42,1,42,2],[42,4,42,5],[42,8,42,9],[43,1,43,2],[43,4,43,5],[43,8,43,9],[44,1,44,2],[44,4,44,5],[44,8,44,9],[45,1,45,2],[45,4,45,5],[45,8,45,9],[46,1,46,2],[46,4,46,5],[46,8,46,9],[47,0,47,9],[48,0,48,10],[49,0,49,1],[49,2,49,4],[49,6,49,8],[49,9,49,10],[50,0,52,0],[50,1,52,2],[50,3,52,3],[50,4,52,5],[50,6,52,6],[50,7,52,7],[50,8,50,10],[51,8,52,9],[51,10,52,10],[53,1,53,2],[53,4,53,5],[53,8,53,9],[54,1,54,2],[54,4,54,5],[54,8,54,9],[55,1,55,2],[55,4,55,5],[55,8,55,9],[56,1,56,2],[56,4,56,5],[56,8,56,9],[57,1,57,2],[57,4,57,5],[57,8,57,9],[58,1,58,2],[58,4,58,5],[58,8,58,9],[59,1,59,2],[59,4,59,5],[59,8,59,9],[60,0,60,9],[61,0,61,10],[62,0,62,1],[62,2,62,4],[62,6,62,8],[62,9,62,10],[63,0,65,0],[63,1,65,2],[63,3,65,3],[63,4,65,5],[63,6,65,6],[63,7,65,7],[63,8,63,10],[64,8,65,9],[64,10,65,10],[66,1,66,2],[66,4,66,5],[66,8,66,9],[67,1,67,2],[67,4,67,5],[67,8,67,9],[68,1,68,2],[68,4,68,5],[68,8,68,9],[69,1,69,2],[69,4,69,5],[69,8,69,9],[70,1,70,2],[70,4,70,5],[70,8,70,9],[71,1,71,2],[71,4,71,5],[71,8,71,9],[72,1,72,2],[72,4,72,5],[72,8,72,9],[73,1,73,2],[73,4,73,5],[73,8,73,9],[74,1,74,2],[74,4,74,5],[74,8,74,9],[75,0,75,9],[76,0,76,10],[77,0,77,1],[77,2,77,4],[77,6,77,8],[77,9,77,10],[78,0,80,0],[78,1,80,2],[78,3,80,3],[78,4,80,5],[78,6,80,6],[78,7,80,7],[78,8,78,10],[79,8,80,9],[79,10,80,10],[81,1,81,2],[81,4,81,5],[81,8,81,9],[82,1,82,2],[82,4,82,5],[82,8,82,9],[83,1,83,2],[83,4,83,5],[83,8,83,9],[84,1,84,2],[84,4,84,5],[84,8,84,9],[85,1,85,2],[85,4,85,5],[85,8,85,9],[86,1,86,2],[86,4,86,5],[86,8,86,9],[87,1,87,2],[87,4,87,5],[87,8,87,9],[88,1,88,2],[88,4,88,5],[88,8,88,9],[89,1,89,2],[89,4,89,5],[89,8,89,9],[90,1,90,2],[90,4,90,5],[90,8,90,9],[91,1,91,2],[91,4,91,5],[91,8,91,9],[92,1,92,2],[92,4,92,5],[92,8,92,9],[93,1,93,2],[93,4,93,5],[93,8,93,9],[94,0,94,9],[95,0,95,10],[96,0,96,1],[96,2,96,4],[96,6,96,8],[96,9,96,10],[97,0,99,0],[97,1,99,2],[97,3,99,3],[97,4,99,5],[97,6,99,6],[97,7,99,7],[97,8,97,10],[98,8,99,9],[98,10,99,10],[100,1,100,2],[100,4,100,5],[100,8,100,9],[101,1,101,2],[101,4,101,5],[101,8,101,9],[102,1,102,2],[102,4,102,5],[102,8,102,9],[103,1,103,2],[103,4,103,5],[103,8,103,9],[104,1,104,2],[104,4,104,5],[104,8,104,9],[105,1,105,2],[105,4,105,5],[105,8,105,9],[106,1,106,2],[106,4,106,5],[106,8,106,9],[107,1,107,2],[107,4,107,5],[107,8,107,9],[108,1,108,2],[108,4,108,5],[108,8,108,9],[109,1,109,2],[109,4,109,5],[109,8,109,9],[110,1,110,2],[110,4,110,5],[110,8,110,9],[111,1,111,2],[111,4,111,5],[111,8,111,9],[112,1,112,2],[112,4,112,5],[112,8,112,9],[113,1,113,2],[113,4,113,5],[113,8,113,9],[114,1,114,2],[114,4,114,5],[114,8,114,9],[115,0,115,9],[116,0,116,10],[117,0,117,1],[117,2,117,4],[117,6,117,8],[117,9,117,10],[118,0,120,0],[118,1,120,2],[118,3,120,3],[118,4,120,5],[118,6,120,6],[118,7,120,7],[118,8,118,10],[119,8,120,9],[119,10,120,10],[121,1,121,2],[121,4,121,5],[121,8,121,9],[122,1,122,2],[122,4,122,5],[122,8,122,9],[123,1,123,2],[123,4,123,5],[123,8,123,9],[124,0,124,9],[125,0,125,10],[126,0,126,1],[126,2,126,4],[126,6,126,8],[126,9,126,10],[127,0,129,0],[127,1,129,2],[127,3,129,3],[127,4,129,5],[127,6,129,6],[127,7,129,7],[127,8,127,10],[128,8,129,9],[128,10,129,10],[130,1,130,2],[130,4,130,5],[130,8,130,9],[131,1,131,2],[131,4,131,5],[131,8,131,9],[132,1,132,2],[132,4,132,5],[132,8,132,9],[133,0,133,9],[134,0,134,10],[135,0,135,1],[135,2,135,4],[135,6,135,8],[135,9,135,10],[136,0,138,0],[136,1,138,2],[136,3,138,3],[136,4,138,5],[136,6,138,6],[136,7,138,7],[136,8,136,10],[137,8,138,9],[137,10,138,10],[139,1,139,2],[139,4,139,5],[139,8,139,9],[140,0,140,9],[141,0,141,9]]}
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第1页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"道路工程","",null,"","","",null,""]
["","",null,"路基挖填部分","",null,"","","",null,""]
["1","040101001001",null,"清表土方","1.挖掘机挖装一般土方 一、二类土\n2.自卸汽车运土方 运距自行考虑",null,"m3","335.400","",null,""]
["2","040101001002",null,"挖路基土方","1.挖掘机挖装一般土方 一、二类土\n2.自卸汽车运土方 运距自行考虑",null,"m3","1155.000","",null,""]
["3","040103002001",null,"路基填土","1.压路机碾压土(石)方 填土方",null,"m3","533.000","",null,""]
["","",null,"车行道部分","",null,"","","",null,""]
["4","040203007001",null,"混凝土路面 24cm","1.水泥混凝土路面 厚度 24cm\n2.水泥混凝土路面养生 水养生",null,"m2","2475.000","",null,""]
["5","040203007002",null,"混凝土路面 20cm","1.水泥混凝土路面 厚度 20cm\n2.水泥混凝土路面养生 水养生",null,"m2","252.000","",null,""]
["6","040202014001",null,"5%水泥稳定碎石层 15cm","1.集中拌合水泥碎石混合料 水泥含量 5%\n2.自卸汽车运输水泥石屑(碎石)混合料 自卸汽车装载 第一个3km\n3.机械铺筑水泥石屑(碎石)混合料 厚度 15cm",null,"m2","2738.000","",null,""]
["7","040202014002",null,"4%水泥稳定碎石层 15cm","1.集中拌合水泥石屑混合料 水泥含量 4%\n2.自卸汽车运输水泥石屑(碎石)混合料",null,"m2","2619.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第2页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","自卸汽车装载 第一个3km\n3.机械铺筑水泥石屑(碎石)混合料 厚度 15cm",null,"","","",null,""]
["8","040901002001",null,"路面钢筋","1.水泥混凝土路面钢筋 构造筋",null,"t","0.735","",null,""]
["9","040901007001",null,"新旧路面植筋","1.钢筋植筋增加费 直径25mm\n2.水泥混凝土路面钢筋 构造筋",null,"根","619.000","",null,""]
["10","040201021001",null,"防渗膜","1.土工合成材料敷设 二布一膜\n2.两布一膜",null,"m2","287.000","",null,""]
["","",null,"人行道部分","",null,"","","",null,""]
["11","040204001001",null,"人行道整形","1.人行道整形碾压",null,"m2","345.000","",null,""]
["12","040204001002",null,"杭灰色环保砖 200*100*60","1.人行道垫层 混凝土 厚度 10cm\n2.人行道垫层 人机配合铺装石屑底层 厚度 15cm\n3.人行道砖 砂浆垫层(结合层) 厚度3cm\n4.杭灰色环保砖 200*100*60",null,"m2","345.000","",null,""]
["","",null,"路缘石部分","",null,"","","",null,""]
["13","040204004001",null,"芝麻灰花岗岩路沿石 50*15*45","1.浇筑侧(缘)石混凝土后座\n2.缘石铺设 花岗岩 长度 50cm\n3.芝麻灰花岗岩路沿石 50*15*45",null,"m","201.000","",null,""]
["14","040204004003",null,"芝麻灰花岗岩路沿石 50*15*45（利旧）","1.浇筑侧(缘)石混凝土后座\n2.缘石铺设 花岗岩",null,"m","45.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第3页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","长度 50cm\n3.芝麻灰花岗岩路沿石（利旧） 50*15*45",null,"","","",null,""]
["15","040204004002",null,"芝麻灰花岗岩路沿石 50*10*25","1.浇筑侧(缘)石混凝土后座\n2.缘石铺设 花岗岩 长度 50cm\n3.芝麻灰花岗岩路沿石 50*10*25",null,"m","54.000","",null,""]
["","",null,"特殊路基处理","",null,"","","",null,""]
["16","040101001003",null,"挖一般土方","1.挖掘机挖装一般土方 一、二类土\n2.自卸汽车运土方 运距自行考虑",null,"m3","2168.000","",null,""]
["17","040103002002",null,"一般回填方","1.挖掘机装土\n2.自卸汽车运土方 运距自行考虑\n3.压路机碾压土(石)方 填土方",null,"m3","2168.000","",null,""]
["18","040201021002",null,"土工合成材料","1.铺装土工隔栅",null,"m2","1361.000","",null,""]
["19","040302010001",null,"拉森钢板桩","1.陆上打拉森钢板桩 6m内\n2.拔拉森钢板桩",null,"t","50.000","",null,""]
["","",null,"其他部分","",null,"","","",null,""]
["20","040305005001",null,"一般植草护坡","1.播草籽 机械喷播草籽\n2.喷播植物保养 机械灌溉",null,"m2","61.370","",null,""]
["21","050102001001",null,"迁移乔木","1.截干起挖乔木(胸径cm) 25以内\n2.汽车运乔木(胸径cm) 25以内 运距自行考虑",null,"株","18.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第4页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","3.栽植乔木 胸径25cm以内\n4.乔木苗 （利旧）\n5.乔木养护 3个月",null,"","","",null,""]
["22","041001005001",null,"拆除路缘石","1.拆除侧石 石质\n2.人工装自卸汽车 石方\n3.自卸汽车运石方 运距自行考虑",null,"m","65.000","",null,""]
["23","041001005002",null,"拆除路肩石","1.拆除侧石 石质\n2.人工装自卸汽车 石方\n3.自卸汽车运石方 运距自行考虑",null,"m","23.500","",null,""]
["24","041001001001",null,"拆除路面","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚30cm\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m2","917.000","",null,""]
["25","041001003001",null,"拆除基层","1.液压岩石破碎机破碎混凝土类面层 普通混凝土面层 厚15cm\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m2","917.000","",null,""]
["26","041001008001",null,"拆除混凝土地梁","1.机械拆除混凝土构筑物 有筋\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m3","111.200","",null,""]
["27","041001002001",null,"拆除人行道","1.拆除人行道 混凝土预制板 厚8cm内\n2.人工装自卸汽车 石方\n3.自卸汽车运石方",null,"m2","63.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第5页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","运距自行考虑",null,"","","",null,""]
["28","041001007001",null,"拆除挡墙","1.拆除砖砌其它构筑物\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"m","30.500","",null,""]
["29","030409001001",null,"电力电缆 VV-5*16","1.铜芯电力电缆敷设 电缆(截面mm2以下) 35\n2.铜芯电缆 VV-5*16",null,"m","150.000","",null,""]
["30","030409001002",null,"电力电缆 VV-3*2.5","1.铜芯电力电缆敷设 电缆(截面mm2以下) 10\n2.铜芯电缆 VV-3*2.5",null,"m","20.000","",null,""]
["31","030502003001",null,"超五类网线","1.敷设双绞线缆或电话线 管、暗槽内穿放(对以内) 2\n2.超五类网线",null,"m","20.000","",null,""]
["32","030502003002",null,"感应线圈","1.环形检测线圈敷设 布设导线线圈",null,"处","4.000","",null,""]
["33","030409006001",null,"热度锌钢管 φ50","1.镀锌钢管埋地敷设 公称直径（mm以内） 50\n2.镀锌钢管 SC50 3.0",null,"m","150.000","",null,""]
["34","030409006002",null,"PVC电缆保护管φ32","1.刚性难燃线管埋地敷设 公称直径（mm以内） 32\n2.刚性难燃管 PVC φ32",null,"m","46.000","",null,""]
["35","040205021001",null,"道闸机","1.停车场管理设备 电动栏杆\n2.车牌识别不锈钢道闸 H=1.2M",null,"套","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第6页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["36","040205012001",null,"吊装值警亭","1.汽车式起重机",null,"项","1.000","",null,""]
["37","010802003001",null,"铁艺大门","1.标准全封钢门\n2.铁艺大门 4000*2000",null,"处","1.000","",null,""]
["38","010603001001",null,"拆除地磅","1.机械单项拆除 金属构件 其他金属构件",null,"t","1.500","",null,""]
["39","041001001002",null,"拆除固定登车桥","1.机械单项拆除 金属构件 其他金属构件",null,"处","9.000","",null,""]
["40","010603001003",null,"拆除护栏","1.栏杆、栏板拆除 金属",null,"m","74.880","",null,""]
["41","010502020001",null,"拆除混凝土楼梯","1.机械拆除混凝土构筑物 有筋\n2.装载机装松散石方\n3.自卸汽车运石方 运距自行考虑",null,"处","3.000","",null,""]
["42","010901001001",null,"拆除简易房","1.机械整体拆除 工业建筑 单层",null,"m2","246.400","",null,""]
["43","040305004001",null,"砖砌挡墙","1.砖砌体 挡墙",null,"m3","19.160","",null,""]
["44","040305004002",null,"挡墙压顶","1.现浇混凝土其他构件 压顶、扶手",null,"m3","1.350","",null,""]
["45","040305004003",null,"挡墙抹灰","1.底层抹灰20mm 各种墙面 外墙",null,"m2","32.900","",null,""]
["46","040308001001",null,"人行道护栏（利旧）","1.成品护栏 型钢\n2.成品型钢护栏（利旧）",null,"m","146.000","",null,""]
["47","040101001004",null,"镀锌铁皮围挡","1.镀锌铁皮围挡\n2.围挡（含仿真草皮） H=1.8",null,"m","207.000","",null,""]
["48","050103015001",null,"铺种马尼拉草","1.铺草皮 原土铺草皮\n2.马尼拉草 \n3.草皮保养 机械灌溉",null,"m2","118.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第7页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["49","040203007003",null,"混凝土路面 15cm","1.水泥混凝土路面 厚度 15cm\n2.水泥混凝土路面养生 水养生",null,"m2","211.000","",null,""]
["50","040202014003",null,"碎石层 5cm","1.人机配合铺装碎石底层 厚度 5cm",null,"m2","211.000","",null,""]
["","",null,"交通工程","",null,"","","",null,""]
["","",null,"标线部分","",null,"","","",null,""]
["51","040205007001",null,"车道边缘线","1.热熔标线 普通型",null,"m2","38.000","",null,""]
["52","040205009001",null,"人行横道线","1.横道线 热熔涂料 普通型",null,"m2","46.000","",null,""]
["53","040205007002",null,"单黄线","1.热熔标线 普通型",null,"m2","237.000","",null,""]
["54","040205007003",null,"其他标线","1.热熔标线 普通型",null,"m2","15.000","",null,""]
["55","040205008001",null,"人行道预告标识","1.文字、字符、图形标记 热熔型漆",null,"个","2.000","",null,""]
["56","040205008002",null,"左转+右转箭头","1.箭头 热熔型漆",null,"个","4.000","",null,""]
["57","040205008003",null,"直行箭头","1.箭头 热熔型漆",null,"个","10.000","",null,""]
["58","040205008004",null,"左转箭头","1.箭头 热熔型漆",null,"个","2.000","",null,""]
["59","040205008005",null,"直行+左转箭头/直行+右转箭头","1.箭头 热熔型漆",null,"个","4.000","",null,""]
["","",null,"标志部分","",null,"","","",null,""]
["60","040205003001",null,"减速让行标志+人行横道标志","1.人工挖基坑土方 一、二类土 深度在2m内\n2.挖掘机挖装沟槽、基坑土方 一、二类土\n3.其他混凝土基础\n4.箍筋制作、安装 圆钢 Φ10mm以内\n5.钢筋制作、安装 带肋钢筋 Φ10～25mm",null,"套","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第8页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","6.预埋铁件\n7.信号灯杆、标志杆安装 单柱式杆 杆高5000mm内\n8.镀锌钢管 φ89*4*3956\n9.标志板安装 单块面积 1m2内\n10.铝板标志板（含反光膜） △700*3.0\n11.标志板安装 单块面积 1m2内\n12.铝板标志板（含反光膜） φ600*3",null,"","","",null,""]
["61","040205003002",null,"限速让行标志+禁止停车标志","1.人工挖基坑土方 一、二类土 深度在2m内\n2.挖掘机挖装沟槽、基坑土方 一、二类土\n3.其他混凝土基础\n4.箍筋制作、安装 圆钢 Φ10mm以内\n5.钢筋制作、安装 带肋钢筋 Φ10～25mm\n6.预埋铁件\n7.信号灯杆、标志杆安装 单柱式杆 杆高5000mm内\n8.镀锌钢管 φ89*4*3950\n9.标志板安装 单块面积 1m2内\n10.铝板标志板（含反光膜） φ600*3",null,"套","1.000","",null,""]
["62","040205003003",null,"T型交叉口标志","1.人工挖基坑土方 一、二类土 深度在2m内",null,"套","1.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第9页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","2.挖掘机挖装沟槽、基坑土方 一、二类土\n3.其他混凝土基础\n4.箍筋制作、安装 圆钢 Φ10mm以内\n5.钢筋制作、安装 带肋钢筋 Φ10～25mm\n6.预埋铁件\n7.信号灯杆、标志杆安装 单柱式杆 杆高3500mm内\n8.镀锌钢管 φ89*4*2100\n9.标志板安装 单块面积 1m2内\n10.铝板标志板（含反光膜） △700*3.0",null,"","","",null,""]
["63","040205017001",null,"麻黄花岗岩车止石","1.车止石 石质(砼质) 高度1m内\n2.麻黄花岗岩车止石 φ300*800",null,"根","8.000","",null,""]
["64","040205003004",null,"凸面镜","1.人工挖基坑土方 一、二类土 深度在2m内\n2.挖掘机挖装沟槽、基坑土方 一、二类土\n3.其他混凝土基础\n4.箍筋制作、安装 圆钢 Φ10mm以内\n5.钢筋制作、安装 带肋钢筋 Φ10～25mm\n6.预埋铁件\n7.信号灯杆、标志杆安装 单柱式杆 杆高5000mm内",null,"套","2.000","",null,""]
["本页小计",{"$nulls":9},""]
["分部分项工程项目清单计价表"]
["工程名称:",null,"道路工程",null,null,"标段:","",null,null,"第10页, 共10页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量单位","工程量","金额(元)"]
[{"$nulls":8},"综合单价",null,"合价"]
[]
["","",null,"","8.镀锌钢管 φ76*3.75*3750\n9.广角镜安装",null,"","","",null,""]
["本页小计",{"$nulls":9},""]
["合    计",{"$nulls":9},""]

{"sheet":"措施项目清单计价表","index":2,"n_rows":49,"n_cols":11,"rows_kept":49,"merged":[[0,0,0,10],[1,0,1,2],[1,3,1,5],[1,7,1,8],[1,9,1,10],[2,1,2,3],[2,5,2,7],[2,8,2,9],[3,1,3,3],[3,5,3,7],[3,8,3,9],[4,1,4,3],[4,5,4,7],[4,8,4,9],[5,1,5,3],[5,5,5,7],[5,8,5,9],[6,1,6,3],[6,5,6,7],[6,8,6,9],[7,1,7,3],[7,5,7,7],[7,8,7,9],[8,1,8,3],[8,5,8,7],[8,8,8,9],[9,1,9,3],[9,5,9,7],[9,8,9,9],[10,1,10,3],[10,5,10,7],[10,8,10,9],[11,1,11,3],[11,5,11,7],[11,8,11,9],[12,1,12,3],[12,5,12,7],[12,8,12,9],[13,1,13,3],[13,5,13,7],[13,8,13,9],[14,1,14,3],[14,5,14,7],[14,8,14,9],[15,1,15,3],[15,5,15,7],[15,8,15,9],[16,1,16,3],[16,5,16,7],[16,8,16,9],[17,1,17,3],[17,5,17,7],[17,8,17,9],[18,1,18,3],[18,5,18,7],[18,8,18,9],[19,1,19,3],[19,5,19,7],[19,8,19,9],[20,0,20,7],[20,8,20,9],[21,0,21,1],[21,2,21,10],[22,0,22,10],[23,0,23,2],[23,3,23,5],[23,7,23,8],[23,9,23,10],[24,1,24,3],[24,5,24,7],[24,8,24,9],[25,1,25,3],[25,5,25,7],[25,8,25,9],[26,1,26,3],[26,5,26,7],[26,8,26,9],[27,1,27,3],[27,5,27,7],[27,8,27,9],[28,1,28,3],[28,5,28,7],[28,8,28,9],[29,1,29,3],[29,5,29,7],[29,8,29,9],[30,1,30,3],[30,5,30,7],[30,8,30,9],[31,1,31,3],[31,5,31,7],[31,8,31,9],[32,1,32,3],[32,5,32,7],[32,8,32,9],[33,1,33,3],[33,5,33,7],[33,8,33,9],[34,1,34,3],[34,5,34,7],[34,8,34,9],[35,1,35,3],[35,5,35,7],[35,8,35,9],[36,1,36,3],[36,5,36,7],[36,8,36,9],[37,1,37,3],[37,5,37,7],[37,8,37,9],[38,1,38,3],[38,5,38,7],[38,8,38,9],[39,0,39,7],[39,8,39,9],[40,0,40,1],[40,2,40,10],[41,0,41,10],[42,0,42,2],[42,3,42,5],[42,7,42,8],[42,9,42,10],[43,1,43,3],[43,5,43,7],[43,8,43,9],[44,1,44,3],[44,5,44,7],[44,8,44,9],[45,1,45,3],[45,5,45,7],[45,8,45,9],[46,0,46,7],[46,8,46,9],[47,0,47,7],[47,8,47,9],[48,0,48,1],[48,2,48,10]]}
["措施项目清单计价表"]
["工程名称:",null,null,"道路工程",null,null,"标段:","",null,"第1页, 共3页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["1","041201001001",null,null,"脚手架","",null,null,"",null,""]
["2","041201002001",null,null,"水上桩基础支架、平台","",null,null,"",null,""]
["3","041201003001",null,null,"桥涵支架","",null,null,"",null,""]
["4","041201004001",null,null,"施工排水","",null,null,"",null,""]
["5","041201005001",null,null,"施工降水","",null,null,"",null,""]
["6","041201006001",null,null,"围堰","",null,null,"",null,""]
["7","041201007001",null,null,"筑岛","",null,null,"",null,""]
["8","041201008001",null,null,"便道","",null,null,"",null,""]
["9","041201009001",null,null,"便桥","",null,null,"",null,""]
["10","041201010001",null,null,"洞内施工通风、供水、供电照明、通信设施","",null,null,"",null,""]
["11","041201011001",null,null,"洞内外轨道铺设","",null,null,"",null,""]
["12","041201012001",null,null,"大型机械设备进出场及安拆","",null,null,"",null,""]
["13","041201013001",null,null,"立交箱涵顶进被交线路加固及防护","",null,null,"",null,""]
["14","041201014001",null,null,"地下管线交叉处理","",null,null,"",null,""]
["15","041201015001",null,null,"施工监测、监控","",null,null,"",null,""]
["16","041201016001",null,null,"临时设施","",null,null,"",null,"单独场地平整工程费率按1.13%计算，道路、管网工程费率按4.29%计算，桥涵、隧道、水处理构筑物工程费率按3.77%计算"]
["17","041201017001",null,null,"文明施工","",null,null,"",null,"单独场地平整工程费率按0.96%计算，道路、管网工程费率按3.63%计算，桥涵、隧道、水处理构筑物工程"]
["本页合计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]
["措施项目清单计价表"]
["工程名称:",null,null,"道路工程",null,null,"标段:","",null,"第2页, 共3页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["","",null,null,"","",null,null,"",null,"费率按3.19%计算"]
["18","041201018001",null,null,"环境保护","",null,null,"",null,"单独场地平整工程费率按0.87%计算，道路、管网工程费率按3.3%计算，桥涵、隧道、水处理构筑物工程费率按2.9%计算"]
["19","041201019001",null,null,"安全生产","",null,null,"",null,"单独场地平整工程费率按1.83%计算，道路、管网工程费率按6.93%计算，桥涵、隧道、水处理构筑物工程费率按6.09%计算"]
["20","041201020001",null,null,"冬雨季施工增加","",null,null,"",null,""]
["21","041201021001",null,null,"夜间施工措施费","",null,null,"",null,""]
["22","041201022001",null,null,"特殊地区施工增加","",null,null,"",null,""]
["23","041201023001",null,null,"二次搬运","",null,null,"",null,""]
["24","041201024001",null,null,"已完工程及设备保护","",null,null,"",null,""]
["25","041201025001",null,null,"既有建(构)筑物、设施保护","",null,null,"",null,""]
["26","041106001001001",null,null,"大型机械设备安拆费","",null,null,"",null,""]
["27","BC001001",null,null,"文明工地措施费","",null,null,"",null,"省级文明工地按1.20%计算；市级文明工地按0.60%计算"]
["28","BC002001",null,null,"赶工措施费","",null,null,"",null,""]
["29","BF006001",null,null,"独立安全防护挡板","",null,null,"",null,""]
["30","BC006001",null,null,"施工现场围挡和临时占地围挡","",null,null,"",null,""]
["本页合计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]
["措施项目清单计价表"]
["工程名称:",null,null,"道路工程",null,null,"标段:","",null,"第3页, 共3页"]
["序号","项目编码",null,null,"项目名称","工作内容",null,null,"价格(元)",null,"备注"]
["31","BC007001",null,null,"施工围档照明","",null,null,"",null,""]
["32","BC014001",null,null,"吊装设备基础","",null,null,"",null,""]
["本页合计",{"$nulls":7},"",null,"-"]
["合    计",{"$nulls":7},"",null,"-"]
["注：",null,"措施项目清单费用构成详见本标准表E.3.2，大型机械进出场及安拆费用组成见本标准表E.3.4。"]

{"sheet":"计日工表","index":3,"n_rows":16,"n_cols":11,"rows_kept":16,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,5],[1,6,1,8],[1,9,1,10],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,9],[2,10,3,10],[5,1,5,2],[5,5,5,6],[6,1,6,2],[6,5,6,6],[7,0,7,7],[8,1,8,2],[8,5,8,6],[9,0,9,7],[10,1,10,2],[10,5,10,6],[11,1,11,2],[11,5,11,6],[12,1,12,2],[12,5,12,6],[13,0,13,7],[14,0,14,7],[15,1,15,10]]}
["计日工表"]
["工程名称:",null,"道路工程",{"$nulls":3},"标段：",null,null,"第1页, 共1页"]
["编号","计日工名称",null,"单位","暂定数量","实际数量",null,"综合单价 (元)","合价",null,"调整金额±(元)"]
[{"$nulls":8},"暂定","实际"]
[{"$nulls":8},"A₁","A₂","B=A₂-A₁"]
["一","人工",null,"","","",null,"","","",""]
["1","综合工日",null,"工日","10.000","",null,"","","",""]
["人工小计",{"$nulls":7},"","",""]
["二","材料",null,"","","",null,"","","",""]
["材料小计",{"$nulls":7},"","",""]
["三","施工机具",null,"","","",null,"","","",""]
["1","汽车式起重机",null,"台班","5.000","",null,"","","",""]
["2","载货汽车",null,"台班","2.000","",null,"","","",""]
["施工机具小计",{"$nulls":7},"","",""]
["总    计",{"$nulls":7},"","",""]
["注：","1  本表计日工名称、暂定数量应由招标人填写。编制最高投标限价时，单价应由招标人按有关计价规\n   定确定；编制投标报价时，单价应由投标人自主报价，并按暂定数量计算合价计入投标总价中。\n2  工程结算时，应按发承包双方确认的实际数量计量合价。发承包双方确认的实际数量详见本标准表\n   E.8.2。"]

{"sheet":"主要材料设备价格表(合价)(格式一)","index":4,"n_rows":128,"n_cols":10,"rows_kept":128,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,6],[1,7,1,9],[2,1,2,2],[2,6,2,7],[3,1,3,2],[3,6,3,7],[4,1,4,2],[4,6,4,7],[5,1,5,2],[5,6,5,7],[6,1,6,2],[6,6,6,7],[7,1,7,2],[7,6,7,7],[8,1,8,2],[8,6,8,7],[9,1,9,2],[9,6,9,7],[10,1,10,2],[10,6,10,7],[11,1,11,2],[11,6,11,7],[12,1,12,2],[12,6,12,7],[13,1,13,2],[13,6,13,7],[14,1,14,2],[14,6,14,7],[15,1,15,2],[15,6,15,7],[16,1,16,2],[16,6,16,7],[17,1,17,2],[17,6,17,7],[18,1,18,2],[18,6,18,7],[19,1,19,2],[19,6,19,7],[20,1,20,2],[20,6,20,7],[21,1,21,2],[21,6,21,7],[22,1,22,2],[22,6,22,7],[23,1,23,2],[23,6,23,7],[24,1,24,2],[24,6,24,7],[25,1,25,2],[25,6,25,7],[26,1,26,2],[26,6,26,7],[27,1,27,2],[27,6,27,7],[28,1,28,2],[28,6,28,7],[29,0,29,9],[30,0,30,1],[30,2,30,6],[30,7,30,9],[31,1,31,2],[31,6,31,7],[32,1,32,2],[32,6,32,7],[33,1,33,2],[33,6,33,7],[34,1,34,2],[34,6,34,7],[35,1,35,2],[35,6,35,7],[36,1,36,2],[36,6,36,7],[37,1,37,2],[37,6,37,7],[38,1,38,2],[38,6,38,7],[39,1,39,2],[39,6,39,7],[40,1,40,2],[40,6,40,7],[41,1,41,2],[41,6,41,7],[42,1,42,2],[42,6,42,7],[43,1,43,2],[43,6,43,7],[44,1,44,2],[44,6,44,7],[45,1,45,2],[45,6,45,7],[46,1,46,2],[46,6,46,7],[47,1,47,2],[47,6,47,7],[48,1,48,2],[48,6,48,7],[49,1,49,2],[49,6,49,7],[50,1,50,2],[50,6,50,7],[51,1,51,2],[51,6,51,7],[52,1,52,2],[52,6,52,7],[53,1,53,2],[53,6,53,7],[54,1,54,2],[54,6,54,7],[55,1,55,2],[55,6,55,7],[56,1,56,2],[56,6,56,7],[57,1,57,2],[57,6,57,7],[58,0,58,9],[59,0,59,1],[59,2,59,6],[59,7,59,9],[60,1,60,2],[60,6,60,7],[61,1,61,2],[61,6,61,7],[62,1,62,2],[62,6,62,7],[63,1,63,2],[63,6,63,7],[64,1,64,2],[64,6,64,7],[65,1,65,2],[65,6,65,7],[66,1,66,2],[66,6,66,7],[67,1,67,2],[67,6,67,7],[68,1,68,2],[68,6,68,7],[69,1,69,2],[69,6,69,7],[70,1,70,2],[70,6,70,7],[71,1,71,2],[71,6,71,7],[72,1,72,2],[72,6,72,7],[73,1,73,2],[73,6,73,7],[74,1,74,2],[74,6,74,7],[75,1,75,2],[75,6,75,7],[76,1,76,2],[76,6,76,7],[77,1,77,2],[77,6,77,7],[78,1,78,2],[78,6,78,7],[79,1,79,2],[79,6,79,7],[80,1,80,2],[80,6,80,7],[81,1,81,2],[81,6,81,7],[82,0,82,9],[83,0,83,1],[83,2,83,6],[83,7,83,9],[84,1,84,2],[84,6,84,7],[85,1,85,2],[85,6,85,7],[86,1,86,2],[86,6,86,7],[87,1,87,2],[87,6,87,7],[88,1,88,2],[88,6,88,7],[89,1,89,2],[89,6,89,7],[90,1,90,2],[90,6,90,7],[91,1,91,2],[91,6,91,7],[92,1,92,2],[92,6,92,7],[93,1,93,2],[93,6,93,7],[94,1,94,2],[94,6,94,7],[95,1,95,2],[95,6,95,7],[96,1,96,2],[96,6,96,7],[97,1,97,2],[97,6,97,7],[98,1,98,2],[98,6,98,7],[99,1,99,2],[99,6,99,7],[100,1,100,2],[100,6,100,7],[101,1,101,2],[101,6,101,7],[102,1,102,2],[102,6,102,7],[103,1,103,2],[103,6,103,7],[104,1,104,2],[104,6,104,7],[105,1,105,2],[105,6,105,7],[106,0,106,9],[107,0,107,1],[107,2,107,6],[107,7,107,9],[108,1,108,2],[108,6,108,7],[109,1,109,2],[109,6,109,7],[110,1,110,2],[110,6,110,7],[111,1,111,2],[111,6,111,7],[112,1,112,2],[112,6,112,7],[113,1,113,2],[113,6,113,7],[114,1,114,2],[114,6,114,7],[115,1,115,2],[115,6,115,7],[116,1,116,2],[116,6,116,7],[117,1,117,2],[117,6,117,7],[118,1,118,2],[118,6,118,7],[119,1,119,2],[119,6,119,7],[120,1,120,2],[120,6,120,7],[121,1,121,2],[121,6,121,7],[122,1,122,2],[122,6,122,7],[123,1,123,2],[123,6,123,7],[124,1,124,2],[124,6,124,7],[125,1,125,2],[125,6,125,7],[126,1,126,2],[126,6,126,7],[127,1,127,2],[127,6,127,7]]}
["主要材料设备价格表"]
["工程名称：",null,"道路工程",{"$nulls":4},"第1页, 共5页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["1","0001001",null,"综合工日","","工日","25.742",null,"",""]
["2","0003006",null,"综合工日","(机械用)","工日","21.087",null,"",""]
["3","00010003",null,"机上人工","","工日","266.605",null,"",""]
["4","00010010",null,"人工费","","元","233856.355",null,"",""]
["5","01010030",null,"热轧圆盘条 φ10以内","","t","0.212",null,"",""]
["6","01010125",null,"螺纹钢筋 φ10～25","","t","0.623",null,"",""]
["7","01010125-0001",null,"螺纹钢筋 φ25","","t","0.971",null,"",""]
["8","01030031",null,"镀锌低碳钢丝","φ0.7～1.2","kg","5.033",null,"",""]
["9","01030035",null,"镀锌低碳钢丝","φ1.2～2.5","kg","0.878",null,"",""]
["10","1237001",null,"氧气","","m3","17.369",null,"",""]
["11","1237061",null,"乙炔气","","kg","7.760",null,"",""]
["12","01290003",null,"钢板 综合","","kg","195.056",null,"",""]
["13","01530060",null,"封铅 含铅65% 含锡35%","","kg","2.111",null,"",""]
["14","02190140",null,"塑料篾","","kg","4.021",null,"",""]
["15","02270001",null,"棉纱","","kg","0.050",null,"",""]
["16","02270020",null,"白布","","kg","0.840",null,"",""]
["17","02270070",null,"土工布","","m2","2.531",null,"",""]
["18","02330001",null,"稻草","","kg","162.000",null,"",""]
["19","03010065",null,"铁钉","","kg","44.096",null,"",""]
["20","03013051",null,"膨胀螺栓 M10","","十套","0.612",null,"",""]
["21","03014171",null,"镀锌锁紧螺母 DN50×3","","十套","1.236",null,"",""]
["22","03135001",null,"低碳钢焊条 综合","","kg","45.635",null,"",""]
["23","03139281",null,"钢锯条","","条","4.960",null,"",""]
["24","03139521",null,"合金钢钻头 φ10","","个","0.348",null,"",""]
["25","03139531",null,"合金钎头 φ150","","个","0.528",null,"",""]
["26","03210070",null,"镀锌钢丝网","φ2×22×22","m2","54.000",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"道路工程",{"$nulls":4},"第2页, 共5页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["27","03213001",null,"铁件 综合","","kg","407.521",null,"",""]
["28","04010015",null,"复合普通硅酸盐水泥","P.C 32.5","t","82.213",null,"",""]
["29","04030015",null,"中砂","","m3","0.023",null,"",""]
["30","04050005",null,"碎石 20～40","","m3","615.385",null,"",""]
["31","04050025",null,"碎石 10","","m3","12.926",null,"",""]
["32","04070045",null,"石屑","","m3","629.133",null,"",""]
["33","04090135",null,"余土外运","","m3","16.389",null,"",""]
["34","04090155",null,"熟耕土(松方)","","m3","10.823",null,"",""]
["35","04130001",null,"标准砖 240×115×53","","千块","10.021",null,"",""]
["36","05030060",null,"板枋材 综合","","m3","1.705",null,"",""]
["37","05310050",null,"篙竹 6m内","","条","27.540",null,"",""]
["38","06550060-0001",null,"广角镜","φ1200","个","4.000",null,"",""]
["39","8005901",null,"湿拌砌筑砂浆","M5 砌筑灰缝≥5mm","m3","1.890",null,"",""]
["40","8005902",null,"湿拌砌筑砂浆","M7.5 砌筑灰缝≥5mm","m3","5.039",null,"",""]
["41","8005913",null,"湿拌防水砂浆：P6","M10 用于抗渗压力要求的工程部位","m3","0.747",null,"",""]
["42","9946001",null,"折旧费","","元","2976.740",null,"",""]
["43","9946011",null,"大修理费","","元","862.068",null,"",""]
["44","9946021",null,"经常修理费","","元","1801.992",null,"",""]
["45","9946051",null,"柴油","(机械用)0#","kg","697.816",null,"",""]
["46","9946111",null,"其他费用","","元","520.513",null,"",""]
["47","9946131",null,"其他材料费","","元","289.480",null,"",""]
["48","13010040",null,"醇酸磁漆","","kg","0.888",null,"",""]
["49","13010530",null,"热塑标线底漆","","kg","67.937",null,"",""]
["50","13030240",null,"厚漆","","kg","2.172",null,"",""]
["51","13050210",null,"沥青绝缘漆","","kg","0.207",null,"",""]
["52","13110040",null,"热熔标线涂料","","kg","1947.259",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"道路工程",{"$nulls":4},"第3页, 共5页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["53","14030040",null,"汽油 综合","","kg","1.553",null,"",""]
["54","14050050",null,"溶剂油","","kg","0.720",null,"",""]
["55","14330320",null,"硬脂酸","","kg","0.104",null,"",""]
["56","14350630",null,"脱模剂","","kg","38.652",null,"",""]
["57","14390080",null,"液化石油气","","m3","62.742",null,"",""]
["58","14410410",null,"氯丁橡胶粘接剂","","kg","0.046",null,"",""]
["59","14410480",null,"强力植筋胶","","L","151.841",null,"",""]
["60","17030001-0001",null,"镀锌钢管","SC50 3.0","m","154.500",null,"",""]
["61","18031095",null,"镀锌钢管塑料护口 DN50","","个","12.360",null,"",""]
["62","18031150",null,"镀锌钢管接头 50×3.5","","个","24.720",null,"",""]
["63","28030270-0001",null,"超五类网线","","m","20.400",null,"",""]
["64","28030290",null,"双色多股铜芯聚氯乙烯绝缘软导线 BVR-4mm2","","m","52.860",null,"",""]
["65","28030620",null,"铜芯聚氯乙烯绝缘软导线 BVR-2.5mm2","","m","60.600",null,"",""]
["66","28110210-0002",null,"铜芯电缆","VV-3*2.5","m","20.200",null,"",""]
["67","28110210-0003",null,"铜芯电缆","VV-5*16","m","151.500",null,"",""]
["68","29060115",null,"镀锌钢管塑料护口","DN15～20","个","0.808",null,"",""]
["69","29060140-0001",null,"刚性难燃管","PVC φ32","m","50.600",null,"",""]
["70","29060290",null,"难燃塑料管接头 32","","个","9.476",null,"",""]
["71","29170250",null,"镀锌地线夹 50","","套","95.790",null,"",""]
["72","30050010-0001",null,"车牌识别不锈钢道闸","H=1.2M","套","1.000",null,"",""]
["73","32010120",null,"乔木苗","（利旧）","株","18.720",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"道路工程",{"$nulls":4},"第4页, 共5页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["74","32070050",null,"马尼拉草","件装 30cm×30cm/件","m2","123.900",null,"",""]
["75","32070075-0001",null,"百喜草草籽","","kg","0.644",null,"",""]
["76","32270001",null,"杀虫剂","","kg","5.164",null,"",""]
["77","32270010",null,"无机肥(复合肥)","","kg","11.564",null,"",""]
["78","32270020",null,"有机肥","","t","2.293",null,"",""]
["79","34110010",null,"水","","m3","937.095",null,"",""]
["80","34130010-0001",null,"铝板标志板（含反光膜）","△700*3.0","块","1.000",null,"",""]
["81","34130010-0003",null,"铝板标志板（含反光膜）","△700*3.0","块","1.000",null,"",""]
["82","34130010-0004",null,"铝板标志板（含反光膜）","φ600*3","块","3.000",null,"",""]
["83","35010010",null,"钢模板","","kg","729.284",null,"",""]
["84","35090210",null,"拉森钢板桩","","t","1.330",null,"",""]
["85","36030040",null,"土工格栅","","m2","1489.478",null,"",""]
["86","36050020-0001",null,"杭灰色环保砖","200*100*60","m2","351.900",null,"",""]
["87","36050020-0002",null,"透水砂浆","","m3","7.073",null,"",""]
["88","36070020-0001",null,"芝麻灰花岗岩路沿石","50*15*45","m","204.015",null,"",""]
["89","36070020-0002",null,"芝麻灰花岗岩路沿石","50*10*25","m","54.810",null,"",""]
["90","36070020-0003",null,"芝麻灰花岗岩路沿石（利旧）","50*15*45","m","45.675",null,"",""]
["91","36210030",null,"反光材料(玻璃珠)","","kg","132.677",null,"",""]
["92","36210110-0001",null,"镀锌钢管","φ89*4*2100","套","1.000",null,"",""]
["93","36210120-0001",null,"镀锌钢管","φ89*4*3956","套","1.000",null,"",""]
["94","36210120-0002",null,"镀锌钢管","φ89*4*3950","套","1.000",null,"",""]
["主要材料设备价格表"]
["工程名称：",null,"道路工程",{"$nulls":4},"第5页, 共5页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊\n要求","单位","数量",null,"除税单价\n(元)","除税合价\n(元)"]
["95","36210120-0003",null,"镀锌钢管","φ76*3.75*3750","套","2.000",null,"",""]
["96","36270010-0001",null,"成品型钢护栏（利旧）","","m","146.730",null,"",""]
["97","80210200",null,"普通预拌混凝土 C20","","m3","44.696",null,"",""]
["98","80210210",null,"普通预拌混凝土 C25","","m3","2.174",null,"",""]
["99","80210220",null,"普通预拌混凝土 C30","","m3","690.935",null,"",""]
["100","80210680",null,"预拌混凝土 C25","","m3","0.712",null,"",""]
["101","99450630",null,"折旧费","","元","37739.461",null,"",""]
["102","99450640",null,"检修费","","元","10497.632",null,"",""]
["103","99450650",null,"维护费","","元","29475.728",null,"",""]
["104","99450660",null,"安拆费","","元","304.458",null,"",""]
["105","99450670",null,"汽油","(机械用)","kg","300.947",null,"",""]
["106","99450680",null,"柴油","(机械用)","kg","8113.894",null,"",""]
["107","99450700",null,"电","(机械用)","kw·h","3078.996",null,"",""]
["108","99450760",null,"其他材料费","","元","3968.043",null,"",""]
["109","99451300",null,"校验费","","元","0.934",null,"",""]
["110","LJC08036",null,"两布一膜","","m2","322.014",null,"",""]
["111","SZB02005-0001",null,"麻黄花岗岩车止石","φ300*800","根","8.000",null,"",""]
["112","ZC-0001",null,"铁艺大门","4000*2000","m2","8.000",null,"",""]
["113","ZC-0002",null,"围挡（含仿真草皮）","H=1.8","m","207.000",null,"",""]